## Slide 1
Input Data Files
<Subject Name>
anatomical
headvol.vox
headsurf.mesh
pialsurf.mesh
refpts.txt, refpts_labels.txt
labelssurf.mesh
probe.SD, data.nirs
digpts.txt
groupResults.mat
headvol
headsurf
refpts
probe
fwmodel
imgrecon
pialsurf
labelssurf
AtlasViewer
digpts
hbconc
Data Pipeline Dependencies
Legend
Internal AV data pipeline
Probe SD data loading
Probe Meas List data loading
Anatomical Data loading
Dig Points data loading
Notes: <number>
<number>
<number>
<number>

## Slide 2
headvol
headsurf
refpts
probe
fwmodel
imgrecon
pialsurf
labelssurf
AtlasViewer
digpts
hbconc
Data Pipeline Dependencies
( Cont. )
Output Data Files
<Subject Name>
probe.SD
groupResults.mat
fw
*.2pt
Adot.mat
pialsurf.mesh
imagerecon
Aimg_conc.mat
metrics.mat
Notes: <number>
<number>
<number>

## Slide 3
headvol
MNI
headvol_ref
digpts
headsurf
pialsurf
refpts
headvol
headsurf
refpts
pialsurf
headvol
headsurf
pialsurf
headvol
headsurf
refpts
pialsurf
headvol_ref
headvol
headsurf
refpts
pialsurf
headsurf.T_2vol
pialsurf.T_2vol
refpts.T_2vol
headvol.T_2digpts
headvol.T_2ref
headvol._atlas.T_2mni
digpts
headvol
headsurf
refpts
pialsurf
headvol
headsurf
refpts
pialsurf
headvol.T_2mni = headvol_ref.T_2mni * headvol.T_2ref
digpts.T_2mni = headvol.T_2mni * inv( headvol.T_2digpts )
Coordinate Spaces
refpts
Notes: <number>

## Slide 4
Workflows
Notes: <number>
<number>
<number>

## Slide 5
Workflows: Entire Pipeline
Probe Design (ovals 1 - 3)
Image Reconstruction (ovals 1 - 4)
derived/homer3/
digpts.txt
mri
1. Import Anatomy
derived/atlasViewer/
anatomical/
headvol.vox
headsurf.mesh
pialsurf.mesh
refpts.txt
4. Image Reconstruction
derived/atlasViewer/imagerecon
Aimg.mat
derived/atlasViewer/
<probe name>.SD
<probe name>.snirf
2. Probe Design / Creation / Registration
derived/atlasViewer/
<probe name>.SD
<probe name>.snirf
3. Forward Model / Sensitivity Matrix
derived/atlasViewer/fw/
<probe name>_headvol.vox
<probe name>_sensitvity.mat
Notes: <number>

## Slide 6
Workflow 1:
Probe Design
Notes: <number>
<number>
<number>

## Slide 7
Workflow 1: Probe Design #1
no probe files, no digitized points file
mri
1. Import Anatomy
derived/atlasViewer/
anatomical/
headvol.vox
headsurf.mesh
pialsurf.mesh
refpts.txt
2. Probe Design / Creation / Registration
derived/atlasViewer/
<probe name>.SD
<probe name>.snirf
3. Forward Model / Sensitivity Matrix
derived/atlasViewer/fw/
<probe name>_headvol.vox
<probe name>_sensitvity.mat
Notes: <number>

## Slide 8
Workflow 1: Probe Design #2
probe files, no digitized points file
mri
1. Import Anatomy
derived/atlasViewer/
anatomical/
headvol.vox
headsurf.mesh
pialsurf.mesh
refpts.txt
derived/atlasViewer/
<probe name>.SD
<probe name>.snirf
2. Probe Design / Creation / Registration
derived/atlasViewer/
<probe name>.SD
<probe name>.snirf
3. Forward Model / Sensitivity Matrix
derived/atlasViewer/fw/
<probe name>_headvol.vox
<probe name>_sensitvity.mat
Notes: <number>

## Slide 9
Workflow 1: Probe Design #3
probe files, digitized points file
digpts.txt
mri
1. Import Anatomy
derived/atlasViewer/
anatomical/
headvol.vox
headsurf.mesh
pialsurf.mesh
refpts.txt
derived/atlasViewer/
<probe name>.SD
<probe name>.snirf
2. Probe Design / Creation / Registration
derived/atlasViewer/
<probe name>.SD
<probe name>.snirf
3. Forward Model / Sensitivity Matrix
derived/atlasViewer/fw/
<probe name>_headvol.vox
<probe name>_sensitvity.mat
NOTE: When both probe and digpts are present, probe registration comes from digpts.txt if subject specific anatomy DOES NOT exist in group folder, otherwise use <probe name>.*
Notes: <number>

## Slide 10
Workflow 2:
Image Reconstruction
Notes: <number>
<number>
<number>

## Slide 11
Workflow 2: Image Reconstruction #1
probe optode pos comes from data
probe registration comes from data
meas list come from data
derived/homer3/
mri
1. Import Anatomy
derived/atlasViewer/
anatomical/
headvol.vox
headsurf.mesh
pialsurf.mesh
refpts.txt
4. Image Reconstruction
derived/atlasViewer/imagerecon
Aimg.mat
2. Probe Design / Creation / Registration
derived/atlasViewer/
<probe name>.SD
<probe name>.snirf
3. Forward Model / Sensitivity Matrix
derived/atlasViewer/fw/
<probe name>_headvol.vox
<probe name>_sensitvity.mat
Notes: <number>

## Slide 12
Workflow 2: Image Reconstruction #2
probe optode pos comes from data
probe registration comes from <probe name>.*
meas list come from data
derived/homer3/
mri
1. Import Anatomy
derived/atlasViewer/
anatomical/
headvol.vox
headsurf.mesh
pialsurf.mesh
refpts.txt
4. Image Reconstruction
derived/atlasViewer/imagerecon
Aimg.mat
derived/atlasViewer/
<probe name>.SD
<probe name>.snirf
2. Probe Design / Creation / Registration
derived/atlasViewer/
<probe name>.SD
<probe name>.snirf
3. Forward Model / Sensitivity Matrix
derived/atlasViewer/fw/
<probe name>_headvol.vox
<probe name>_sensitvity.mat
Notes: <number>

## Slide 13
derived/homer3/
digpts.txt
mri
1. Import Anatomy
derived/atlasViewer/
anatomical/
headvol.vox
headsurf.mesh
pialsurf.mesh
refpts.txt
4. Image Reconstruction
derived/atlasViewer/imagerecon
Aimg.mat
derived/atlasViewer/
<probe name>.SD
<probe name>.snirf
2. Probe Design / Creation / Registration
derived/atlasViewer/
<probe name>.SD
<probe name>.snirf
3. Forward Model / Sensitivity Matrix
derived/atlasViewer/fw/
<probe name>_headvol.vox
<probe name>_sensitvity.mat
Workflow 2: Image Reconstruction #3
probe optode pos comes from data
probe registration comes from digpts IF NO subj-spec anat exist
ELSE <probe name>.*
meas list come from data
Notes: <number>

## Slide 14
Workflows Notes
Notes: <number>
<number>
<number>

## Slide 15
Workflow 1: Probe Design Notes
-- The probe being used to generate forward model is identified by the name of registered probe in monte carlo space, so <probe name 1>_reg.snirf which is the registered to head in MC space is derived from
<probe name 1>.SD or/and <probe name 1>.snirf
-- If <probe name 1>.snirf has registration data, then use it unconditionally.
-- If <probe name>.snirf has no registration data, then we check if digpts and <probe name 1>.snirf are compatible, if they are then use digpts for registration. If not then assume we have no usable probe and direct user to go back to step 1 of probe design (meaning you have to add probe registration to existing file OR create a new one).
-- Ask user to select probe, then follow the same steps as if it was the ONLY probe file in the group folder.
Notes: <number>