## YPDON
Use this Sheet to interpret/calculate OD of your cultivation plate
Copy and paste the matching boxed section from the plate reader output file
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1905009408 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2024-11-06
Time: | 3:57:19 PM
System |  |  |  | DESKTOP-92C0PLS
User |  |  |  | DESKTOP-92C0PLS\admin
Plate |  |  |  | Corning 96 Flat Bottom Transparent Polystyrene Cat. No.: 3635 [COR96fc UV transparent.pdfx]
Plate-ID (Stacker)
Movement |  |  |  | Move Plate In
Shaking (Linear) Duration: |  |  |  | 15 | s
Shaking (Linear) Amplitude: |  |  |  | 2 | mm
Label: Label1
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 0 | ms
Start Time: | 11/6/2024 3:57:34 PM
Temperature: 22 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.3351 | 0.3502 | 0.342 | 0.3705 | 0.3467 | 0.3554 | 0.3493 | 0.357 | 0.349 | 0.3391 | 0.344 | 0.3427
B | 0.3224 | 0.3469 | 0.358 | 0.3549 | 0.3368 | 0.3808 | 0.3562 | 0.3695 | 0.3638 | 0.3354 | 0.3451 | 0.3699
C | 0.2954 | 0.3683 | 0.0393 | 0.0403 | 0.1055 | 0.1144 | 0.1239 | 0.2712 | 0.1122 | 0.1323 | 0.1504 | 0.1534
D | 0.3503 | 0.3737 | 0.0419 | 0.0401 | 0.1126 | 0.1188 | 0.1348 | 0.152 | 0.1515 | 0.1259 | 0.1686 | 0.1674
E | 0.1202 | 0.1373 | 0.1159 | 0.1293 | 0.1297 | 0.129 | 0.1223 | 0.1289 | 0.1275 | 0.1508 | 0.1029 | 0.1075
F | 0.1159 | 0.1254 | 0.1191 | 0.1225 | 0.1319 | 0.1516 | 0.1315 | 0.1353 | 0.1586 | 0.154 | 0.1238 | 0.1101
G | 0.1712 | 0.1608 | 0.1308 | 0.1264 | 0.1131 | 0.1675 | 0.1238 | 0.1559 | 0.1103 | 0.1255 | 0.1217 | 0.1368
H | 0.1827 | 0.1581 | 0.1308 | 0.1319 | 0.1475 | 0.1874 | 0.1623 | 0.1456 | 0.1223 | 0.1136 | 0.1298 | 0.1187
| AVG Measured OD (dilution factor: 50x) | [6 empty] | Change value based on the dilution factor you ran
| 1 | 2 | 3 | 4 | 5 | 6
| 0.33865 | 0.35635 | 0.35493 | 0.358 | 0.34682 | 0.35042
| 0.34692 | 0.0404 | 0.11282 | 0.17047 | 0.13048 | 0.15995
| 0.1247 | 0.1217 | 0.13555 | 0.1295 | 0.14773 | 0.11108
| 0.1682 | 0.12997 | 0.15387 | 0.1469 | 0.11792 | 0.12675
| AVG Actual OD* | [7 empty] | *Double check that formula matches dilution factor
| 1 | 2 | 3 | 4 | 5 | 6 |  |  | 1 | 2 | 3 | 4 | 5 | 6
| 16.9325 | 17.8175 | 17.7463 | 17.9 | 17.3412 | 17.5212 |  |  | 14.7925 | 15.6775 | 15.6063 | 15.76 | 15.2012 | 15.3812
| 17.3462 | 2.02 | 5.6412 | 8.5237 | 6.5238 | 7.9975 |  |  | 15.2062 | -0.12 | 3.5012 | 6.3837 | 4.3838 | 5.8575 | 30 | 31
| 6.235 | 6.085 | 6.7775 | 6.475 | 7.3863 | 5.5538 |  |  | 4.095 | 3.945 | 4.6375 | 4.335 | 5.2463 | 3.4138 | 38 | 39
| 8.41 | 6.4987 | 7.6937 | 7.345 | 5.8962 | 6.3375 | 2.14 |  | 6.27 | 4.3587 | 5.5537 | 5.205 | 3.7562 | 4.1975
[9 empty] | 32 | 33 | 34 | 35 | 36 | 37
[9 empty] | 24 | 25 | 26 | 27 | 28 | 29
Note on E3: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E5: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)

## YPDON_Inoc
|  | YPD O/N | 3ML Plate [uL] | Actual for 3mL [uL]
sHN24 | 6.27 | 12.54 | 23.9234 | 30 | Perform 950 rpm case as well
sHN25 | 4.3587 | 8.7175 | 34.4135 | 30
sHN26 | 5.5537 | 11.1075 | 27.0088 | 30
sHN27 | 5.205 | 10.41 | 28.8184 | 30
sHN28 | 3.7562 | 7.5125 | 39.9334 | 30
sHN29 | 4.1975 | 8.395 | 35.7356 | 30
sHN30 | 3.5012 | 7.0025 | 42.8418 | 45
sHN31 | 6.3837 | 12.7675 | 23.4972 | 30
sHN32 | 4.095 | 8.19 | 36.63 | 40
sHN33 | 3.945 | 7.89 | 38.0228 | 40
sHN34 | 4.6375 | 9.275 | 32.345 | 40
sHN35 | 4.335 | 8.67 | 34.6021 | 40
sHN36 | 5.2463 | 10.4925 | 28.5919 | 40
sHN37 | 3.4138 | 6.8275 | 43.9399 | 40
sHN38 | 4.3838 | 8.7675 | 34.2173 | 40
sHN39 | 5.8575 | 11.715 | 25.6082 | 30
Restreaked from previous plate.Kept in 30C
Plate restreak | 2024-11-03
YPD ON | 2024-11-05

## OG_Plate1
Use this Sheet to interpret/calculate OD of your cultivation plate
Copy and paste the matching boxed section from the plate reader output file
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1905009408 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2024-11-07
Time: | 4:59:40 PM
System |  |  |  | DESKTOP-92C0PLS
User |  |  |  | DESKTOP-92C0PLS\admin
Plate |  |  |  | Corning 96 Flat Bottom Transparent Polystyrene Cat. No.: 3635 [COR96fc UV transparent.pdfx]
Plate-ID (Stacker)
Movement |  |  |  | Move Plate In
Shaking (Linear) Duration: |  |  |  | 15 | s
Shaking (Linear) Amplitude: |  |  |  | 2 | mm
Label: Label1
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 0 | ms
Start Time: | 11/7/2024 4:59:55 PM
Temperature: 22.1 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.1249 | 0.1295 | 0.1079 | 0.1033 | 0.1276 | 0.137 | 0.1429 | 0.1433 | 0.1542 | 0.1588 | 0.1385 | 0.1385
B | 0.1305 | 0.1312 | 0.1115 | 0.1182 | 0.1367 | 0.1421 | 0.1389 | 0.1478 | 0.1641 | 0.1612 | 0.1423 | 0.1484
C | 0.1368 | 0.1413 | 0.1228 | 0.1214 | 0.1432 | 0.154 | 0.1298 | 0.1511 | 0.1414 | 0.162 | 0.1335 | 0.1462
D | 0.148 | 0.1529 | 0.1292 | 0.1258 | 0.1483 | 0.1424 | 0.1312 | 0.1492 | 0.1591 | 0.1626 | 0.1371 | 0.1413
E | 0.1316 | 0.1349 | 0.1044 | 0.1104 | 0.1455 | 0.1438 | 0.1441 | 0.1351 | 0.1558 | 0.1551 | 0.1536 | 0.1424
F | 0.1294 | 0.1342 | 0.1142 | 0.1127 | 0.1426 | 0.1528 | 0.1412 | 0.1351 | 0.1518 | 0.1561 | 0.1424 | 0.1447
G | 0.1313 | 0.1361 | 0.1353 | 0.1265 | 0.1406 | 0.1332 | 0.1356 | 0.1417 | 0.1375 | 0.1355 | 0.1386 | 0.1372
H | 0.1363 | 0.1418 | 0.1315 | 0.1363 | 0.1434 | 0.1463 | 0.1293 | 0.1437 | 0.139 | 0.1464 | 0.1362 | 0.1449
| AVG Measured OD (dilution factor: 50x) | [6 empty] | Change value based on the dilution factor you ran
| 1 | 2 | 3 | 4 | 5 | 6
| 0.12903 | 0.11022 | 0.13585 | 0.14322 | 0.15958 | 0.14192
| 0.14475 | 0.1248 | 0.14697 | 0.14033 | 0.15627 | 0.13952
| 0.13253 | 0.11043 | 0.14618 | 0.13888 | 0.1547 | 0.14578
| 0.13637 | 0.1324 | 0.14088 | 0.13758 | 0.1396 | 0.13922
| AVG Actual OD* | [7 empty] | *Double check that formula matches dilution factor
| 1 | 2 | 3 | 4 | 5 | 6 |  |  | 1 | 2 | 3 | 4 | 5 | 6
| 6.4513 | 5.5112 | 6.7925 | 7.1612 | 7.9788 | 7.0962 |  |  | 4.3113 | 3.3712 | 4.6525 | 5.0212 | 5.8388 | 4.9562
| 7.2375 | 6.24 | 7.3487 | 7.0163 | 7.8137 | 6.9762 |  |  | 5.0975 | 4.1 | 5.2087 | 4.8763 | 5.6737 | 4.8362
| 6.6263 | 5.5213 | 7.3088 | 6.9438 | 7.735 | 7.2888 |  |  | 4.4863 | 3.3813 | 5.1688 | 4.8038 | 5.595 | 5.1488
| 6.8187 | 6.62 | 7.0438 | 6.8788 | 6.98 | 6.9612 | 2.14 |  | 4.6787 | 4.48 | 4.9038 | 4.7388 | 4.84 | 4.8212
Note on E3: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E5: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)

## Prod_Plate1_Day1
Use this Sheet to interpret/calculate OD of your cultivation plate
Copy and paste the matching boxed section from the plate reader output file
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1905009408 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2024-11-08
Time: | 5:37:32 PM
System |  |  |  | DESKTOP-92C0PLS
User |  |  |  | DESKTOP-92C0PLS\admin
Plate |  |  |  | Corning 96 Flat Bottom Transparent Polystyrene Cat. No.: 3635 [COR96fc UV transparent.pdfx]
Plate-ID (Stacker)
Movement |  |  |  | Move Plate In
Shaking (Linear) Duration: |  |  |  | 15 | s
Shaking (Linear) Amplitude: |  |  |  | 2 | mm
Label: Label1
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 0 | ms
Start Time: | 11/8/2024 5:37:47 PM
Temperature: 21.9 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.2765 | 0.2666 | 0.2382 | 0.2457 | 0.2561 | 0.2761 | 0.2858 | 0.283 | 0.2684 | 0.2805 | 0.2734 | 0.3027
B | 0.2618 | 0.2643 | 0.2371 | 0.2517 | 0.2495 | 0.2737 | 0.2762 | 0.3102 | 0.2472 | 0.2593 | 0.2862 | 0.2934
C | 0.2547 | 0.2516 | 0.2478 | 0.2535 | 0.276 | 0.2689 | 0.3007 | 0.2861 | 0.2693 | 0.2778 | 0.2555 | 0.2476
D | 0.2723 | 0.2774 | 0.2598 | 0.2743 | 0.2686 | 0.2661 | 0.284 | 0.2687 | 0.2755 | 0.2805 | 0.2543 | 0.263
E | 0.2625 | 0.2604 | 0.2399 | 0.2363 | 0.2733 | 0.284 | 0.2953 | 0.2719 | 0.2723 | 0.2714 | 0.266 | 0.2576
F | 0.2459 | 0.2651 | 0.2518 | 0.263 | 0.2779 | 0.2658 | 0.2831 | 0.2852 | 0.2685 | 0.2852 | 0.2768 | 0.283
G | 0.2853 | 0.3022 | 0.2886 | 0.2839 | 0.3053 | 0.3072 | 0.2505 | 0.2498 | 0.2442 | 0.2577 | 0.2458 | 0.2762
H | 0.2901 | 0.3096 | 0.2909 | 0.2927 | 0.3008 | 0.3002 | 0.2731 | 0.2669 | 0.2338 | 0.2518 | 0.2486 | 0.2685
| AVG Measured OD (dilution factor: 50x) | [6 empty] | Change value based on the dilution factor you ran
| 1 | 2 | 3 | 4 | 5 | 6
| 0.2673 | 0.24318 | 0.26385 | 0.2888 | 0.26385 | 0.28892
| 0.264 | 0.25885 | 0.2699 | 0.28488 | 0.27578 | 0.2551
| 0.25847 | 0.24775 | 0.27525 | 0.28388 | 0.27435 | 0.27085
| 0.2968 | 0.28902 | 0.30337 | 0.26007 | 0.24687 | 0.25978
| AVG Actual OD* | [7 empty] | *Double check that formula matches dilution factor
| 1 | 2 | 3 | 4 | 5 | 6 |  |  | 1 | 2 | 3 | 4 | 5 | 6
| 13.365 | 12.1588 | 13.1925 | 14.44 | 13.1925 | 14.4462 |  |  | 11.225 | 10.0188 | 11.0525 | 12.3 | 11.0525 | 12.3062
| 13.2 | 12.9425 | 13.495 | 14.2438 | 13.7888 | 12.755 |  |  | 11.06 | 10.8025 | 11.355 | 12.1038 | 11.6488 | 10.615
| 12.9237 | 12.3875 | 13.7625 | 14.1938 | 13.7175 | 13.5425 |  |  | 10.7837 | 10.2475 | 11.6225 | 12.0538 | 11.5775 | 11.4025
| 14.84 | 14.4512 | 15.1687 | 13.0037 | 12.3437 | 12.9888 | 2.14 |  | 12.7 | 12.3112 | 13.0287 | 10.8637 | 10.2037 | 10.8488
Note on E3: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E5: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)

## Prod_Plate1_Day2
Use this Sheet to interpret/calculate OD of your cultivation plate
Copy and paste the matching boxed section from the plate reader output file
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1905009408 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2024-11-09
Time: | 6:30:49 PM
System |  |  |  | DESKTOP-92C0PLS
User |  |  |  | DESKTOP-92C0PLS\admin
Plate |  |  |  | Corning 96 Flat Bottom Transparent Polystyrene Cat. No.: 3635 [COR96fc UV transparent.pdfx]
Plate-ID (Stacker)
Movement |  |  |  | Move Plate In
Shaking (Linear) Duration: |  |  |  | 15 | s
Shaking (Linear) Amplitude: |  |  |  | 2 | mm
Label: Label1
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 0 | ms
Start Time: | 11/9/2024 6:31:04 PM
Temperature: 21.5 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.2645 | 0.2919 | 0.2741 | 0.2562 | 0.253 | 0.2583 | 0.2798 | 0.2848 | 0.3084 | 0.3119 | 0.2891 | 0.3098
B | 0.2687 | 0.2898 | 0.2592 | 0.2494 | 0.2524 | 0.2761 | 0.2796 | 0.2809 | 0.3067 | 0.3163 | 0.2949 | 0.3264
C | 0.2812 | 0.2867 | 0.2633 | 0.2528 | 0.2644 | 0.2779 | 0.2742 | 0.2927 | 0.2972 | 0.3184 | 0.2955 | 0.3128
D | 0.272 | 0.2989 | 0.2562 | 0.2648 | 0.2787 | 0.2791 | 0.3008 | 0.2833 | 0.3198 | 0.322 | 0.3039 | 0.2882
E | 0.2603 | 0.2706 | 0.2248 | 0.2839 | 0.2797 | 0.3017 | 0.2562 | 0.2758 | 0.2973 | 0.2999 | 0.2764 | 0.2988
F | 0.2723 | 0.2687 | 0.239 | 0.2413 | 0.2975 | 0.2802 | 0.2848 | 0.276 | 0.2934 | 0.2908 | 0.2696 | 0.2846
G | 0.3395 | 0.3073 | 0.3177 | 0.2958 | 0.2997 | 0.3024 | 0.2566 | 0.2642 | 0.272 | 0.2609 | 0.2707 | 0.2615
H | 0.3442 | 0.3096 | 0.3031 | 0.2831 | 0.3032 | 0.3148 | 0.2688 | 0.2795 | 0.2563 | 0.2797 | 0.2596 | 0.279
| AVG Measured OD (dilution factor: 50x) | [6 empty] | Change value based on the dilution factor you ran
| 1 | 2 | 3 | 4 | 5 | 6
| 0.27872 | 0.25973 | 0.25995 | 0.28127 | 0.31082 | 0.30505
| 0.2847 | 0.25927 | 0.27503 | 0.28775 | 0.31435 | 0.3001
| 0.26798 | 0.24725 | 0.28978 | 0.2732 | 0.29535 | 0.28235
| 0.32515 | 0.29992 | 0.30502 | 0.26727 | 0.26723 | 0.2677
| AVG Actual OD* | [7 empty] | *Double check that formula matches dilution factor
| 1 | 2 | 3 | 4 | 5 | 6 |  |  | 1 | 2 | 3 | 4 | 5 | 6
| 13.9362 | 12.9863 | 12.9975 | 14.0637 | 15.5412 | 15.2525 |  |  | 11.7962 | 10.8463 | 10.8575 | 11.9237 | 13.4012 | 13.1125
| 14.235 | 12.9637 | 13.7513 | 14.3875 | 15.7175 | 15.005 |  |  | 12.095 | 10.8237 | 11.6113 | 12.2475 | 13.5775 | 12.865
| 13.3988 | 12.3625 | 14.4888 | 13.66 | 14.7675 | 14.1175 |  |  | 11.2588 | 10.2225 | 12.3488 | 11.52 | 12.6275 | 11.9775
| 16.2575 | 14.9962 | 15.2512 | 13.3637 | 13.3613 | 13.385 | 2.14 |  | 14.1175 | 12.8562 | 13.1112 | 11.2237 | 11.2213 | 11.245
Note on E3: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E5: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)

## Prod_Plate1_Day3
Use this Sheet to interpret/calculate OD of your cultivation plate
Copy and paste the matching boxed section from the plate reader output file
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1905009408 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2024-11-10
Time: | 6:58:20 PM
System |  |  |  | DESKTOP-92C0PLS
User |  |  |  | DESKTOP-92C0PLS\admin
Plate |  |  |  | Corning 96 Flat Bottom Transparent Polystyrene Cat. No.: 3635 [COR96fc UV transparent.pdfx]
Plate-ID (Stacker)
Movement |  |  |  | Move Plate In
Shaking (Linear) Duration: |  |  |  | 15 | s
Shaking (Linear) Amplitude: |  |  |  | 2 | mm
Label: Label1
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 0 | ms
Start Time: | 11/10/2024 6:58:35 PM
Temperature: 22.1 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.2544 | 0.2539 | 0.2654 | 0.2462 | 0.2558 | 0.2663 | 0.286 | 0.2853 | 0.3043 | 0.3385 | 0.2837 | 0.3022
B | 0.2669 | 0.291 | 0.2998 | 0.2636 | 0.2677 | 0.2791 | 0.2926 | 0.3122 | 0.3266 | 0.3205 | 0.2926 | 0.326
C | 0.2629 | 0.2698 | 0.2891 | 0.2772 | 0.0458 | 0.0427 | 0.2965 | 0.3032 | 0.3103 | 0.3223 | 0.2898 | 0.3075
D | 0.2953 | 0.3057 | 0.3006 | 0.2992 | 0.0438 | 0.0436 | 0.2955 | 0.3151 | 0.3335 | 0.3439 | 0.2907 | 0.3256
E | 0.2661 | 0.2881 | 0.2946 | 0.2881 | 0.3253 | 0.3003 | 0.2911 | 0.3216 | 0.3274 | 0.3252 | 0.2927 | 0.3222
F | 0.281 | 0.2686 | 0.2802 | 0.2708 | 0.2931 | 0.2766 | 0.2961 | 0.3141 | 0.3194 | 0.3329 | 0.3108 | 0.3194
G | 0.3272 | 0.353 | 0.34 | 0.3461 | 0.3523 | 0.3709 | 0.2874 | 0.2963 | 0.2851 | 0.2867 | 0.2683 | 0.304
H | 0.334 | 0.3488 | 0.3477 | 0.3306 | 0.3927 | 0.3802 | 0.2857 | 0.2907 | 0.2865 | 0.2938 | 0.2794 | 0.2915
| AVG Measured OD (dilution factor: 50x) | [6 empty] | Change value based on the dilution factor you ran
| 1 | 2 | 3 | 4 | 5 | 6
| 0.26655 | 0.26875 | 0.26722 | 0.29403 | 0.32247 | 0.30112
| 0.28343 | 0.29152 | 0.043975 | 0.30258 | 0.3275 | 0.3034
| 0.27595 | 0.28343 | 0.29883 | 0.30572 | 0.32622 | 0.31127
| 0.34075 | 0.3411 | 0.37402 | 0.29002 | 0.28803 | 0.2858
| AVG Actual OD* | [7 empty] | *Double check that formula matches dilution factor
| 1 | 2 | 3 | 4 | 5 | 6 |  |  | 1 | 2 | 3 | 4 | 5 | 6
| 13.3275 | 13.4375 | 13.3612 | 14.7013 | 16.1237 | 15.0562 |  |  | 11.1875 | 11.2975 | 11.2212 | 12.5613 | 13.9837 | 12.9162
| 14.1713 | 14.5762 | 2.1988 | 15.1288 | 16.375 | 15.17 |  |  | 12.0313 | 12.4362 | 0.05875 | 12.9888 | 14.235 | 13.03
| 13.7975 | 14.1713 | 14.9413 | 15.2862 | 16.3112 | 15.5637 |  |  | 11.6575 | 12.0313 | 12.8013 | 13.1462 | 14.1712 | 13.4237
| 17.0375 | 17.055 | 18.7012 | 14.5012 | 14.4013 | 14.29 | 2.14 |  | 14.8975 | 14.915 | 16.5612 | 12.3612 | 12.2613 | 12.15
Note on E3: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E5: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)