## Page 1
Sequence name: |  |  | 240316_hGCSF_MethodDev_sHN1to9_StrainComp1
Description:
Acquisition date: |  |  | 2024-03-16 19:35:28-04:00
Acquired by: |  |  | SYSTEM
Data path: |  |  | C:\CDSProjects\Project01\Results\240316_hGCSF_MethodDev_sHN1to9_Strain Comp1.rslt
Sequence Integration
| Samp le Vial Numb er | Sample Name |  |  | RT | Area | % | Injection | mg/L
| P1-F2 | GCSF - 0.9 g/L |  |  | 6.927 | 3524.4889 | 100
| P2-E9 | S1311 |  |  | 6.344 | 1776.8903 | 100 | 50 | 24.765
| P2-E10 |  |  |  | 6.36 | 1865.162 | 100 | 50 | 25.9953
| P2-E11 |  |  |  | 6.358 | 1522.7981 | 100 | 50 | 21.2237
| P2-E12 |  |  |  | 6.363 | 1751.6527 | 100 | 50 | 24.4133
| P2-F1 | sHN1 |  |  | 6.342 | 5501.8126 | 100 | 50 | 76.6803
| P2-F2 |  |  |  | 6.364 | 6042.1856 | 100 | 50 | 84.2116
| P2-F3 |  |  |  | 6.108 | 5417.7972 | 100 | 50 | 75.5094
| P2-F4 |  |  |  | 5.842 | 6615.0858 | 100 | 50 | 92.1963
| P2-F5 | sHN2 |  |  | 6.202 | 5496.1814 | 100 | 50 | 76.6018
| P2-F6 |  |  |  | 5.636 | 4116.6019 | 100 | 50 | 57.3742
| P2-F7 |  |  |  | 6.036 | 5288.1971 | 100 | 50 | 73.7031
| P2-F8 |  |  |  | 6.208 | 5610.9596 | 100 | 50 | 78.2015
| P2-F9 | sHN3 |  |  | 5.661 | 3464.8649 | 100 | 50 | 48.2908
| P2-F10 |  |  |  | 6.405 | 2262.0121 | 100 | 50 | 31.5263
| P2-F11 |  |  |  | 6.462 | 3438.4196 | 100 | 50 | 47.9222
| P2-F12 |  |  |  | 6.492 | 3153.275 | 100 | 50 | 43.9481
| P2-G1 | sHN4 |  |  | 5.802 | 2986.8891 | 100 | 50 | 41.6291
| P2-G2 |  |  |  | 6.164 | 4492.2111 | 100 | 50 | 62.6092
| P2-G3 |  |  |  | 5.823 | 3897.1968 | 100 | 50 | 54.3163
| P2-G4 |  |  |  | 6.444 | 4252.3949 | 100 | 50 | 59.2668
| P2-G5 | sHN5 |  |  | 6.566 | 5117.1415 | 100 | 50 | 71.319
| P2-G6 |  |  |  | 6.045 | 4238.2567 | 100 | 50 | 59.0698
| P2-G7 |  |  |  | 6.021 | 3605.6531 | 100 | 50 | 50.253
| P2-G8 |  |  |  | 5.956 | 3279.5589 | 100 | 50 | 45.7081
| P2-G9 | sHN6 |  |  | 6.417 | 4338.6601 | 100 | 50 | 60.4691
| P2-G10 |  |  |  | 5.832 | 3083.6689 | 100 | 50 | 42.978
| P2-G11 |  |  |  | 6.458 | 3731.7931 | 100 | 50 | 52.0111
| P2-H1 | sHN7 |  |  | 6.459 | 4704.7316 | 100 | 50 | 65.5712
| P2-H2 |  |  |  | 6.343 | 3482.1892 | 100 | 50 | 48.5323
| P2-H3 |  |  |  | 6.467 | 3975.8457 | 100 | 50 | 55.4125
| P2-H4 |  |  |  | 6.469 | 4686.1285 | 100 | 50 | 65.3119
| P2-H5 | sHN8 |  |  | 6.07 | 4896.3296 | 100 | 50 | 68.2415
| P2-H6 |  |  |  | 6.45 | 4619.3974 | 100 | 50 | 64.3818
| P2-H7 |  |  |  | 5.994 | 3380.4839 | 100 | 50 | 47.1148
| P2-H8 |  |  |  | 6.457 | 4664.4031 | 100 | 50 | 65.0091
| P2-H9 | sHN9 |  |  | 6.111 | 3989.9687 | 100 | 50 | 55.6093
| P2-H10 |  |  |  | 6.193 | 3051.5735 | 100 | 50 | 42.5306
| P2-H11 |  |  |  | 6.461 | 3345.0152 | 100 | 50 | 46.6204
| P2-H12 |  |  |  | 6.253 | 2478.7369 | 100 | 50 | 34.5469

## Page 2
Sequence Table: |  |  |  | Bracketing Mode: |  | None
Seq. Line: |  | 1
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-03-16 19-35-44-04-00-01.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 2
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-03-16 19-54-00-04-00-02.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 3
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-03-16 20-12-15-04-00-03.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 4
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-03-16 20-30-29-04-00-04.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 5
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-03-16 20-48-44-04-00-05.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 6
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-03-16 21-08-18-04-00-06.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 7
| Location: |  | P1-F2 |  | Sample name: | GCSF - 0.9 g/L
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-03-16 21-27-51-04-00-07.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 2.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 8
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-16 21-46-53-04-00-08.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 9
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-16 22-05-11-04-00-09.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 10
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-16 22-23-25-04-00-10.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 11
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-16 22-42-41-04-00-11.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 12
| Location: |  | P2-E9 |  | Sample name: | S1311
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-16 23-02-12-04-00-12.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 2.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 13
| Location: |  | P2-E10 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-16 23-21-16-04-00-13.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 2.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 14
| Location: |  | P2-E9 |  | Sample name: | S1311
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-16 23-40-06-04-00-14.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 15
| Location: |  | P2-E10 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-16 23-59-23-04-00-15.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 16
| Location: |  | P2-E11 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 00-18-55-04-00-16.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 17
| Location: |  | P2-E12 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 00-38-28-04-00-17.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 18
| Location: |  | P2-F1 |  | Sample name: | sHN1
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 00-58-00-04-00-18.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 19
| Location: |  | P2-F2 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 01-17-32-04-00-19.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 20
| Location: |  | P2-F3 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 01-37-04-04-00-20.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 21
| Location: |  | P2-F4 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 01-56-35-04-00-21.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 22
| Location: |  | P2-F5 |  | Sample name: | sHN2
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 02-16-06-04-00-22.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 23
| Location: |  | P2-F6 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 02-35-39-04-00-23.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 24
| Location: |  | P2-F7 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 02-55-11-04-00-24.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 25
| Location: |  | P2-F8 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 03-14-45-04-00-25.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 26
| Location: |  | P2-F9 |  | Sample name: | sHN3
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 03-34-17-04-00-26.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 27
| Location: |  | P2-F10 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 03-53-49-04-00-27.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 28
| Location: |  | P2-F11 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 04-13-23-04-00-28.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 29
| Location: |  | P2-F12 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 04-32-54-04-00-29.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 30
| Location: |  | P2-G1 |  | Sample name: | sHN4
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 04-52-27-04-00-30.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 31
| Location: |  | P2-G2 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 05-11-59-04-00-31.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 32
| Location: |  | P2-G3 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 05-31-30-04-00-32.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 33
| Location: |  | P2-G4 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 05-51-01-04-00-33.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 34
| Location: |  | P2-G5 |  | Sample name: | sHN5
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 06-10-32-04-00-34.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 35
| Location: |  | P2-G6 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 06-30-04-04-00-35.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 36
| Location: |  | P2-G7 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 06-49-36-04-00-36.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 37
| Location: |  | P2-G8 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 07-09-07-04-00-37.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 38
| Location: |  | P2-G9 |  | Sample name: | sHN6
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 07-28-39-04-00-38.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 39
| Location: |  | P2-G10 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 07-48-11-04-00-39.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 40
| Location: |  | P2-G11 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 08-07-42-04-00-40.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 41
| Location: |  | P2-G12 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 08-27-14-04-00-41.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 42
| Location: |  | P2-H1 |  | Sample name: | sHN7
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 08-46-45-04-00-42.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 43
| Location: |  | P2-H2 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 09-06-16-04-00-43.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 44
| Location: |  | P2-H3 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 09-25-48-04-00-44.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 45
| Location: |  | P2-H4 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 09-45-19-04-00-45.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 46
| Location: |  | P2-H5 |  | Sample name: | sHN8
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 10-04-51-04-00-46.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 47
| Location: |  | P2-H6 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 10-24-22-04-00-47.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 48
| Location: |  | P2-H7 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 10-43-54-04-00-48.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 49
| Location: |  | P2-H8 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 11-03-26-04-00-49.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 50
| Location: |  | P2-H9 |  | Sample name: | sHN9
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 11-22-58-04-00-50.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 51
| Location: |  | P2-H10 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 11-42-30-04-00-51.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 52
| Location: |  | P2-H11 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 12-02-03-04-00-52.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 53
| Location: |  | P2-H12 |  | Sample name:
Sample info:
| Acq. Method: |  | SRA_RP_HSA_2_18Min.amx |  | Data file: | 2024-03-17 12-21-34-04-00-53.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1

## Page 3
Sample name: | blank
Data file: | 2024-03-16 19-35-44-04-00-01.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-03-16 19:35:57-04:00
Inj. volume: | 0.000 | Location: | P1-A1
Acq. method: | HN_RP_GCSF_18Min_3.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 4
Sample name: | blank
Data file: | 2024-03-16 19-54-00-04-00-02.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-03-16 19:54:12-04:00
Inj. volume: | 0.000 | Location: | P1-A1
Acq. method: | HN_RP_GCSF_18Min_3.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 5
Sample name: | blank
Data file: | 2024-03-16 20-12-15-04-00-03.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-03-16 20:12:26-04:00
Inj. volume: | 0.000 | Location: | P1-A1
Acq. method: | HN_RP_GCSF_18Min_3.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 6
Sample name: | blank
Data file: | 2024-03-16 20-30-29-04-00-04.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-03-16 20:30:41-04:00
Inj. volume: | 0.000 | Location: | P1-A1
Acq. method: | HN_RP_GCSF_18Min_3.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 7
Sample name: | blank
Data file: | 2024-03-16 20-48-44-04-00-05.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-03-16 20:50:15-04:00
Inj. volume: | 50.000 | Location: | P1-A1
Acq. method: | HN_RP_GCSF_18Min_3.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 8
Sample name: | blank
Data file: | 2024-03-16 21-08-18-04-00-06.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-03-16 21:09:47-04:00
Inj. volume: | 50.000 | Location: | P1-A1
Acq. method: | HN_RP_GCSF_18Min_3.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 9
Sample name: | GCSF - 0.9 g/L
Data file: | 2024-03-16 21-27-51-04-00-07.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-16 21:28:50-04:00
Inj. volume: | 2.000 |  |  |  |  | Location: |  | P1-F2
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.927 | 3524.4889 |  | 431.3562 |  | 100
|  | Sum | 3524.4889

## Page 10
Sample name: | blank
Data file: | 2024-03-16 21-46-53-04-00-08.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-03-16 21:47:07-04:00
Inj. volume: | 0.000 | Location: | P1-A1
Acq. method: | SRA_RP_HSA_2_18Min.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 11
Sample name: | blank
Data file: | 2024-03-16 22-05-11-04-00-09.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-03-16 22:05:23-04:00
Inj. volume: | 0.000 | Location: | P1-A1
Acq. method: | SRA_RP_HSA_2_18Min.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 12
Sample name: | blank
Data file: | 2024-03-16 22-23-25-04-00-10.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-03-16 22:24:38-04:00
Inj. volume: | 50.000 | Location: | P1-A1
Acq. method: | SRA_RP_HSA_2_18Min.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 13
Sample name: | blank
Data file: | 2024-03-16 22-42-41-04-00-11.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-03-16 22:44:09-04:00
Inj. volume: | 50.000 | Location: | P1-A1
Acq. method: | SRA_RP_HSA_2_18Min.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 14
Sample name: | S1311
Data file: | 2024-03-16 23-02-12-04-00-12.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-03-16 23:03:13-04:00
Inj. volume: | 2.000 | Location: | P2-E9
Acq. method: | SRA_RP_HSA_2_18Min.amx | Type: | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 15
Sample name:
Data file: | 2024-03-16 23-21-16-04-00-13.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-03-16 23:22:02-04:00
Inj. volume: | 2.000 | Location: | P2-E10
Acq. method: | SRA_RP_HSA_2_18Min.amx | Type: | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 16
Sample name: | S1311
Data file: | 2024-03-16 23-40-06-04-00-14.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-16 23:41:20-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-E9
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.344 | 1776.8903 |  | 126.1485 |  | 100
|  | Sum | 1776.8903

## Page 17
Sample name:
Data file: | 2024-03-16 23-59-23-04-00-15.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 00:00:52-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-E10
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.36 | 1865.162 |  | 137.7816 |  | 100
|  | Sum | 1865.162

## Page 18
Sample name:
Data file: | 2024-03-17 00-18-55-04-00-16.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 00:20:25-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-E11
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.358 | 1522.7981 |  | 111.5395 |  | 100
|  | Sum | 1522.7981

## Page 19
Sample name:
Data file: | 2024-03-17 00-38-28-04-00-17.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 00:39:57-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-E12
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.363 | 1751.6527 |  | 123.077 |  | 100
|  | Sum | 1751.6527

## Page 20
Sample name: | sHN1
Data file: | 2024-03-17 00-58-00-04-00-18.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 00:59:28-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F1
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.342 | 5501.8126 |  | 372.5151 |  | 100
|  | Sum | 5501.8126

## Page 21
Sample name:
Data file: | 2024-03-17 01-17-32-04-00-19.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 01:19:00-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F2
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.364 | 6042.1856 |  | 451.4361 |  | 100
|  | Sum | 6042.1856

## Page 22
Sample name:
Data file: | 2024-03-17 01-37-04-04-00-20.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 01:38:32-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F3
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.108 | 5417.7972 |  | 500.8275 |  | 100
|  | Sum | 5417.7972

## Page 23
Sample name:
Data file: | 2024-03-17 01-56-35-04-00-21.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 01:58:03-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F4
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.842 | 6615.0858 |  | 541.4011 |  | 100
|  | Sum | 6615.0858

## Page 24
Sample name: | sHN2
Data file: | 2024-03-17 02-16-06-04-00-22.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 02:17:35-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F5
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.202 | 5496.1814 |  | 362.1314 |  | 100
|  | Sum | 5496.1814

## Page 25
Sample name:
Data file: | 2024-03-17 02-35-39-04-00-23.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 02:37:07-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F6
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.636 | 4116.6019 |  | 360.1661 |  | 100
|  | Sum | 4116.6019

## Page 26
Sample name:
Data file: | 2024-03-17 02-55-11-04-00-24.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 02:56:41-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F7
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.036 | 5288.1971 |  | 684.3453 |  | 100
|  | Sum | 5288.1971

## Page 27
Sample name:
Data file: | 2024-03-17 03-14-45-04-00-25.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 03:16:13-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F8
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.208 | 5610.9596 |  | 691.2113 |  | 100
|  | Sum | 5610.9596

## Page 28
Sample name: | sHN3
Data file: | 2024-03-17 03-34-17-04-00-26.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 03:35:46-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F9
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.661 | 3464.8649 |  | 256.7588 |  | 100
|  | Sum | 3464.8649

## Page 29
Sample name:
Data file: | 2024-03-17 03-53-49-04-00-27.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 03:55:19-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F10
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.405 | 2262.0121 |  | 140.2964 |  | 100
|  | Sum | 2262.0121

## Page 30
Sample name:
Data file: | 2024-03-17 04-13-23-04-00-28.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 04:14:51-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F11
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.462 | 3438.4196 |  | 204.1716 |  | 100
|  | Sum | 3438.4196

## Page 31
Sample name:
Data file: | 2024-03-17 04-32-54-04-00-29.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 04:34:23-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F12
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.492 | 3153.275 |  | 193.4887 |  | 100
|  | Sum | 3153.275

## Page 32
Sample name: | sHN4
Data file: | 2024-03-17 04-52-27-04-00-30.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 04:53:55-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-G1
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.802 | 2986.8891 |  | 283.5603 |  | 100
|  | Sum | 2986.8891

## Page 33
Sample name:
Data file: | 2024-03-17 05-11-59-04-00-31.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 05:13:26-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-G2
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.164 | 4492.2111 |  | 343.8866 |  | 100
|  | Sum | 4492.2111

## Page 34
Sample name:
Data file: | 2024-03-17 05-31-30-04-00-32.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 05:32:58-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-G3
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.823 | 3897.1968 |  | 435.5142 |  | 100
|  | Sum | 3897.1968

## Page 35
Sample name:
Data file: | 2024-03-17 05-51-01-04-00-33.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 05:52:29-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-G4
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.444 | 4252.3949 |  | 234.2911 |  | 100
|  | Sum | 4252.3949

## Page 36
Sample name: | sHN5
Data file: | 2024-03-17 06-10-32-04-00-34.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 06:12:00-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-G5
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.566 | 5117.1415 |  | 254.0116 |  | 100
|  | Sum | 5117.1415

## Page 37
Sample name:
Data file: | 2024-03-17 06-30-04-04-00-35.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 06:31:33-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-G6
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.045 | 4238.2567 |  | 259.3336 |  | 100
|  | Sum | 4238.2567

## Page 38
Sample name:
Data file: | 2024-03-17 06-49-36-04-00-36.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 06:51:04-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-G7
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.021 | 3605.6531 |  | 306.5725 |  | 100
|  | Sum | 3605.6531

## Page 39
Sample name:
Data file: | 2024-03-17 07-09-07-04-00-37.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 07:10:36-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-G8
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.956 | 3279.5589 |  | 534.0896 |  | 100
|  | Sum | 3279.5589

## Page 40
Sample name: | sHN6
Data file: | 2024-03-17 07-28-39-04-00-38.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 07:30:08-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-G9
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.417 | 4338.6601 |  | 252.7391 |  | 100
|  | Sum | 4338.6601

## Page 41
Sample name:
Data file: | 2024-03-17 07-48-11-04-00-39.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 07:49:40-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-G10
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.832 | 3083.6689 |  | 279.0184 |  | 100
|  | Sum | 3083.6689

## Page 42
Sample name:
Data file: | 2024-03-17 08-07-42-04-00-40.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 08:09:11-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-G11
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.458 | 3731.7931 |  | 222.8291 |  | 100
|  | Sum | 3731.7931

## Page 43
Sample name:
Data file: | 2024-03-17 08-27-14-04-00-41.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-03-17 08:28:42-04:00
Inj. volume: | 50.000 | Location: | P2-G12
Acq. method: | SRA_RP_HSA_2_18Min.amx | Type: | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | Manual Integration

## Page 44
Sample name: | sHN7
Data file: | 2024-03-17 08-46-45-04-00-42.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 08:48:14-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-H1
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.459 | 4704.7316 |  | 269.9349 |  | 100
|  | Sum | 4704.7316

## Page 45
Sample name:
Data file: | 2024-03-17 09-06-16-04-00-43.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 09:07:45-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-H2
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.343 | 3482.1892 |  | 197.2713 |  | 100
|  | Sum | 3482.1892

## Page 46
Sample name:
Data file: | 2024-03-17 09-25-48-04-00-44.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 09:27:16-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-H3
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.467 | 3975.8457 |  | 218.1238 |  | 100
|  | Sum | 3975.8457

## Page 47
Sample name:
Data file: | 2024-03-17 09-45-19-04-00-45.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 09:46:48-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-H4
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.469 | 4686.1285 |  | 264.0836 |  | 100
|  | Sum | 4686.1285

## Page 48
Sample name: | sHN8
Data file: | 2024-03-17 10-04-51-04-00-46.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 10:06:19-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-H5
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.07 | 4896.3296 |  | 326.0723 |  | 100
|  | Sum | 4896.3296

## Page 49
Sample name:
Data file: | 2024-03-17 10-24-22-04-00-47.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 10:25:50-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-H6
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.45 | 4619.3974 |  | 271.1668 |  | 100
|  | Sum | 4619.3974

## Page 50
Sample name:
Data file: | 2024-03-17 10-43-54-04-00-48.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 10:45:22-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-H7
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.994 | 3380.4839 |  | 282.2529 |  | 100
|  | Sum | 3380.4839

## Page 51
Sample name:
Data file: | 2024-03-17 11-03-26-04-00-49.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 11:04:55-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-H8
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.457 | 4664.4031 |  | 271.3034 |  | 100
|  | Sum | 4664.4031

## Page 52
Sample name: | sHN9
Data file: | 2024-03-17 11-22-58-04-00-50.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 11:24:27-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-H9
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.111 | 3989.9687 |  | 259.8482 |  | 100
|  | Sum | 3989.9687

## Page 53
Sample name:
Data file: | 2024-03-17 11-42-30-04-00-51.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 11:44:00-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-H10
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.193 | 3051.5735 |  | 193.39 |  | 100
|  | Sum | 3051.5735

## Page 54
Sample name:
Data file: | 2024-03-17 12-02-03-04-00-52.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 12:03:32-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-H11
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.461 | 3345.0152 |  | 190.636 |  | 100
|  | Sum | 3345.0152

## Page 55
Sample name:
Data file: | 2024-03-17 12-21-34-04-00-53.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-03-17 12:23:02-04:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-H12
Acq. method: | SRA_RP_HSA_2_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.253 | 2478.7369 |  | 178.1344 |  | 100
|  | Sum | 2478.7369

## Page 57
Method Summary
Processing method: | [7 empty] | RP_PLRPS_HSA_18min.pmx
| Method version: | [5 empty] | 2021-0920-2218-01534
| Line# |  | Location |  | Sample Name |  |  |  |  | Injection modified |  |  | Acq. Method |  |  | ACQ Method Version
| 1 |  | P1-A1 |  | blank |  |  |  |  | 2024-03-16 19:54:02- 04:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 2 |  | P1-A1 |  | blank |  |  |  |  | 2024-03-16 20:12:15- 04:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 3 |  | P1-A1 |  | blank |  |  |  |  | 2024-03-16 20:30:30- 04:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 4 |  | P1-A1 |  | blank |  |  |  |  | 2024-03-16 20:48:44- 04:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 5 |  | P1-A1 |  | blank |  |  |  |  | 2024-03-16 21:08:19- 04:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 6 |  | P1-A1 |  | blank |  |  |  |  | 2024-03-16 21:27:51- 04:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 7 |  | P1-F2 |  | GCSF - 0.9 g/L |  |  |  |  | 2024-03-16 21:46:53- 04:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 8 |  | P1-A1 |  | blank |  |  |  |  | 2024-03-16 22:05:12- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 9 |  | P1-A1 |  | blank |  |  |  |  | 2024-03-16 22:23:26- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 10 |  | P1-A1 |  | blank |  |  |  |  | 2024-03-16 22:42:41- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 11 |  | P1-A1 |  | blank |  |  |  |  | 2024-03-16 23:02:13- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 12 |  | P2-E9 |  | S1311 |  |  |  |  | 2024-03-16 23:21:17- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 13 |  | P2-E10 | [6 empty] | 2024-03-16 23:40:06- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 14 |  | P2-E9 |  | S1311 |  |  |  |  | 2024-03-17 12:47:34- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 15 |  | P2-E10 | [6 empty] | 2024-03-17 12:47:39- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 16 |  | P2-E11 | [6 empty] | 2024-03-17 12:47:50- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 17 |  | P2-E12 | [6 empty] | 2024-03-17 12:48:04- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 18 |  | P2-F1 |  | sHN1 |  |  |  |  | 2024-03-17 12:48:14- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 19 |  | P2-F2 | [6 empty] | 2024-03-17 12:48:21- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 20 |  | P2-F3 | [6 empty] | 2024-03-17 12:48:27- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 21 |  | P2-F4 | [6 empty] | 2024-03-17 12:48:36- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 22 |  | P2-F5 |  | sHN2 |  |  |  |  | 2024-03-17 12:49:12- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 23 |  | P2-F6 | [6 empty] | 2024-03-17 12:49:17- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 24 |  | P2-F7 | [6 empty] | 2024-03-17 12:49:31- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 25 |  | P2-F8 | [6 empty] | 2024-03-17 12:49:41- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 26 |  | P2-F9 |  | sHN3 |  |  |  |  | 2024-03-17 12:49:59- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 27 |  | P2-F10 | [6 empty] | 2024-03-17 12:50:16- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 28 |  | P2-F11 | [6 empty] | 2024-03-17 12:50:30- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 29 |  | P2-F12 | [6 empty] | 2024-03-17 12:50:35- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 30 |  | P2-G1 |  | sHN4 |  |  |  |  | 2024-03-17 12:50:48- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 31 |  | P2-G2 | [6 empty] | 2024-03-17 12:50:52- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 32 |  | P2-G3 | [6 empty] | 2024-03-17 12:51:12- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 33 |  | P2-G4 | [6 empty] | 2024-03-17 12:51:22- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 34 |  | P2-G5 |  | sHN5 |  |  |  |  | 2024-03-17 12:51:40- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 35 |  | P2-G6 | [6 empty] | 2024-03-17 12:51:47- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 36 |  | P2-G7 | [6 empty] | 2024-03-17 12:52:01- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 37 |  | P2-G8 | [6 empty] | 2024-03-17 12:52:06- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 38 |  | P2-G9 |  | sHN6 |  |  |  |  | 2024-03-17 12:52:20- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 39 |  | P2-G10 | [6 empty] | 2024-03-17 12:52:27- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 40 |  | P2-G11 | [6 empty] | 2024-03-17 08:27:15- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 41 |  | P2-G12 | [6 empty] | 2024-03-17 12:52:48- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 42 |  | P2-H1 |  | sHN7 |  |  |  |  | 2024-03-17 09:06:17- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 43 |  | P2-H2 | [6 empty] | 2024-03-17 12:53:20- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 44 |  | P2-H3 | [6 empty] | 2024-03-17 09:45:20- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 45 |  | P2-H4 | [6 empty] | 2024-03-17 10:04:52- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 46 |  | P2-H5 |  | sHN8 |  |  |  |  | 2024-03-17 12:53:38- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 47 |  | P2-H6 | [6 empty] | 2024-03-17 10:43:55- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 48 |  | P2-H7 | [6 empty] | 2024-03-17 12:53:47- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 49 |  | P2-H8 | [6 empty] | 2024-03-17 11:22:59- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 50 |  | P2-H9 |  | sHN9 |  |  |  |  | 2024-03-17 12:53:56- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 51 |  | P2-H10 | [6 empty] | 2024-03-17 12:54:18- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 52 |  | P2-H11 | [6 empty] | 2024-03-17 12:54:28- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
| 53 |  | P2-H12 | [6 empty] | 2024-03-17 12:54:37- 04:00 |  |  | SRA_RP_HSA_2_18Mi n.amx |  |  | 2023-0814-0607- 40961
Acquisition Method: | [7 empty] | HN_RP_GCSF_18Min_3.amx
Path: | [7 empty] | C:\CDSProjects\Project01\Results\240316_hGCSF_MethodDev_sHN1to9_StrainComp1.rslt
Method Information
|  | Last Saved As: |  |  |  | C:\CDSProjects\Project01\Methods\HN _RP_GCSF_18Min_3.amx |  |  |  |  | Modified: |  |  | 2024-03-16 19:03:22-04:00
|  | Modifier: |  |  |  | SYSTEM |  |  |  |  | Created: |  |  | 2024-03-16 18:12:21-04:00
|  | Creator: |  |  |  | SYSTEM |  |  |  |  | Description:
|  | Version: |  |  |  | 2024-0316-2303-22919 |  |  |  |  | Method Status: |  |  | Generic
DAD Method
|  | Peakwidth: |  |  |  | > 0.0031 min (0.063 s response time) (80 Hz) |  |  |  |  | UV Lamp Required: |  |  | Yes
|  | Module Display Name: |  |  |  | DAD |  |  |  |  | Module Type: |  |  | G4212B
|  | Order: |  |  |  | 1
Analog Output
|  | Analog Zero Offset: |  |  |  | 5 % |  |  |  |  | Analog Attenuation: |  |  | 1000 mAU
Signals
Signal table
|  | Row ID |  | Acquire |  |  |  |  | Signal |  |  | Wavelength (nm) |  |  | Bandwidth (nm)
|  | 1 |  | No |  |  |  |  | Signal A
|  | 2 |  | No |  |  |  |  | Signal B
|  | 3 |  | Yes |  |  |  |  | Signal C |  |  | 214.0 |  |  | 4.0
|  | 4 |  | No |  |  |  |  | Signal D
|  | 5 |  | No |  |  |  |  | Signal E
|  | 6 |  | No |  |  |  |  | Signal F
|  | 7 |  | No |  |  |  |  | Signal G
|  | 8 |  | No |  |  |  |  | Signal H
|  | Row ID |  | Use Ref. |  |  |  |  | Ref Wavel. (nm) |  |  | Ref Bandw. (nm)
1
2
|  | 3 |  | Yes |  |  |  |  | 360.0 |  |  | 100.0
4
5
6
7
8
Prepare Mode
|  | Margin for negative Absorbance: |  |  |  | 100 mAU
Autobalance
|  | Autobalance Prerun: |  |  |  | Yes |  |  |  |  | Autobalance Postrun: |  |  | No
Spectrum
|  | Spectrum Range WL from: |  |  |  | 190.0 nm |  |  |  |  | Spectrum Range WL to: |  |  | 400.0 nm
|  | Spectrum Step: |  |  |  | 2.0 nm |  |  |  |  | Spectrum Store: |  |  | All
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/Injector
Posttime
|  | Posttime Mode: |  |  |  | Off
Column Comp. Method
|  | Valve Position: |  |  |  | Position 4 (Port 4 -> 4') |  |  |  |  | Position Switch After Run: |  |  | Do not switch
|  | Module Display Name: |  |  |  | Column Comp. |  |  |  |  | Module Type: |  |  | G7116A
|  | Order: |  |  |  | 1
Left Temperature Control
|  | Temperature Control Mode: |  |  |  | Temperature Set |  |  |  |  | Temperature: |  |  | 80.0 °C
Enable Analysis Left Temperature
|  | Enable Analysis Left Temperature On: |  |  |  | Yes |  |  |  |  | Enable Analysis Left Temperature Value: |  |  | 0.8 °C
|  | Left Temp. Equilibration Time: |  |  |  | 0.0 min
Right Temperature Control
|  | Right temperature Control Mode: |  |  |  | Temperature Set |  |  |  |  | Right temperature: |  |  | 80.0 °C
Enable Analysis Right Temperature
|  | Enable Analysis Right Temperature On: |  |  |  | Yes |  |  |  |  | Enable Analysis Right Temperature Value: |  |  | 0.8 °C
|  | Right Temp. Equilibration Time: |  |  |  | 0.0 min
Enforce column for run
|  | Enforce column for run enabled: |  |  |  | No
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/Injector
Posttime
|  | Posttime Mode: |  |  |  | Off
Quat. Pump Method
|  | Flow: |  |  |  | 0.600 mL/min |  |  |  |  | Low Pressure Limit: |  |  | 0.00 bar
|  | High Pressure Limit: |  |  |  | 400.00 bar |  |  |  |  | Maximum Flow Gradient: |  |  | 1.000 mL/min²
|  | Primary Channel: |  |  |  | Automatic |  |  |  |  | Module Display Name: |  |  | Quat. Pump
|  | Module Type: |  |  |  | G1311B |  |  |  |  | Order: |  |  | 1
Solvent Composition
|  | Row ID |  | Channel |  |  |  |  | Name 1 |  |  | Used |  |  | Percent (%)
|  | 1 |  | A |  |  |  |  | 5mM H2SO4 |  |  | Yes |  |  | 0.0
|  | 2 |  | B |  |  |  |  | 5mM H2SO4 |  |  | No
|  | 3 |  | C |  |  |  |  | 100% H2O |  |  | Yes |  |  | 70.0
|  | 4 |  | D |  |  |  |  | 100% ACN |  |  | Yes |  |  | 30.0
Timetable
|  | Row ID |  | Time (min) |  |  |  |  | A (%) |  |  | B (%) |  |  | C (%)
|  | 1 |  | 1.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | 2 |  | 4.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 50.0
|  | 3 |  | 13.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 30.0
|  | 4 |  | 13.50 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 5.0
|  | 5 |  | 14.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 5.0
|  | 6 |  | 14.50 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | 7 |  | 18.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | Row ID |  | D (%) |  |  |  |  | Flow (mL/min) |  |  | Pressure (bar)
|  | 1 |  | 30.0 |  |  |  |  | --- |  |  | ---
|  | 2 |  | 50.0 |  |  |  |  | --- |  |  | ---
|  | 3 |  | 70.0 |  |  |  |  | --- |  |  | ---
|  | 4 |  | 95.0 |  |  |  |  | --- |  |  | ---
|  | 5 |  | 95.0 |  |  |  |  | --- |  |  | ---
|  | 6 |  | 30.0 |  |  |  |  | --- |  |  | ---
|  | 7 |  | 30.0 |  |  |  |  | --- |  |  | ---
Stroke
|  | Automatic Stroke Calculation: |  |  |  | Yes
Compress
|  | Compressibility Mode: |  |  |  | Compressibility Value Set |  |  |  |  | Compressibility: |  |  | 100 10e-6/bar
Stoptime
|  | Stoptime Mode: |  |  |  | Time set |  |  |  |  | Stoptime: |  |  | 18.00 min
Posttime
|  | Posttime Mode: |  |  |  | Off
HiP Sampler Method
|  | Module Display Name: |  |  |  | HiP Sampler |  |  |  |  | Module Type: |  |  | G1367E
|  | Order: |  |  |  | 1
Auxiliary
|  | Draw Speed: |  |  |  | 100.0 µL/min |  |  |  |  | Eject Speed: |  |  | 200.0 µL/min
|  | Draw Position Offset: |  |  |  | 0.0 mm |  |  |  |  | Wait Time After Drawing: |  |  | 1.2 s
|  | Sample Flush Out Factor: |  |  |  | 5.0 |  |  |  |  | Vial/Well bottom sensing: |  |  | Yes
Injection
|  | Injection Mode: |  |  |  | Injection with needle wash |  |  |  |  | Injection Volume: |  |  | 10.00 µL
Needle Wash
|  | Needle Wash Location: |  |  |  | Flush Port |  |  |  |  | Wash Time: |  |  | 5.0 s
High throughput
|  | Automatic Delay Volume Reduction: |  |  |  | No
Overlapped Injection
|  | Enable Overlapped Injection: |  |  |  | No
Thermostat
|  | Not Ready Temperature Mode: |  |  |  | Enable Analysis With Any Temperature |  |  |  |  | Thermostat Control: |  |  | Thermostat Control Set Value
|  | Thermostat Temperature: |  |  |  | 4 °C
Valve Switching
|  | Valve Movements: |  |  |  | 0
Valve Switch Time 1
|  | Switch Time 1 Enabled: |  |  |  | No
Valve Switch Time 2
|  | Switch Time 2 Enabled: |  |  |  | No
Valve Switch Time 3
|  | Switch Time 3 Enabled: |  |  |  | No
Valve Switch Time 4
|  | Switch Time 4 Enabled: |  |  |  | No
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/No Limit
Posttime
|  | Posttime Mode: |  |  |  | Off
Method Properties
|  | Instrument Technique: |  |  |  | Liquid Chromatography
Schema version
|  | Schema version: |  |  |  | 2.3

## Page 58
Acquisition Method: |  |  |  | SRA_RP_HSA_2_18Min.amx
Path: |  |  |  | C:\CDSProjects\Project01\Results\240316_hGCSF_MethodDev_sHN1to9_StrainComp1.rslt
Method Information
| Last Saved As: |  | C:\CDSProjects\Project01\Methods\SR A_RP_HSA_2_18Min.amx |  |  | Modified: |  | 2023-08-14 02:07:40-04:00
| Modifier: |  | SYSTEM |  |  | Created: |  | 2021-05-03 13:25:26-04:00
| Creator: |  | SYSTEM |  |  | Description:
| Version: |  | 2023-0814-0607-40961 |  |  | Method Status: |  | Generic
DAD Method
| Peakwidth: |  | > 0.0031 min (0.063 s response time) (80 Hz) |  |  | UV Lamp Required: |  | Yes
| Module Display Name: |  | DAD |  |  | Module Type: |  | G4212B
| Order: |  | 1
Analog Output
| Analog Zero Offset: |  | 5 % |  |  | Analog Attenuation: |  | 1000 mAU
Signals
Signal table
| Row ID | Acquire |  |  | Signal |  | Wavelength (nm) |  | Bandwidth (nm)
| 1 | No |  |  | Signal A
| 2 | No |  |  | Signal B
| 3 | Yes |  |  | Signal C |  | 214.0 |  | 4.0
| 4 | No |  |  | Signal D
| 5 | No |  |  | Signal E
| 6 | No |  |  | Signal F
| 7 | No |  |  | Signal G
| 8 | No |  |  | Signal H
| Row ID | Use Ref. |  |  | Ref Wavel. (nm) |  | Ref Bandw. (nm)
1
2
| 3 | Yes |  |  | 360.0 |  | 100.0
4
5
6
7
8
Prepare Mode
| Margin for negative Absorbance: |  | 100 mAU
Autobalance
| Autobalance Prerun: |  | Yes |  |  | Autobalance Postrun: |  | No
Spectrum
| Spectrum Range WL from: |  | 190.0 nm |  |  | Spectrum Range WL to: |  | 400.0 nm
| Spectrum Step: |  | 2.0 nm |  |  | Spectrum Store: |  | All
Stoptime
| Stoptime Mode: |  | As Pump/Injector
Posttime
| Posttime Mode: |  | Off
Column Comp. Method
| Valve Position: |  | Position 4 (Port 4 -> 4') |  |  | Position Switch After Run: |  | Do not switch
| Module Display Name: |  | Column Comp. |  |  | Module Type: |  | G7116A
| Order: |  | 1
Left Temperature Control
| Temperature Control Mode: |  | Temperature Set |  |  | Temperature: |  | 80.0 °C
Enable Analysis Left Temperature
| Enable Analysis Left Temperature On: |  | Yes |  |  | Enable Analysis Left Temperature Value: |  | 0.8 °C
| Left Temp. Equilibration Time: |  | 0.0 min
Right Temperature Control
| Right temperature Control Mode: |  | Temperature Set |  |  | Right temperature: |  | 80.0 °C
Enable Analysis Right Temperature
| Enable Analysis Right Temperature On: |  | Yes |  |  | Enable Analysis Right Temperature Value: |  | 0.8 °C
| Right Temp. Equilibration Time: |  | 0.0 min
Enforce column for run
| Enforce column for run enabled: |  | No
Stoptime
| Stoptime Mode: |  | As Pump/Injector
Posttime
| Posttime Mode: |  | Off
Quat. Pump Method
| Flow: |  | 0.600 mL/min |  |  | Low Pressure Limit: |  | 0.00 bar
| High Pressure Limit: |  | 400.00 bar |  |  | Maximum Flow Gradient: |  | 1.000 mL/min²
| Primary Channel: |  | Automatic |  |  | Module Display Name: |  | Quat. Pump
| Module Type: |  | G1311B |  |  | Order: |  | 1
Solvent Composition
| Row ID | Channel |  |  | Name 1 |  | Used |  | Percent (%)
| 1 | A |  |  | 5mM H2SO4 |  | Yes |  | 0.0
| 2 | B |  |  | 5mM H2SO4 |  | No
| 3 | C |  |  | 100% H2O |  | Yes |  | 70.0
| 4 | D |  |  | 100% ACN |  | Yes |  | 30.0
Timetable
| Row ID | Time (min) |  |  | A (%) |  | B (%) |  | C (%)
| 1 | 1.00 |  |  | 0.0 |  | 0.0 |  | 70.0
| 2 | 4.00 |  |  | 0.0 |  | 0.0 |  | 60.0
| 3 | 13.00 |  |  | 0.0 |  | 0.0 |  | 40.0
| 4 | 13.50 |  |  | 0.0 |  | 0.0 |  | 5.0
| 5 | 14.00 |  |  | 0.0 |  | 0.0 |  | 5.0
| 6 | 14.50 |  |  | 0.0 |  | 0.0 |  | 70.0
| 7 | 18.00 |  |  | 0.0 |  | 0.0 |  | 70.0
| Row ID | D (%) |  |  | Flow (mL/min) |  | Pressure (bar)
| 1 | 30.0 |  |  | --- |  | ---
| 2 | 40.0 |  |  | --- |  | ---
| 3 | 60.0 |  |  | --- |  | ---
| 4 | 95.0 |  |  | --- |  | ---
| 5 | 95.0 |  |  | --- |  | ---
| 6 | 30.0 |  |  | --- |  | ---
| 7 | 30.0 |  |  | --- |  | ---
Stroke
| Automatic Stroke Calculation: |  | Yes
Compress
| Compressibility Mode: |  | Compressibility Value Set |  |  | Compressibility: |  | 100 10e-6/bar
Stoptime
| Stoptime Mode: |  | Time set |  |  | Stoptime: |  | 18.00 min
Posttime
| Posttime Mode: |  | Off
HiP Sampler Method
| Module Display Name: |  | HiP Sampler |  |  | Module Type: |  | G1367E
| Order: |  | 1
Auxiliary
| Draw Speed: |  | 100.0 µL/min |  |  | Eject Speed: |  | 200.0 µL/min
| Draw Position Offset: |  | 0.0 mm |  |  | Wait Time After Drawing: |  | 1.2 s
| Sample Flush Out Factor: |  | 5.0 |  |  | Vial/Well bottom sensing: |  | Yes
Injection
| Injection Mode: |  | Injection with needle wash |  |  | Injection Volume: |  | 10.00 µL
Needle Wash
| Needle Wash Location: |  | Flush Port |  |  | Wash Time: |  | 5.0 s
High throughput
| Automatic Delay Volume Reduction: |  | No
Overlapped Injection
| Enable Overlapped Injection: |  | No
Thermostat
| Not Ready Temperature Mode: |  | Enable Analysis With Any Temperature |  |  | Thermostat Control: |  | Thermostat Control Set Value
| Thermostat Temperature: |  | 4 °C
Valve Switching
| Valve Movements: |  | 0
Valve Switch Time 1
| Switch Time 1 Enabled: |  | No
Valve Switch Time 2
| Switch Time 2 Enabled: |  | No
Valve Switch Time 3
| Switch Time 3 Enabled: |  | No
Valve Switch Time 4
| Switch Time 4 Enabled: |  | No
Stoptime
| Stoptime Mode: |  | As Pump/No Limit
Posttime
| Posttime Mode: |  | Off
Method Properties
| Instrument Technique: |  | Liquid Chromatography
Schema version
| Schema version: |  | 2.3

## Page 59
Processing method:
| Data Analysis Method: |  |  |  | RP_PLRPS_HSA_18min.pmx
| Path: |  |  |  | C:\CDSProjects\Project01\Results\240316_hGCSF_MethodDev_sHN1to9_StrainComp1.rslt
Method Information
|  | Last Saved As: |  | C:\CDSProjects\Project01\Results\2403 16_hGCSF_MethodDev_sHN1to9_Stra inComp1.rslt\RP_PLRPS_HSA_18min. pmx |  |  | Modified: |  | 2021-09-20 18:18:01-04:00
[7 empty] | Created: |  | 2020-04-28 13:25:14-04:00
|  | Modifier: |  | SYSTEM |  |  | Description:
|  | Creator: |  | SYSTEM |  |  | Method Status: |  | Generic
|  | Version: |  | 2021-0920-2218-01534
|  | Type: |  | GC/LC Area Percent
Method Parameters
Signals
Blank Subtraction
|  | Blank subtraction: |  | Samples only (exclude cal. standards) |  |  | Used blank: |  | Defined in sequence
|  | Specific blank path: |  |  |  |  | Specific blank:
|  | Subtract blank if data rates are different: |  | No |  |  | Signal matching mode: |  | Perform blank subtraction if signal names match
Signal alignment
|  | Use delay: |  | Yes |  |  | Detector: |  | DAD1
|  | RT : |  | 0.000 min |  |  | Delay : |  | 0.000 min
Chromatogram Smoothing
|  | Smoothing algorithm: |  | None
ChemStation integrator
ChemStation integrator parameters
|  | Tangent skim mode: |  | Standard |  |  | Baseline correction: |  | Advanced
|  | Front peak skim height ratio: |  | 0.00 |  |  | Tail peak skim height ratio: |  | 0.00
|  | Skim valley ratio: |  | 20.00 |  |  | Peak to valley ratio: |  | 500.00
Initial timed events
|  | Row ID | Use |  |  | Time (min) |  | Event |  | Value
|  | 1 | Yes |  |  | 0.000 |  | Slope sensitivity |  | 1
|  | 2 | Yes |  |  | 0.000 |  | Peak width |  | 0.07
|  | 3 | Yes |  |  | 0.000 |  | Area reject |  | 1
|  | 4 | Yes |  |  | 0.000 |  | Height reject |  | 7
|  | 5 | Yes |  |  | 0.000 |  | Shoulders mode |  | Tangential
|  | 6 | Yes |  |  | 0.000 |  | Area% reject |  | 0.05
Timed events
|  | Row ID | Use |  |  | Time (min) |  | Event |  | Value
|  | 1 | Yes |  |  | 0.001 |  | Integration |  | Off
|  | 2 | Yes |  |  | 6.150 |  | Integration |  | On
|  | 3 | Yes |  |  | 6.151 |  | Baseline now
|  | 4 | Yes |  |  | 6.152 |  | Baseline hold |  | On
|  | 5 | Yes |  |  | 8.000 |  | Integration |  | Off
Compound parameters
|  | Use time references: |  | No |  |  | Use relative retention time: |  | No
|  | Qualifier count: |  | 2 |  |  | Qualifier RT Window: |  | 0.010 min
|  | Qualifier response window: |  | 20.0 percent |  |  | Response Window Type: |  | Relative
System Suitability
|  | EP: |  | No |  |  | Column performance: |  | None
|  | JP: |  | No |  |  | USP: |  | No
|  | Signal to noise: |  | None |  |  | Noise calculation: |  | P2P
|  | Use blank reference for noise: |  | on blank |  |  | Calculate noise before or after peak: |  | before peak start
|  | Range mode for Noise Selection: |  | Automatic |  |  | Noise range end time: |  | 0.60
|  | Noise range start time: |  | 0.50 |  |  | Noise range relative end time: |  | 0.40
|  | Noise range relative start time: |  | 0.00 |  |  | Overwrite column parameters: |  | No
Custom calculations
|  | Last imported file: |  |  |  |  | Embedded file: |  | No
|  | Created by: |  |  |  |  | Creation date:
|  | Last modified by: |  |  |  |  | Last modified date:
|  | File version: |  |  |  |  | Custom calculations file:
Reporting parameters
|  | From time: |  |  |  |  | To time:
|  | From response: |  |  |  |  | To response:
General reporting parameters
|  | Row ID | Report # |  |  | Report template |  | Report file name |  | Report for sample types
|  | 1 | 1 |  |  |  |  | <DX>_<R> |  | All sample types
|  | 2 | 2 |  |  |  |  | <DX>_<R> |  | All sample types
|  | Row ID | Do print |  |  | Do create file |  | Report selected signals
|  | 1 | No |  |  | No |  | All signals
|  | 2 | No |  |  | No |  | All signals