## Page 1
Sequence name: |  |  | 241120_ProA05_Day3_HerAStrainComp_FilterCheck
Description:
Acquisition date: |  |  | 2024-11-20 16:55:37-05:00
Acquired by: |  |  | SYSTEM
Data path: |  |  | C:\CDSProjects\Project01\Results\241120_ProA05_Day3_HerAStrainComp_Filte rCheck.rslt
Sequence Integration
| Samp le Vial Numb er | Sample Name |  |  | RT | Area | % | Inejction | mg/L
| P1-A1 |  |  |  | 2.891 | 29.1994 | 75.25
| P1-A1 |  |  |  | 2.973 | 2.1835 | 5.63
| P1-A1 |  |  |  | 3.026 | 5.0963 | 13.13
| P1-A1 |  |  |  | 3.053 | 2.3243 | 5.99
| P1-A1 |  |  |  | 2.837 | 12.7296 | 100
| P1-A1 |  |  |  | 2.937 | 15.4224 | 100
| P1-A9 |  |  |  | 2.829 | 4.3484 | 100
| P1-A9 |  |  |  | 2.846 | 22.7029 | 100
| P1-A9 |  |  |  | 2.831 | 32.1047 | 100
| P1-A9 |  |  |  | 2.823 | 253.2737 | 100 | 5 | 711.443
| P1-A9 |  |  |  | 2.823 | 50.5797 | 100 | 1 | 710.389
| P2-A1 | Day3 - sHN23 |  |  | 2.822 | 417.9115 | 100 | 50 | 117.3909
| P2-A2 | Day3 - S1312 |  |  | 2.835 | 306.0223 | 100 | 50 | 85.9613
| P2-A3 | Day3 - sHN58 |  |  | 2.814 | 1105.8435 | 100 | 50 | 310.6302
| P2-A4 | Day3 - sHN59 |  |  | 2.824 | 557.2976 | 100 | 50 | 156.5443
| P2-A5 | Day3 - sHN61 |  |  | 2.823 | 572.6422 | 100 | 50 | 160.8546
| P2-A6 | Day3 - sHN62 |  |  | 2.815 | 960.4689 | 100 | 50 | 269.7946
| P2-A7 | Day3 - sHN23 |  |  | 2.818 | 395.2007 | 100 | 50 | 111.0114
| P2-A8 | Day3 - S1312 |  |  | 2.817 | 280.0085 | 100 | 50 | 78.6541
| P2-A9 | Day3 - sHN58 |  |  | 2.824 | 1023.1531 | 100 | 50 | 287.4026
| P2-A10 | Day3 - sHN59 |  |  | 2.827 | 532.6455 | 100 | 50 | 149.6195
| P2-A11 | Day3 - sHN61 |  |  | 2.824 | 964.2783 | 100 | 50 | 270.8647
| P2-A12 | Day3 - sHN62 |  |  | 2.814 | 960.7353 | 100 | 50 | 269.8695
| P2-B1 | Day3 - 950rpm - sHN23 |  |  | 2.823 | 331.6819 | 100 | 50 | 93.1691
| P2-B2 | Day3 - 950rpm - S1312 |  |  | 2.822 | 128.3452 | 100 | 50 | 36.052
| P2-B3 | Day3 - 950rpm - sHN58 |  |  | 2.805 | 961.1274 | 100 | 50 | 269.9796
| P2-B4 | Day3 - 950rpm - sHN59 |  |  | 2.81 | 898.1488 | 100 | 50 | 252.289
| P2-B5 | Day3 - 950rpm - sHN61 |  |  | 2.89 | 305.177 | 100 | 50 | 85.7239
| P2-B6 | Day3 - 950rpm - sHN62 |  |  | 2.815 | 746.6222 | 100 | 50 | 209.7253
| P2-B7 | Day3 - 950rpm - sHN23 |  |  | 2.825 | 320.9044 | 100 | 50 | 90.1417
| P2-B8 | Day3 - 950rpm - S1312 |  |  | 2.821 | 128.6538 | 100 | 50 | 36.1387
| P2-B9 | Day3 - 950rpm - sHN58 |  |  | 2.826 | 931.4789 | 100 | 50 | 261.6514
| P2-B10 | Day3 - 950rpm - sHN59 |  |  | 2.814 | 873.2641 | 100 | 50 | 245.2989
| P2-B11 | Day3 - 950rpm - sHN61 |  |  | 2.813 | 420.274 | 100 | 50 | 118.0545
| P2-B12 | Day3 - 950rpm - sHN62 |  |  | 2.819 | 812.5039 | 100 | 50 | 228.2314
| P1-D1 | P4-1 |  |  | 2.814 | 388.1358 | 100 | 50 | 109.0269
| P1-D2 | P4-2 |  |  | 2.829 | 140.1108 | 100 | 50 | 39.357
| P1-D3 | P4-3 |  |  | 2.809 | 1030.7178 | 100 | 50 | 289.5275
| P1-D4 | P4-4 |  |  | 2.818 | 965.2973 | 100 | 50 | 271.1509

## Page 2
Sequence Table: |  |  |  | Bracketing Mode: |  | None
Seq. Line: |  | 1
| Location: |  | P1-A1 |  | Sample name:
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 16-55-46-05-00-01.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 2
| Location: |  | P1-A1 |  | Sample name:
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 17-01-01-05-00-02.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 3
| Location: |  | P1-A1 |  | Sample name:
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 17-06-15-05-00-03.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 4
| Location: |  | P1-A1 |  | Sample name:
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 17-12-27-05-00-04.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 5
| Location: |  | P1-A9 |  | Sample name:
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 17-18-25-05-00-05.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 1.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 6
| Location: |  | P1-A9 |  | Sample name:
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 17-24-17-05-00-06.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 1.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 7
| Location: |  | P1-A9 |  | Sample name:
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 17-30-03-05-00-07.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 1.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 8
| Location: |  | P1-A9 |  | Sample name:
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 17-35-49-05-00-08.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 5.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 9
| Location: |  | P1-A9 |  | Sample name:
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 17-41-36-05-00-09.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 1.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 10
| Location: |  | P2-A1 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 17-47-23-05-00-10.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 11
| Location: |  | P2-A2 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 17-53-25-05-00-11.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 12
| Location: |  | P2-A3 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 17-59-42-05-00-12.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 13
| Location: |  | P2-A4 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 18-05-58-05-00-13.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 14
| Location: |  | P2-A5 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 18-12-16-05-00-14.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 15
| Location: |  | P2-A6 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 18-18-33-05-00-15.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 16
| Location: |  | P2-A7 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 18-24-48-05-00-16.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 17
| Location: |  | P2-A8 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 18-31-05-05-00-17.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 18
| Location: |  | P2-A9 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 18-37-21-05-00-18.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 19
| Location: |  | P2-A10 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 18-43-38-05-00-19.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 20
| Location: |  | P2-A11 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 18-49-52-05-00-20.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 21
| Location: |  | P2-A12 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 18-56-08-05-00-21.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 22
| Location: |  | P2-B1 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 19-02-22-05-00-22.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 23
| Location: |  | P2-B2 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 19-08-39-05-00-23.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 24
| Location: |  | P2-B3 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 19-14-57-05-00-24.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 25
| Location: |  | P2-B4 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 19-21-14-05-00-25.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 26
| Location: |  | P2-B5 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 19-27-30-05-00-26.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 27
| Location: |  | P2-B6 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 19-33-47-05-00-27.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 28
| Location: |  | P2-B7 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 19-40-03-05-00-28.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 29
| Location: |  | P2-B8 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 19-46-20-05-00-29.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 30
| Location: |  | P2-B9 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 19-52-37-05-00-30.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 31
| Location: |  | P2-B10 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 19-58-53-05-00-31.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 32
| Location: |  | P2-B11 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 20-05-10-05-00-32.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 33
| Location: |  | P2-B12 |  | Sample name: | Day3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 20-11-25-05-00-33.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 34
| Location: |  | P1-D1 |  | Sample name: | P4-1
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 20-17-39-05-00-34.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 35
| Location: |  | P1-D2 |  | Sample name: | P4-2
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 20-23-55-05-00-35.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 36
| Location: |  | P1-D3 |  | Sample name: | P4-3
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 20-30-11-05-00-36.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 37
| Location: |  | P1-D4 |  | Sample name: | P4-4
Sample info:
| Acq. Method: |  | ProA_mAb_Supernatant.amx |  | Data file: | 2024-11-20 20-36-28-05-00-37.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | MAb_Supernatant_ProA.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1

## Page 3
Sample name:
Data file: | 2024-11-20 16-55-46-05-00-01.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 16:55:58-05:00
Inj. volume: | 0.000 |  |  |  |  | Location: |  | P1-A1
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Blank
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | DAD1B,Sig=280.0,4.0 Ref=360.0,100.0
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.891 | 29.1994 |  | 3.171 |  | 75.2494
|  | 2.973 | 2.1835 |  | 2.0016 |  | 5.627
|  | 3.026 | 5.0963 |  | 1.5299 |  | 13.1337
|  | 3.053 | 2.3243 |  | 1.3347 |  | 5.9899
|  | Sum | 38.8035

## Page 4
Sample name:
Data file: | 2024-11-20 17-01-01-05-00-02.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 17:01:12-05:00
Inj. volume: | 0.000 |  |  |  |  | Location: |  | P1-A1
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Blank
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | DAD1B,Sig=280.0,4.0 Ref=360.0,100.0
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.837 | 12.7296 |  | 1.1568 |  | 100
|  | Sum | 12.7296

## Page 5
Sample name:
Data file: | 2024-11-20 17-06-15-05-00-03.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 17:07:23-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P1-A1
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Blank
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | DAD1B,Sig=280.0,4.0 Ref=360.0,100.0
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.937 | 15.4224 |  | 1.1122 |  | 100
|  | Sum | 15.4224

## Page 6
Sample name:
Data file: | 2024-11-20 17-12-27-05-00-04.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-11-20 17:13:22-05:00
Inj. volume: | 20.000 | Location: | P1-A1
Acq. method: | ProA_mAb_Supernatant.amx | Type: | Blank
Processing method: | MAb_Supernatant_ProA.pmx | Sample amount: | 0
Manually modified: | None

## Page 7
Sample name:
Data file: | 2024-11-20 17-18-25-05-00-05.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 17:19:14-05:00
Inj. volume: | 1.000 |  |  |  |  | Location: |  | P1-A9
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.829 | 4.3484 |  | 1.3436 |  | 100
|  | Sum | 4.3484

## Page 8
Sample name:
Data file: | 2024-11-20 17-24-17-05-00-06.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 17:24:59-05:00
Inj. volume: | 1.000 |  |  |  |  | Location: |  | P1-A9
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.846 | 22.7029 |  | 6.954 |  | 100
|  | Sum | 22.7029

## Page 9
Sample name:
Data file: | 2024-11-20 17-30-03-05-00-07.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 17:30:46-05:00
Inj. volume: | 1.000 |  |  |  |  | Location: |  | P1-A9
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.831 | 32.1047 |  | 9.6574 |  | 100
|  | Sum | 32.1047

## Page 10
Sample name:
Data file: | 2024-11-20 17-35-49-05-00-08.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 17:36:34-05:00
Inj. volume: | 5.000 |  |  |  |  | Location: |  | P1-A9
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.823 | 253.2737 |  | 89.0376 |  | 100
|  | Sum | 253.2737

## Page 11
Sample name:
Data file: | 2024-11-20 17-41-36-05-00-09.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 17:42:20-05:00
Inj. volume: | 1.000 |  |  |  |  | Location: |  | P1-A9
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.823 | 50.5797 |  | 15.4615 |  | 100
|  | Sum | 50.5797

## Page 12
Sample name: | Day3
Data file: | 2024-11-20 17-47-23-05-00-10.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 17:48:22-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-A1
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.822 | 417.9115 |  | 79.1336 |  | 100
|  | Sum | 417.9115

## Page 13
Sample name: | Day3
Data file: | 2024-11-20 17-53-25-05-00-11.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 17:54:38-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-A2
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.835 | 306.0223 |  | 56.8123 |  | 100
|  | Sum | 306.0223

## Page 14
Sample name: | Day3
Data file: | 2024-11-20 17-59-42-05-00-12.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 18:00:55-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-A3
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.814 | 1105.8435 |  | 265.6147 |  | 100
|  | Sum | 1105.8435

## Page 15
Sample name: | Day3
Data file: | 2024-11-20 18-05-58-05-00-13.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 18:07:12-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-A4
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.824 | 557.2976 |  | 140.4308 |  | 100
|  | Sum | 557.2976

## Page 16
Sample name: | Day3
Data file: | 2024-11-20 18-12-16-05-00-14.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 18:13:30-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-A5
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.823 | 572.6422 |  | 96.0491 |  | 100
|  | Sum | 572.6422

## Page 17
Sample name: | Day3
Data file: | 2024-11-20 18-18-33-05-00-15.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 18:19:46-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-A6
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.815 | 960.4689 |  | 212.1612 |  | 100
|  | Sum | 960.4689

## Page 18
Sample name: | Day3
Data file: | 2024-11-20 18-24-48-05-00-16.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 18:26:02-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-A7
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.818 | 395.2007 |  | 64.7373 |  | 100
|  | Sum | 395.2007

## Page 19
Sample name: | Day3
Data file: | 2024-11-20 18-31-05-05-00-17.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 18:32:18-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-A8
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.817 | 280.0085 |  | 48.0913 |  | 100
|  | Sum | 280.0085

## Page 20
Sample name: | Day3
Data file: | 2024-11-20 18-37-21-05-00-18.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 18:38:35-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-A9
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.824 | 1023.1531 |  | 243.9083 |  | 100
|  | Sum | 1023.1531

## Page 21
Sample name: | Day3
Data file: | 2024-11-20 18-43-38-05-00-19.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 18:44:49-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-A10
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.827 | 532.6455 |  | 131.5291 |  | 100
|  | Sum | 532.6455

## Page 22
Sample name: | Day3
Data file: | 2024-11-20 18-49-52-05-00-20.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 18:51:04-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-A11
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.824 | 964.2783 |  | 202.108 |  | 100
|  | Sum | 964.2783

## Page 23
Sample name: | Day3
Data file: | 2024-11-20 18-56-08-05-00-21.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 18:57:19-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-A12
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.814 | 960.7353 |  | 216.9903 |  | 100
|  | Sum | 960.7353

## Page 24
Sample name: | Day3
Data file: | 2024-11-20 19-02-22-05-00-22.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 19:03:37-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-B1
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.823 | 331.6819 |  | 43.6765 |  | 100
|  | Sum | 331.6819

## Page 25
Sample name: | Day3
Data file: | 2024-11-20 19-08-39-05-00-23.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 19:09:54-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-B2
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.822 | 128.3452 |  | 16.8965 |  | 100
|  | Sum | 128.3452

## Page 26
Sample name: | Day3
Data file: | 2024-11-20 19-14-57-05-00-24.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 19:16:10-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-B3
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.805 | 961.1274 |  | 209.5461 |  | 100
|  | Sum | 961.1274

## Page 27
Sample name: | Day3
Data file: | 2024-11-20 19-21-14-05-00-25.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 19:22:28-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-B4
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.81 | 898.1488 |  | 204.5943 |  | 100
|  | Sum | 898.1488

## Page 28
Sample name: | Day3
Data file: | 2024-11-20 19-27-30-05-00-26.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 19:28:44-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-B5
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.89 | 305.177 |  | 40.4089 |  | 100
|  | Sum | 305.177

## Page 29
Sample name: | Day3
Data file: | 2024-11-20 19-33-47-05-00-27.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 19:35:01-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-B6
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.815 | 746.6222 |  | 137.8277 |  | 100
|  | Sum | 746.6222

## Page 30
Sample name: | Day3
Data file: | 2024-11-20 19-40-03-05-00-28.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 19:41:17-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-B7
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.825 | 320.9044 |  | 41.4522 |  | 100
|  | Sum | 320.9044

## Page 31
Sample name: | Day3
Data file: | 2024-11-20 19-46-20-05-00-29.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 19:47:34-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-B8
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.821 | 128.6538 |  | 17.0303 |  | 100
|  | Sum | 128.6538

## Page 32
Sample name: | Day3
Data file: | 2024-11-20 19-52-37-05-00-30.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 19:53:50-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-B9
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.826 | 931.4789 |  | 199.2989 |  | 100
|  | Sum | 931.4789

## Page 33
Sample name: | Day3
Data file: | 2024-11-20 19-58-53-05-00-31.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 20:00:07-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-B10
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.814 | 873.2641 |  | 197.477 |  | 100
|  | Sum | 873.2641

## Page 34
Sample name: | Day3
Data file: | 2024-11-20 20-05-10-05-00-32.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 20:06:22-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-B11
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.813 | 420.274 |  | 56.2013 |  | 100
|  | Sum | 420.274

## Page 35
Sample name: | Day3
Data file: | 2024-11-20 20-11-25-05-00-33.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 20:12:36-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-B12
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.819 | 812.5039 |  | 152.7653 |  | 100
|  | Sum | 812.5039

## Page 36
Sample name: | P4-1
Data file: | 2024-11-20 20-17-39-05-00-34.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 20:18:53-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P1-D1
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.814 | 388.1358 |  | 52.496 |  | 100
|  | Sum | 388.1358

## Page 37
Sample name: | P4-2
Data file: | 2024-11-20 20-23-55-05-00-35.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 20:25:08-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P1-D2
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.829 | 140.1108 |  | 18.0137 |  | 100
|  | Sum | 140.1108

## Page 38
Sample name: | P4-3
Data file: | 2024-11-20 20-30-11-05-00-36.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 20:31:25-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P1-D3
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.809 | 1030.7178 |  | 222.1468 |  | 100
|  | Sum | 1030.7178

## Page 39
Sample name: | P4-4
Data file: | 2024-11-20 20-36-28-05-00-37.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-20 20:37:41-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P1-D4
Acq. method: | ProA_mAb_Supernatant.amx |  |  |  |  | Type: |  | Sample
Processing method: | MAb_Supernatant_ProA.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1B,Sig=280.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 2.818 | 965.2973 |  | 217.1939 |  | 100
|  | Sum | 965.2973

## Page 41
Method Summary
Processing method: | [7 empty] | MAb_Supernatant_ProA.pmx
| Method version: | [5 empty] | 2020-0114-0050-05595
| Line# |  | Location |  | Sample Name |  |  |  |  | Injection modified |  |  | Acq. Method |  |  | ACQ Method Version
| 1 |  | P1-A1 | [6 empty] | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 2 |  | P1-A1 | [6 empty] | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 3 |  | P1-A1 | [6 empty] | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 4 |  | P1-A1 | [6 empty] | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 5 |  | P1-A9 | [6 empty] | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 6 |  | P1-A9 | [6 empty] | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 7 |  | P1-A9 | [6 empty] | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 8 |  | P1-A9 | [6 empty] | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 9 |  | P1-A9 | [6 empty] | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 10 |  | P2-A1 |  | Day3 |  |  |  |  | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 11 |  | P2-A2 |  | Day3 |  |  |  |  | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 12 |  | P2-A3 |  | Day3 |  |  |  |  | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 13 |  | P2-A4 |  | Day3 |  |  |  |  | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 14 |  | P2-A5 |  | Day3 |  |  |  |  | 2024-11-20 23:52:50- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 15 |  | P2-A6 |  | Day3 |  |  |  |  | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 16 |  | P2-A7 |  | Day3 |  |  |  |  | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 17 |  | P2-A8 |  | Day3 |  |  |  |  | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 18 |  | P2-A9 |  | Day3 |  |  |  |  | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 19 |  | P2-A10 |  | Day3 |  |  |  |  | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 20 |  | P2-A11 |  | Day3 |  |  |  |  | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 21 |  | P2-A12 |  | Day3 |  |  |  |  | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 22 |  | P2-B1 |  | Day3 |  |  |  |  | 2024-11-20 23:55:30- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 23 |  | P2-B2 |  | Day3 |  |  |  |  | 2024-11-20 23:55:33- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 24 |  | P2-B3 |  | Day3 |  |  |  |  | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 25 |  | P2-B4 |  | Day3 |  |  |  |  | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 26 |  | P2-B5 |  | Day3 |  |  |  |  | 2024-11-20 23:55:14- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 27 |  | P2-B6 |  | Day3 |  |  |  |  | 2024-11-20 23:55:40- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 28 |  | P2-B7 |  | Day3 |  |  |  |  | 2024-11-20 23:55:44- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 29 |  | P2-B8 |  | Day3 |  |  |  |  | 2024-11-20 23:55:50- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 30 |  | P2-B9 |  | Day3 |  |  |  |  | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 31 |  | P2-B10 |  | Day3 |  |  |  |  | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 32 |  | P2-B11 |  | Day3 |  |  |  |  | 2024-11-20 23:55:59- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 33 |  | P2-B12 |  | Day3 |  |  |  |  | 2024-11-20 23:56:03- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 34 |  | P1-D1 |  | P4-1 |  |  |  |  | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 35 |  | P1-D2 |  | P4-2 |  |  |  |  | 2024-11-20 23:56:10- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 36 |  | P1-D3 |  | P4-3 |  |  |  |  | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
| 37 |  | P1-D4 |  | P4-4 |  |  |  |  | 2024-11-20 23:52:19- 05:00 |  |  | ProA_mAb_Supernatan t.amx |  |  | 2023-0113-1716- 34587
Acquisition Method: | [7 empty] | ProA_mAb_Supernatant.amx
Path: | [7 empty] | C:\CDSProjects\Project01\Results\241120_ProA05_Day3_HerAStrainComp_FilterCheck.rslt
Method Information
|  | Last Saved As: |  |  |  | E:\CDSProjects\Project 01\Methods\ProA_mAb_Supernatant.a mx |  |  |  |  | Modified: |  |  | 2023-01-13 12:16:34-05:00
[11 empty] | Created: |  |  | 2019-12-20 15:25:06-05:00
|  | Modifier: |  |  |  | SYSTEM
[11 empty] | Description: |  |  | Protein A column for Monoclonal Antibody Titer determination based on calibration curve
|  | Creator: |  |  |  | SYSTEM
|  | Version: |  |  |  | 2023-0113-1716-34587 |  |  |  |  | Method Status: |  |  | Generic
DAD Method
|  | Peakwidth: |  |  |  | > 0.0031 min (0.063 s response time) (80 Hz) |  |  |  |  | UV Lamp Required: |  |  | Yes
|  | Module Display Name: |  |  |  | DAD |  |  |  |  | Module Type: |  |  | G4212B
|  | Order: |  |  |  | 1
Analog Output
|  | Analog Zero Offset: |  |  |  | 5 % |  |  |  |  | Analog Attenuation: |  |  | 1000 mAU
Signals
Signal table
|  | Row ID |  | Acquire |  |  |  |  | Signal |  |  | Wavelength (nm) |  |  | Bandwidth (nm)
|  | 1 |  | No |  |  |  |  | Signal A
|  | 2 |  | Yes |  |  |  |  | Signal B |  |  | 280.0 |  |  | 4.0
|  | 3 |  | No |  |  |  |  | Signal C
|  | 4 |  | No |  |  |  |  | Signal D
|  | 5 |  | No |  |  |  |  | Signal E
|  | 6 |  | No |  |  |  |  | Signal F
|  | 7 |  | No |  |  |  |  | Signal G
|  | 8 |  | No |  |  |  |  | Signal H
|  | Row ID |  | Use Ref. |  |  |  |  | Ref Wavel. (nm) |  |  | Ref Bandw. (nm)
1
|  | 2 |  | Yes |  |  |  |  | 360.0 |  |  | 100.0
3
4
5
6
7
8
Prepare Mode
|  | Margin for negative Absorbance: |  |  |  | 100 mAU
Autobalance
|  | Autobalance Prerun: |  |  |  | Yes |  |  |  |  | Autobalance Postrun: |  |  | No
Spectrum
|  | Spectrum Store: |  |  |  | None
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/Injector
Posttime
|  | Posttime Mode: |  |  |  | Off
Column Comp. Method
|  | Valve Position: |  |  |  | Position 3 (Port 3 -> 3') |  |  |  |  | Position Switch After Run: |  |  | Do not switch
|  | Module Display Name: |  |  |  | Column Comp. |  |  |  |  | Module Type: |  |  | G7116A
|  | Order: |  |  |  | 1
Left Temperature Control
|  | Temperature Control Mode: |  |  |  | Temperature Set |  |  |  |  | Temperature: |  |  | 25.0 °C
Enable Analysis Left Temperature
|  | Enable Analysis Left Temperature On: |  |  |  | Yes |  |  |  |  | Enable Analysis Left Temperature Value: |  |  | 0.8 °C
|  | Left Temp. Equilibration Time: |  |  |  | 0.0 min
Right Temperature Control
|  | Right temperature Control Mode: |  |  |  | Not Controlled
Enable Analysis Right Temperature
|  | Enable Analysis Right Temperature On: |  |  |  | Yes |  |  |  |  | Enable Analysis Right Temperature Value: |  |  | 0.8 °C
|  | Right Temp. Equilibration Time: |  |  |  | 0.0 min
Enforce column for run
|  | Enforce column for run enabled: |  |  |  | No
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/Injector
Posttime
|  | Posttime Mode: |  |  |  | Off
Quat. Pump Method
|  | Flow: |  |  |  | 1.000 mL/min |  |  |  |  | Low Pressure Limit: |  |  | 0.00 bar
|  | High Pressure Limit: |  |  |  | 300.00 bar |  |  |  |  | Maximum Flow Gradient: |  |  | 5.000 mL/min²
|  | Primary Channel: |  |  |  | Automatic |  |  |  |  | Module Display Name: |  |  | Quat. Pump
|  | Module Type: |  |  |  | G1311B |  |  |  |  | Order: |  |  | 1
Solvent Composition
|  | Row ID |  | Channel |  |  |  |  | Name 1 |  |  | Used |  |  | Percent (%)
|  | 1 |  | A |  |  |  |  | 100mM Citric Acid |  |  | Yes |  |  | 0.0
|  | 2 |  | B |  |  |  |  | 50mM Sodium Phosphate |  |  | Yes |  |  | 100.0
|  | 3 |  | C |  |  |  |  | 100mM Citric Acid |  |  | No
|  | 4 |  | D | [7 empty] | No
Timetable
|  | Row ID |  | Time (min) |  |  |  |  | A (%) |  |  | B (%) |  |  | C (%)
|  | 1 |  | 2.00 |  |  |  |  | 0.0 |  |  | 100.0 |  |  | 0.0
|  | 2 |  | 2.01 |  |  |  |  | 100.0 |  |  | 0.0 |  |  | 0.0
|  | 3 |  | 3.20 |  |  |  |  | 100.0 |  |  | 0.0 |  |  | 0.0
|  | 4 |  | 3.21 |  |  |  |  | 0.0 |  |  | 100.0 |  |  | 0.0
|  | 5 |  | 5.00 |  |  |  |  | 0.0 |  |  | 100.0 |  |  | 0.0
|  | Row ID |  | D (%) |  |  |  |  | Flow (mL/min) |  |  | Pressure (bar)
|  | 1 |  | 0.0 |  |  |  |  | 1.000 |  |  | 300.00
|  | 2 |  | 0.0 |  |  |  |  | 1.000 |  |  | 300.00
|  | 3 |  | 0.0 |  |  |  |  | 1.000 |  |  | 300.00
|  | 4 |  | 0.0 |  |  |  |  | 1.000 |  |  | 300.00
|  | 5 |  | 0.0 |  |  |  |  | 1.000 |  |  | 300.00
Stroke
|  | Automatic Stroke Calculation: |  |  |  | Yes
Compress
|  | Compressibility Mode: |  |  |  | Compressibility Value Set |  |  |  |  | Compressibility: |  |  | 100 10e-6/bar
Stoptime
|  | Stoptime Mode: |  |  |  | Time set |  |  |  |  | Stoptime: |  |  | 5.00 min
Posttime
|  | Posttime Mode: |  |  |  | Off
HiP Sampler Method
|  | Module Display Name: |  |  |  | HiP Sampler |  |  |  |  | Module Type: |  |  | G1367E
|  | Order: |  |  |  | 1
Auxiliary
|  | Draw Speed: |  |  |  | 200.0 µL/min |  |  |  |  | Eject Speed: |  |  | 200.0 µL/min
|  | Draw Position Offset: |  |  |  | 0.0 mm |  |  |  |  | Wait Time After Drawing: |  |  | 1.2 s
|  | Sample Flush Out Factor: |  |  |  | 5.0 |  |  |  |  | Vial/Well bottom sensing: |  |  | Yes
Injection
|  | Injection Mode: |  |  |  | Injection with needle wash |  |  |  |  | Injection Volume: |  |  | 100.00 µL
Needle Wash
|  | Needle Wash Location: |  |  |  | Flush Port |  |  |  |  | Wash Time: |  |  | 5.0 s
High throughput
|  | Automatic Delay Volume Reduction: |  |  |  | Yes
Overlapped Injection
|  | Enable Overlapped Injection: |  |  |  | No
Thermostat
|  | Not Ready Temperature Mode: |  |  |  | Enable Analysis With Any Temperature |  |  |  |  | Thermostat Control: |  |  | Thermostat Control Set Value
|  | Thermostat Temperature: |  |  |  | 4 °C
Valve Switching
|  | Valve Movements: |  |  |  | 0
Valve Switch Time 1
|  | Switch Time 1 Enabled: |  |  |  | No
Valve Switch Time 2
|  | Switch Time 2 Enabled: |  |  |  | No
Valve Switch Time 3
|  | Switch Time 3 Enabled: |  |  |  | No
Valve Switch Time 4
|  | Switch Time 4 Enabled: |  |  |  | No
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/No Limit
Posttime
|  | Posttime Mode: |  |  |  | Off
Method Properties
|  | Instrument Technique: |  |  |  | Liquid Chromatography
Schema version
|  | Schema version: |  |  |  | 2.3

## Page 42
Processing method:
| Data Analysis Method: |  |  |  | MAb_Supernatant_ProA.pmx
| Path: |  |  |  | C:\CDSProjects\Project01\Results\241120_ProA05_Day3_HerAStrainComp_FilterCheck.rslt
Method Information
|  | Last Saved As: |  | C:\CDSProjects\Project01\Results\2411 20_ProA05_Day3_HerAStrainComp_Fil terCheck.rslt\MAb_Supernatant_ProA. pmx |  |  | Modified: |  | 2020-01-13 19:50:05-05:00
[7 empty] | Created: |  | 2020-01-06 17:09:42-05:00
|  | Modifier: |  | SYSTEM |  |  | Description:
|  | Creator: |  | SYSTEM |  |  | Method Status: |  | Generic
|  | Version: |  | 2020-0114-0050-05595
|  | Type: |  | GC/LC Area Percent
Method Parameters
Signals
Blank Subtraction
|  | Blank subtraction: |  | Samples only (exclude cal. standards) |  |  | Used blank: |  | Defined in sequence
|  | Specific blank path: |  |  |  |  | Specific blank:
|  | Subtract blank if data rates are different: |  | No |  |  | Signal matching mode: |  | Perform blank subtraction if signal names match
Chromatogram Smoothing
|  | Smoothing algorithm: |  | None
ChemStation integrator
ChemStation integrator parameters
|  | Tangent skim mode: |  | Standard |  |  | Baseline correction: |  | Advanced
|  | Front peak skim height ratio: |  | 0.00 |  |  | Tail peak skim height ratio: |  | 0.00
|  | Skim valley ratio: |  | 20.00 |  |  | Peak to valley ratio: |  | 500.00
Initial timed events
|  | Row ID | Use |  |  | Time (min) |  | Event |  | Value
|  | 1 | Yes |  |  | 0.000 |  | Slope sensitivity |  | 1
|  | 2 | Yes |  |  | 0.000 |  | Peak width |  | 0.02
|  | 3 | Yes |  |  | 0.000 |  | Area reject |  | 1
|  | 4 | Yes |  |  | 0.000 |  | Height reject |  | 1
|  | 5 | Yes |  |  | 0.000 |  | Shoulders mode |  | Off
|  | 6 | Yes |  |  | 0.000 |  | Area% reject |  | 0
Timed events
|  | Row ID | Use |  |  | Time (min) |  | Event |  | Value
|  | 1 | Yes |  |  | 0.001 |  | Integration |  | Off
|  | 2 | Yes |  |  | 2.600 |  | Integration |  | On
|  | 3 | Yes |  |  | 3.200 |  | Integration |  | Off
Compound parameters
|  | Use time references: |  | No |  |  | Use relative retention time: |  | No
|  | Qualifier count: |  | 2 |  |  | Qualifier RT Window: |  | 0.010 min
|  | Qualifier response window: |  | 20.0 percent |  |  | Response Window Type: |  | Relative
System Suitability
|  | EP: |  | No |  |  | Column performance: |  | None
|  | JP: |  | No |  |  | USP: |  | No
|  | Signal to noise: |  | None |  |  | Noise calculation: |  | P2P
|  | Use blank reference for noise: |  | on blank |  |  | Calculate noise before or after peak: |  | before peak start
|  | Range mode for Noise Selection: |  | Automatic |  |  | Noise range end time: |  | 0.60
|  | Noise range start time: |  | 0.50 |  |  | Noise range relative end time: |  | 0.40
|  | Noise range relative start time: |  | 0.00 |  |  | Overwrite column parameters: |  | No
Custom calculations
|  | Last imported file: |  |  |  |  | Embedded file: |  | No
|  | Created by: |  |  |  |  | Creation date:
|  | Last modified by: |  |  |  |  | Last modified date:
|  | File version: |  |  |  |  | Custom calculations file: |  | MAb_Calibration.ccf
Reporting parameters
|  | From time: |  |  |  |  | To time:
|  | From response: |  |  |  |  | To response:
General reporting parameters
|  | Row ID | Report # |  |  | Report template |  | Report file name |  | Report for sample types
|  | 1 | 1 |  |  |  |  | <DX>_<R> |  | All sample types
|  | 2 | 2 |  |  |  |  | <DX>_<R> |  | All sample types
|  | Row ID | Do print |  |  | Do create file |  | Report selected signals
|  | 1 | No |  |  | No |  | All signals
|  | 2 | No |  |  | No |  | All signals