## Page 1
Sequence name: |  |  | 241108_RBDJ_rpmComp
Description:
Acquisition date: |  |  | 2024-11-08 18:48:27-05:00
Acquired by: |  |  | SYSTEM
Data path: |  |  | C:\CDSProjects\Project01\Results\241108_RBDJ_rpmComp.rslt
Sequence Integration
| Samp le Vial Numb er | Sample Name |  |  | RT | Area | % | Injection | mg/L
| P2-E1 | RBDJ - 950 rpm sHN24 |  |  | 5.537 | 10730.9656 | 100 | 50 | 131.1053
| P2-E2 | RBDJ - 950 rpm sHN25 |  |  | 5.543 | 9464.9965 | 100 | 50 | 115.6383
| P2-E3 | RBDJ - 950 rpm sHN26 |  |  | 5.542 | 11555.2794 | 100 | 50 | 141.1763
| P2-E4 | RBDJ - 950 rpm sHN27 |  |  | 5.547 | 12393.4586 | 100 | 50 | 151.4167
| P2-E5 | RBDJ - 950 rpm sHN28 |  |  | 5.545 | 11382.0801 | 100 | 50 | 139.0602
| P2-E6 | RBDJ - 950 rpm sHN29 |  |  | 5.552 | 8638.1249 | 100 | 50 | 105.536
| P2-E7 | RBDJ - 950 rpm sHN24 |  |  | 5.525 | 11376.5675 | 100 | 50 | 138.9929
| P2-E8 | RBDJ - 950 rpm sHN25 |  |  | 5.521 | 9832.3537 | 100 | 50 | 120.1265
| P2-E9 | RBDJ - 950 rpm sHN26 |  |  | 5.532 | 12348.8485 | 100 | 50 | 150.8717
| P2-E10 | RBDJ - 950 rpm sHN27 |  |  | 5.531 | 12397.8851 | 100 | 50 | 151.4708
| P2-E11 | RBDJ - 950 rpm sHN28 |  |  | 5.55 | 11744.2588 | 100 | 50 | 143.4851
| P2-E12 | RBDJ - 950 rpm sHN29 |  |  | 5.527 | 9000.7439 | 100 | 50 | 109.9663
| P2-F1 | RBDJ - 950 rpm sHN24 |  |  | 5.548 | 11274.2452 | 100 | 50 | 137.7428
| P2-F2 | RBDJ - 950 rpm sHN25 |  |  | 5.549 | 9898.7366 | 100 | 50 | 120.9375
| P2-F3 | RBDJ - 950 rpm sHN26 |  |  | 5.533 | 11962.9241 | 100 | 50 | 146.1567
| P2-F4 | RBDJ - 950 rpm sHN27 |  |  | 5.541 | 12920.8223 | 100 | 50 | 157.8598
| P2-F5 | RBDJ - 950 rpm sHN28 |  |  | 5.549 | 11403.4325 | 100 | 50 | 139.3211
| P2-F6 | RBDJ - 950 rpm sHN29 |  |  | 5.541 | 9142.4327 | 100 | 50 | 111.6974
| P2-F7 | RBDJ - 950 rpm sHN30 |  |  | 5.518 | 5803.7624 | 100 | 50 | 70.9073
| P2-F8 | RBDJ - 950 rpm sHN30 |  |  | 5.564 | 5059.7615 | 100 | 50 | 61.8175
| P2-F9 | RBDJ - 950 rpm sHN30 |  |  | 5.558 | 5931.1901 | 100 | 50 | 72.4641
| P2-F10 | RBDJ - 950 rpm sHN31 |  |  | 5.536 | 12692.8476 | 100 | 50 | 155.0745
| P2-F11 | RBDJ - 950 rpm sHN31 |  |  | 5.562 | 12317.6775 | 100 | 50 | 150.4909
| P2-F12 | RBDJ - 950 rpm sHN31 |  |  | 5.548 | 12015.176 | 100 | 50 | 146.7951
| P2-C1 | RBDJ - 600 rpm sHN24 |  |  | 5.565 | 7939.6129 | 100 | 50 | 97.002
| P2-C2 | RBDJ - 600 rpm sHN25 |  |  | 5.519 | 7764.5896 | 100 | 50 | 94.8636
| P2-C3 | RBDJ - 600 rpm sHN26 |  |  | 5.551 | 8064.1647 | 100 | 50 | 98.5237
| P2-C4 | RBDJ - 600 rpm sHN27 |  |  | 5.528 | 8761.633 | 100 | 50 | 107.045
| P2-C5 | RBDJ - 600 rpm sHN28 |  |  | 5.547 | 6737.1355 | 100 | 50 | 82.3108
| P2-C6 | RBDJ - 600 rpm sHN29 |  |  | 5.568 | 7223.3537 | 100 | 50 | 88.2511
| P2-C7 | RBDJ - 600 rpm sHN24 |  |  | 5.498 | 8378.1151 | 100 | 50 | 102.3594
| P2-C8 | RBDJ - 600 rpm sHN25 |  |  | 5.536 | 7560.2338 | 100 | 50 | 92.3669
| P2-C9 | RBDJ - 600 rpm sHN26 |  |  | 5.502 | 7866.3243 | 100 | 50 | 96.1066
| P2-C10 | RBDJ - 600 rpm sHN27 |  |  | 5.515 | 8565.4696 | 100 | 50 | 104.6484
| P2-C11 | RBDJ - 600 rpm sHN28 |  |  | 5.502 | 7242.4732 | 100 | 50 | 88.4847
| P2-C12 | RBDJ - 600 rpm sHN29 |  |  | 5.517 | 6552.7471 | 100 | 50 | 80.058
| P2-D1 | RBDJ - 600 rpm sHN24 |  |  | 5.543 | 7644.2499 | 100 | 50 | 93.3934
| P2-D2 | RBDJ - 600 rpm sHN25 |  |  | 5.552 | 7743.8054 | 100 | 50 | 94.6097
| P2-D3 | RBDJ - 600 rpm sHN26 |  |  | 5.575 | 7869.2432 | 100 | 50 | 96.1423
| P2-D4 | RBDJ - 600 rpm sHN27 |  |  | 5.478 | 8202.1888 | 100 | 50 | 100.21
| P2-D5 | RBDJ - 600 rpm sHN28 |  |  | 5.479 | 5064.2005 | 100 | 50 | 61.8717
| P2-D6 | RBDJ - 600 rpm sHN29 |  |  | 5.451 | 6834.9819 | 100 | 50 | 83.5062
| P2-D7 | RBDJ - 600 rpm sHN30 |  |  | 5.46 | 5482.8481 | 100 | 50 | 66.9865
| P2-D8 | RBDJ - 600 rpm sHN30 |  |  | 5.453 | 3974.7663 | 100 | 50 | 48.5616
| P2-D9 | RBDJ - 600 rpm sHN30 |  |  | 5.537 | 5583.5273 | 100 | 50 | 68.2166
| P2-D10 | RBDJ - 600 rpm sHN31 |  |  | 5.565 | 8486.707 | 100 | 50 | 103.6861
| P2-D11 | RBDJ - 600 rpm sHN31 |  |  | 5.445 | 7611.8555 | 100 | 50 | 92.9976
| P2-D12 | RBDJ - 600 rpm sHN31 |  |  | 5.461 | 8251.7863 | 100 | 50 | 100.816

## Page 2
Sequence Table: |  |  |  | Bracketing Mode: |  | None
Seq. Line: |  | 1
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 03-50-25-05-00-01.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 2
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 04-08-43-05-00-02.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 3
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 04-27-00-05-00-03.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 4
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 04-46-33-05-00-04.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 5
| Location: |  | P2-E1 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 05-06-07-05-00-05.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 6
| Location: |  | P2-E2 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 05-25-41-05-00-06.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 7
| Location: |  | P2-E3 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 05-45-15-05-00-07.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 8
| Location: |  | P2-E4 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 06-04-49-05-00-08.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 9
| Location: |  | P2-E5 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 06-24-23-05-00-09.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 10
| Location: |  | P2-E6 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 06-43-57-05-00-10.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 11
| Location: |  | P2-E7 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 07-03-31-05-00-11.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 12
| Location: |  | P2-E8 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 07-23-08-05-00-12.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 13
| Location: |  | P2-E9 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 07-42-42-05-00-13.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 14
| Location: |  | P2-E10 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 08-02-18-05-00-14.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 15
| Location: |  | P2-E11 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 08-21-52-05-00-15.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 16
| Location: |  | P2-E12 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 08-41-29-05-00-16.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 17
| Location: |  | P2-F1 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 09-01-05-05-00-17.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 18
| Location: |  | P2-F2 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 09-20-39-05-00-18.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 19
| Location: |  | P2-F3 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 09-40-13-05-00-19.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 20
| Location: |  | P2-F4 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 09-59-48-05-00-20.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 21
| Location: |  | P2-F5 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 10-19-22-05-00-21.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 22
| Location: |  | P2-F6 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 10-38-57-05-00-22.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 23
| Location: |  | P2-F7 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 10-58-32-05-00-23.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 24
| Location: |  | P2-F8 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 11-18-06-05-00-24.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 25
| Location: |  | P2-F9 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 11-37-40-05-00-25.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 26
| Location: |  | P2-F10 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 11-57-14-05-00-26.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 27
| Location: |  | P2-F11 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 12-16-49-05-00-27.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 28
| Location: |  | P2-F12 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 12-36-24-05-00-28.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 29
| Location: |  | P2-C1 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 12-55-57-05-00-29.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 30
| Location: |  | P2-C2 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 13-15-31-05-00-30.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 31
| Location: |  | P2-C3 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 13-35-06-05-00-31.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 32
| Location: |  | P2-C4 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 13-54-40-05-00-32.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 33
| Location: |  | P2-C5 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 14-14-14-05-00-33.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 34
| Location: |  | P2-C6 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 14-33-51-05-00-34.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 35
| Location: |  | P2-C7 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 14-53-25-05-00-35.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 36
| Location: |  | P2-C8 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 15-13-00-05-00-36.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 37
| Location: |  | P2-C9 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 15-32-35-05-00-37.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 38
| Location: |  | P2-C10 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 15-52-11-05-00-38.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 39
| Location: |  | P2-C11 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 16-11-45-05-00-39.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 40
| Location: |  | P2-C12 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 16-31-21-05-00-40.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 41
| Location: |  | P2-D1 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 16-50-54-05-00-41.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 42
| Location: |  | P2-D2 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 17-10-29-05-00-42.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 43
| Location: |  | P2-D3 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 17-30-05-05-00-43.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 44
| Location: |  | P2-D4 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 17-49-41-05-00-44.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 45
| Location: |  | P2-D5 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 18-09-13-05-00-45.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 46
| Location: |  | P2-D6 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 18-28-47-05-00-46.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 47
| Location: |  | P2-D7 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 18-48-22-05-00-47.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 48
| Location: |  | P2-D8 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 19-07-57-05-00-48.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 49
| Location: |  | P2-D9 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 19-27-31-05-00-49.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 50
| Location: |  | P2-D10 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 19-47-06-05-00-50.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 51
| Location: |  | P2-D11 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 20-06-41-05-00-51.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 52
| Location: |  | P2-D12 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-09 20-26-16-05-00-52.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1

## Page 3
Sample name: | blank
Data file: | 2024-11-09 03-50-25-05-00-01.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-11-09 03:50:40-05:00
Inj. volume: | 0.000 | Location: | P1-A1
Acq. method: | SRA_RP_CoV_8_18Min.amx | Type: | Blank
Processing method: | RP_PLRPS_CoV_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 4
Sample name: | blank
Data file: | 2024-11-09 04-08-43-05-00-02.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-11-09 04:08:57-05:00
Inj. volume: | 0.000 | Location: | P1-A1
Acq. method: | SRA_RP_CoV_8_18Min.amx | Type: | Blank
Processing method: | RP_PLRPS_CoV_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 5
Sample name: | blank
Data file: | 2024-11-09 04-27-00-05-00-03.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-11-09 04:28:28-05:00
Inj. volume: | 50.000 | Location: | P1-A1
Acq. method: | SRA_RP_CoV_8_18Min.amx | Type: | Blank
Processing method: | RP_PLRPS_CoV_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 6
Sample name: | blank
Data file: | 2024-11-09 04-46-33-05-00-04.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-11-09 04:48:03-05:00
Inj. volume: | 50.000 | Location: | P1-A1
Acq. method: | SRA_RP_CoV_8_18Min.amx | Type: | Blank
Processing method: | RP_PLRPS_CoV_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 7
Sample name: | RBDJ
Data file: | 2024-11-09 05-06-07-05-00-05.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 05:07:37-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-E1
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.537 | 10730.9656 |  | 614.4092 |  | 100
|  | Sum | 10730.9656

## Page 8
Sample name: | RBDJ
Data file: | 2024-11-09 05-25-41-05-00-06.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 05:27:11-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-E2
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.543 | 9464.9965 |  | 565.9452 |  | 100
|  | Sum | 9464.9965

## Page 9
Sample name: | RBDJ
Data file: | 2024-11-09 05-45-15-05-00-07.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 05:46:46-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-E3
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.542 | 11555.2794 |  | 643.3905 |  | 100
|  | Sum | 11555.2794

## Page 10
Sample name: | RBDJ
Data file: | 2024-11-09 06-04-49-05-00-08.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 06:06:19-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-E4
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.547 | 12393.4586 |  | 702.2435 |  | 100
|  | Sum | 12393.4586

## Page 11
Sample name: | RBDJ
Data file: | 2024-11-09 06-24-23-05-00-09.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 06:25:53-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-E5
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.545 | 11382.0801 |  | 657.8421 |  | 100
|  | Sum | 11382.0801

## Page 12
Sample name: | RBDJ
Data file: | 2024-11-09 06-43-57-05-00-10.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 06:45:29-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-E6
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.552 | 8638.1249 |  | 488.5591 |  | 100
|  | Sum | 8638.1249

## Page 13
Sample name: | RBDJ
Data file: | 2024-11-09 07-03-31-05-00-11.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 07:05:04-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-E7
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.525 | 11376.5675 |  | 632.4369 |  | 100
|  | Sum | 11376.5675

## Page 14
Sample name: | RBDJ
Data file: | 2024-11-09 07-23-08-05-00-12.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 07:24:39-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-E8
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.521 | 9832.3537 |  | 564.304 |  | 100
|  | Sum | 9832.3537

## Page 15
Sample name: | RBDJ
Data file: | 2024-11-09 07-42-42-05-00-13.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 07:44:14-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-E9
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.532 | 12348.8485 |  | 702.3733 |  | 100
|  | Sum | 12348.8485

## Page 16
Sample name: | RBDJ
Data file: | 2024-11-09 08-02-18-05-00-14.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 08:03:49-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-E10
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.531 | 12397.8851 |  | 720.9257 |  | 100
|  | Sum | 12397.8851

## Page 17
Sample name: | RBDJ
Data file: | 2024-11-09 08-21-52-05-00-15.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 08:23:24-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-E11
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.55 | 11744.2588 |  | 696.8994 |  | 100
|  | Sum | 11744.2588

## Page 18
Sample name: | RBDJ
Data file: | 2024-11-09 08-41-29-05-00-16.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 08:43:01-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-E12
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.527 | 9000.7439 |  | 522.9103 |  | 100
|  | Sum | 9000.7439

## Page 19
Sample name: | RBDJ
Data file: | 2024-11-09 09-01-05-05-00-17.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 09:02:35-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F1
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.548 | 11274.2452 |  | 637.9942 |  | 100
|  | Sum | 11274.2452

## Page 20
Sample name: | RBDJ
Data file: | 2024-11-09 09-20-39-05-00-18.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 09:22:09-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F2
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.549 | 9898.7366 |  | 578.0267 |  | 100
|  | Sum | 9898.7366

## Page 21
Sample name: | RBDJ
Data file: | 2024-11-09 09-40-13-05-00-19.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 09:41:45-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F3
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.533 | 11962.9241 |  | 705.4871 |  | 100
|  | Sum | 11962.9241

## Page 22
Sample name: | RBDJ
Data file: | 2024-11-09 09-59-48-05-00-20.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 10:01:18-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F4
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.541 | 12920.8223 |  | 738.9747 |  | 100
|  | Sum | 12920.8223

## Page 23
Sample name: | RBDJ
Data file: | 2024-11-09 10-19-22-05-00-21.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 10:20:53-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F5
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.549 | 11403.4325 |  | 655.3465 |  | 100
|  | Sum | 11403.4325

## Page 24
Sample name: | RBDJ
Data file: | 2024-11-09 10-38-57-05-00-22.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 10:40:28-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F6
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.541 | 9142.4327 |  | 535.8093 |  | 100
|  | Sum | 9142.4327

## Page 25
Sample name: | RBDJ
Data file: | 2024-11-09 10-58-32-05-00-23.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 11:00:03-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F7
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.518 | 5803.7624 |  | 314.6654 |  | 100
|  | Sum | 5803.7624

## Page 26
Sample name: | RBDJ
Data file: | 2024-11-09 11-18-06-05-00-24.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 11:19:38-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F8
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.564 | 5059.7615 |  | 278.0091 |  | 100
|  | Sum | 5059.7615

## Page 27
Sample name: | RBDJ
Data file: | 2024-11-09 11-37-40-05-00-25.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 11:39:11-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F9
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.558 | 5931.1901 |  | 320.3159 |  | 100
|  | Sum | 5931.1901

## Page 28
Sample name: | RBDJ
Data file: | 2024-11-09 11-57-14-05-00-26.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 11:58:46-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F10
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.536 | 12692.8476 |  | 760.1369 |  | 100
|  | Sum | 12692.8476

## Page 29
Sample name: | RBDJ
Data file: | 2024-11-09 12-16-49-05-00-27.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 12:18:21-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F11
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.562 | 12317.6775 |  | 720.6765 |  | 100
|  | Sum | 12317.6775

## Page 30
Sample name: | RBDJ
Data file: | 2024-11-09 12-36-24-05-00-28.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 12:37:54-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-F12
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.548 | 12015.176 |  | 697.4943 |  | 100
|  | Sum | 12015.176

## Page 31
Sample name: | RBDJ
Data file: | 2024-11-09 12-55-57-05-00-29.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 12:57:28-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-C1
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.565 | 7939.6129 |  | 471.5354 |  | 100
|  | Sum | 7939.6129

## Page 32
Sample name: | RBDJ
Data file: | 2024-11-09 13-15-31-05-00-30.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 13:17:03-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-C2
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.519 | 7764.5896 |  | 449.1092 |  | 100
|  | Sum | 7764.5896

## Page 33
Sample name: | RBDJ
Data file: | 2024-11-09 13-35-06-05-00-31.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 13:36:37-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-C3
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.551 | 8064.1647 |  | 468.3939 |  | 100
|  | Sum | 8064.1647

## Page 34
Sample name: | RBDJ
Data file: | 2024-11-09 13-54-40-05-00-32.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 13:56:11-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-C4
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.528 | 8761.633 |  | 520.6051 |  | 100
|  | Sum | 8761.633

## Page 35
Sample name: | RBDJ
Data file: | 2024-11-09 14-14-14-05-00-33.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 14:15:47-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-C5
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.547 | 6737.1355 |  | 387.2613 |  | 100
|  | Sum | 6737.1355

## Page 36
Sample name: | RBDJ
Data file: | 2024-11-09 14-33-51-05-00-34.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 14:35:22-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-C6
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.568 | 7223.3537 |  | 442.5951 |  | 100
|  | Sum | 7223.3537

## Page 37
Sample name: | RBDJ
Data file: | 2024-11-09 14-53-25-05-00-35.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 14:54:57-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-C7
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.498 | 8378.1151 |  | 514.4652 |  | 100
|  | Sum | 8378.1151

## Page 38
Sample name: | RBDJ
Data file: | 2024-11-09 15-13-00-05-00-36.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 15:14:31-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-C8
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.536 | 7560.2338 |  | 423.9613 |  | 100
|  | Sum | 7560.2338

## Page 39
Sample name: | RBDJ
Data file: | 2024-11-09 15-32-35-05-00-37.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 15:34:06-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-C9
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.502 | 7866.3243 |  | 455.3648 |  | 100
|  | Sum | 7866.3243

## Page 40
Sample name: | RBDJ
Data file: | 2024-11-09 15-52-11-05-00-38.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 15:53:42-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-C10
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.515 | 8565.4696 |  | 497.4272 |  | 100
|  | Sum | 8565.4696

## Page 41
Sample name: | RBDJ
Data file: | 2024-11-09 16-11-45-05-00-39.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 16:13:17-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-C11
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.502 | 7242.4732 |  | 416.3514 |  | 100
|  | Sum | 7242.4732

## Page 42
Sample name: | RBDJ
Data file: | 2024-11-09 16-31-21-05-00-40.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 16:32:50-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-C12
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.517 | 6552.7471 |  | 361.741 |  | 100
|  | Sum | 6552.7471

## Page 43
Sample name: | RBDJ
Data file: | 2024-11-09 16-50-54-05-00-41.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 16:52:26-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-D1
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.543 | 7644.2499 |  | 436.5879 |  | 100
|  | Sum | 7644.2499

## Page 44
Sample name: | RBDJ
Data file: | 2024-11-09 17-10-29-05-00-42.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 17:12:01-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-D2
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.552 | 7743.8054 |  | 434.7649 |  | 100
|  | Sum | 7743.8054

## Page 45
Sample name: | RBDJ
Data file: | 2024-11-09 17-30-05-05-00-43.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 17:31:38-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-D3
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.575 | 7869.2432 |  | 461.3225 |  | 100
|  | Sum | 7869.2432

## Page 46
Sample name: | RBDJ
Data file: | 2024-11-09 17-49-41-05-00-44.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 17:51:11-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-D4
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.478 | 8202.1888 |  | 491.5381 |  | 100
|  | Sum | 8202.1888

## Page 47
Sample name: | RBDJ
Data file: | 2024-11-09 18-09-13-05-00-45.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 18:10:43-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-D5
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.479 | 5064.2005 |  | 310.4124 |  | 100
|  | Sum | 5064.2005

## Page 48
Sample name: | RBDJ
Data file: | 2024-11-09 18-28-47-05-00-46.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 18:30:18-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-D6
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.451 | 6834.9819 |  | 445.3554 |  | 100
|  | Sum | 6834.9819

## Page 49
Sample name: | RBDJ
Data file: | 2024-11-09 18-48-22-05-00-47.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 18:49:54-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-D7
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.46 | 5482.8481 |  | 354.8435 |  | 100
|  | Sum | 5482.8481

## Page 50
Sample name: | RBDJ
Data file: | 2024-11-09 19-07-57-05-00-48.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 19:09:28-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-D8
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.453 | 3974.7663 |  | 225.2259 |  | 100
|  | Sum | 3974.7663

## Page 51
Sample name: | RBDJ
Data file: | 2024-11-09 19-27-31-05-00-49.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 19:29:02-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-D9
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.537 | 5583.5273 |  | 352.0305 |  | 100
|  | Sum | 5583.5273

## Page 52
Sample name: | RBDJ
Data file: | 2024-11-09 19-47-06-05-00-50.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 19:48:37-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-D10
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.565 | 8486.707 |  | 492.2476 |  | 100
|  | Sum | 8486.707

## Page 53
Sample name: | RBDJ
Data file: | 2024-11-09 20-06-41-05-00-51.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 20:08:13-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-D11
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.445 | 7611.8555 |  | 460.6888 |  | 100
|  | Sum | 7611.8555

## Page 54
Sample name: | RBDJ
Data file: | 2024-11-09 20-26-16-05-00-52.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-09 20:27:46-05:00
Inj. volume: | 50.000 |  |  |  |  | Location: |  | P2-D12
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.461 | 8251.7863 |  | 508.0006 |  | 100
|  | Sum | 8251.7863

## Page 56
Method Summary
Processing method: | [7 empty] | RP_PLRPS_CoV_18min.pmx
| Method version: | [5 empty] | 2024-0624-1713-24665
| Line# |  | Location |  | Sample Name |  |  |  |  | Injection modified |  |  | Acq. Method |  |  | ACQ Method Version
| 1 |  | P1-A1 |  | blank |  |  |  |  | 2024-11-09 04:09:03- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 2 |  | P1-A1 |  | blank |  |  |  |  | 2024-11-09 04:27:02- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 3 |  | P1-A1 |  | blank |  |  |  |  | 2024-11-09 04:46:36- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 4 |  | P1-A1 |  | blank |  |  |  |  | 2024-11-09 05:06:10- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 5 |  | P2-E1 |  | RBDJ |  |  |  |  | 2024-11-09 05:25:44- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 6 |  | P2-E2 |  | RBDJ |  |  |  |  | 2024-11-09 05:45:19- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 7 |  | P2-E3 |  | RBDJ |  |  |  |  | 2024-11-09 11:35:49- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 8 |  | P2-E4 |  | RBDJ |  |  |  |  | 2024-11-09 11:35:45- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 9 |  | P2-E5 |  | RBDJ |  |  |  |  | 2024-11-09 11:35:39- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 10 |  | P2-E6 |  | RBDJ |  |  |  |  | 2024-11-09 07:03:36- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 11 |  | P2-E7 |  | RBDJ |  |  |  |  | 2024-11-09 11:35:35- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 12 |  | P2-E8 |  | RBDJ |  |  |  |  | 2024-11-09 11:35:30- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 13 |  | P2-E9 |  | RBDJ |  |  |  |  | 2024-11-09 11:35:23- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 14 |  | P2-E10 |  | RBDJ |  |  |  |  | 2024-11-09 11:35:19- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 15 |  | P2-E11 |  | RBDJ |  |  |  |  | 2024-11-09 11:35:13- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 16 |  | P2-E12 |  | RBDJ |  |  |  |  | 2024-11-09 11:35:08- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 17 |  | P2-F1 |  | RBDJ |  |  |  |  | 2024-11-09 11:35:00- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 18 |  | P2-F2 |  | RBDJ |  |  |  |  | 2024-11-09 11:36:07- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 19 |  | P2-F3 |  | RBDJ |  |  |  |  | 2024-11-09 11:36:15- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 20 |  | P2-F4 |  | RBDJ |  |  |  |  | 2024-11-09 11:36:25- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 21 |  | P2-F5 |  | RBDJ |  |  |  |  | 2024-11-09 11:36:31- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 22 |  | P2-F6 |  | RBDJ |  |  |  |  | 2024-11-09 11:36:42- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 23 |  | P2-F7 |  | RBDJ |  |  |  |  | 2024-11-09 11:18:11- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 24 |  | P2-F8 |  | RBDJ |  |  |  |  | 2024-11-09 11:37:44- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 25 |  | P2-F9 |  | RBDJ |  |  |  |  | 2024-11-09 17:36:05- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 26 |  | P2-F10 |  | RBDJ |  |  |  |  | 2024-11-09 17:36:22- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 27 |  | P2-F11 |  | RBDJ |  |  |  |  | 2024-11-09 17:36:29- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 28 |  | P2-F12 |  | RBDJ |  |  |  |  | 2024-11-09 17:36:34- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 29 |  | P2-C1 |  | RBDJ |  |  |  |  | 2024-11-09 13:15:35- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 30 |  | P2-C2 |  | RBDJ |  |  |  |  | 2024-11-09 17:36:46- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 31 |  | P2-C3 |  | RBDJ |  |  |  |  | 2024-11-09 17:36:55- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 32 |  | P2-C4 |  | RBDJ |  |  |  |  | 2024-11-09 17:37:01- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 33 |  | P2-C5 |  | RBDJ |  |  |  |  | 2024-11-09 17:37:07- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 34 |  | P2-C6 |  | RBDJ |  |  |  |  | 2024-11-09 17:37:14- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 35 |  | P2-C7 |  | RBDJ |  |  |  |  | 2024-11-09 17:37:20- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 36 |  | P2-C8 |  | RBDJ |  |  |  |  | 2024-11-09 17:37:26- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 37 |  | P2-C9 |  | RBDJ |  |  |  |  | 2024-11-09 17:37:31- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 38 |  | P2-C10 |  | RBDJ |  |  |  |  | 2024-11-09 17:37:38- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 39 |  | P2-C11 |  | RBDJ |  |  |  |  | 2024-11-09 17:37:42- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 40 |  | P2-C12 |  | RBDJ |  |  |  |  | 2024-11-09 17:37:48- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 41 |  | P2-D1 |  | RBDJ |  |  |  |  | 2024-11-10 23:41:36- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 42 |  | P2-D2 |  | RBDJ |  |  |  |  | 2024-11-09 17:38:02- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 43 |  | P2-D3 |  | RBDJ |  |  |  |  | 2024-11-10 23:41:45- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 44 |  | P2-D4 |  | RBDJ |  |  |  |  | 2024-11-10 23:41:49- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 45 |  | P2-D5 |  | RBDJ |  |  |  |  | 2024-11-10 23:41:56- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 46 |  | P2-D6 |  | RBDJ |  |  |  |  | 2024-11-09 18:48:26- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 47 |  | P2-D7 |  | RBDJ |  |  |  |  | 2024-11-09 19:08:03- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 48 |  | P2-D8 |  | RBDJ |  |  |  |  | 2024-11-09 19:27:35- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 49 |  | P2-D9 |  | RBDJ |  |  |  |  | 2024-11-09 19:47:11- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 50 |  | P2-D10 |  | RBDJ |  |  |  |  | 2024-11-10 23:43:18- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 51 |  | P2-D11 |  | RBDJ |  |  |  |  | 2024-11-10 23:43:27- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 52 |  | P2-D12 |  | RBDJ |  |  |  |  | 2024-11-10 23:43:31- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
Acquisition Method: | [7 empty] | SRA_RP_CoV_8_18Min.amx
Path: | [7 empty] | C:\CDSProjects\Project01\Results\241108_RBDJ_rpmComp.rslt
Method Information
|  | Last Saved As: |  |  |  | C:\CDSProjects\Project01\Methods\SR A_RP_CoV_8_18Min.amx |  |  |  |  | Modified: |  |  | 2023-10-18 13:39:26-04:00
|  | Modifier: |  |  |  | SYSTEM |  |  |  |  | Created: |  |  | 2020-04-22 12:44:45-04:00
|  | Creator: |  |  |  | SYSTEM |  |  |  |  | Description:
|  | Version: |  |  |  | 2023-1018-1739-26503 |  |  |  |  | Method Status: |  |  | Generic
DAD Method
|  | Peakwidth: |  |  |  | > 0.0031 min (0.063 s response time) (80 Hz) |  |  |  |  | UV Lamp Required: |  |  | Yes
|  | Module Display Name: |  |  |  | DAD |  |  |  |  | Module Type: |  |  | G4212B
|  | Order: |  |  |  | 1
Analog Output
|  | Analog Zero Offset: |  |  |  | 5 % |  |  |  |  | Analog Attenuation: |  |  | 1000 mAU
Signals
Signal table
|  | Row ID |  | Acquire |  |  |  |  | Signal |  |  | Wavelength (nm) |  |  | Bandwidth (nm)
|  | 1 |  | No |  |  |  |  | Signal A
|  | 2 |  | No |  |  |  |  | Signal B
|  | 3 |  | Yes |  |  |  |  | Signal C |  |  | 214.0 |  |  | 4.0
|  | 4 |  | No |  |  |  |  | Signal D
|  | 5 |  | No |  |  |  |  | Signal E
|  | 6 |  | No |  |  |  |  | Signal F
|  | 7 |  | No |  |  |  |  | Signal G
|  | 8 |  | No |  |  |  |  | Signal H
|  | Row ID |  | Use Ref. |  |  |  |  | Ref Wavel. (nm) |  |  | Ref Bandw. (nm)
1
2
|  | 3 |  | Yes |  |  |  |  | 360.0 |  |  | 100.0
4
5
6
7
8
Prepare Mode
|  | Margin for negative Absorbance: |  |  |  | 100 mAU
Autobalance
|  | Autobalance Prerun: |  |  |  | Yes |  |  |  |  | Autobalance Postrun: |  |  | No
Spectrum
|  | Spectrum Range WL from: |  |  |  | 190.0 nm |  |  |  |  | Spectrum Range WL to: |  |  | 400.0 nm
|  | Spectrum Step: |  |  |  | 2.0 nm |  |  |  |  | Spectrum Store: |  |  | All
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/Injector
Posttime
|  | Posttime Mode: |  |  |  | Off
Column Comp. Method
|  | Valve Position: |  |  |  | Position 4 (Port 4 -> 4') |  |  |  |  | Position Switch After Run: |  |  | Do not switch
|  | Module Display Name: |  |  |  | Column Comp. |  |  |  |  | Module Type: |  |  | G7116A
|  | Order: |  |  |  | 1
Left Temperature Control
|  | Temperature Control Mode: |  |  |  | Temperature Set |  |  |  |  | Temperature: |  |  | 80.0 °C
Enable Analysis Left Temperature
|  | Enable Analysis Left Temperature On: |  |  |  | Yes |  |  |  |  | Enable Analysis Left Temperature Value: |  |  | 0.8 °C
|  | Left Temp. Equilibration Time: |  |  |  | 0.0 min
Right Temperature Control
|  | Right temperature Control Mode: |  |  |  | Temperature Set |  |  |  |  | Right temperature: |  |  | 80.0 °C
Enable Analysis Right Temperature
|  | Enable Analysis Right Temperature On: |  |  |  | Yes |  |  |  |  | Enable Analysis Right Temperature Value: |  |  | 0.8 °C
|  | Right Temp. Equilibration Time: |  |  |  | 0.0 min
Enforce column for run
|  | Enforce column for run enabled: |  |  |  | No
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/Injector
Posttime
|  | Posttime Mode: |  |  |  | Off
Quat. Pump Method
|  | Flow: |  |  |  | 0.600 mL/min |  |  |  |  | Low Pressure Limit: |  |  | 0.00 bar
|  | High Pressure Limit: |  |  |  | 400.00 bar |  |  |  |  | Maximum Flow Gradient: |  |  | 1.000 mL/min²
|  | Primary Channel: |  |  |  | Automatic |  |  |  |  | Module Display Name: |  |  | Quat. Pump
|  | Module Type: |  |  |  | G1311B |  |  |  |  | Order: |  |  | 1
Solvent Composition
|  | Row ID |  | Channel |  |  |  |  | Name 1 |  |  | Used |  |  | Percent (%)
|  | 1 |  | A |  |  |  |  | 5mM H2SO4 |  |  | Yes |  |  | 0.0
|  | 2 |  | B |  |  |  |  | 5mM H2SO4 |  |  | No
|  | 3 |  | C |  |  |  |  | 100% H2O |  |  | Yes |  |  | 70.0
|  | 4 |  | D |  |  |  |  | 100% ACN |  |  | Yes |  |  | 30.0
Timetable
|  | Row ID |  | Time (min) |  |  |  |  | A (%) |  |  | B (%) |  |  | C (%)
|  | 1 |  | 1.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | 2 |  | 4.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 61.0
|  | 3 |  | 13.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 57.0
|  | 4 |  | 13.50 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 5.0
|  | 5 |  | 14.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 5.0
|  | 6 |  | 14.50 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | 7 |  | 18.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | Row ID |  | D (%) |  |  |  |  | Flow (mL/min) |  |  | Pressure (bar)
|  | 1 |  | 30.0 |  |  |  |  | --- |  |  | ---
|  | 2 |  | 39.0 |  |  |  |  | --- |  |  | ---
|  | 3 |  | 43.0 |  |  |  |  | --- |  |  | ---
|  | 4 |  | 95.0 |  |  |  |  | --- |  |  | ---
|  | 5 |  | 95.0 |  |  |  |  | --- |  |  | ---
|  | 6 |  | 30.0 |  |  |  |  | --- |  |  | ---
|  | 7 |  | 30.0 |  |  |  |  | --- |  |  | ---
Stroke
|  | Automatic Stroke Calculation: |  |  |  | Yes
Compress
|  | Compressibility Mode: |  |  |  | Compressibility Value Set |  |  |  |  | Compressibility: |  |  | 100 10e-6/bar
Stoptime
|  | Stoptime Mode: |  |  |  | Time set |  |  |  |  | Stoptime: |  |  | 18.00 min
Posttime
|  | Posttime Mode: |  |  |  | Off
HiP Sampler Method
|  | Module Display Name: |  |  |  | HiP Sampler |  |  |  |  | Module Type: |  |  | G1367E
|  | Order: |  |  |  | 1
Auxiliary
|  | Draw Speed: |  |  |  | 100.0 µL/min |  |  |  |  | Eject Speed: |  |  | 200.0 µL/min
|  | Draw Position Offset: |  |  |  | 0.0 mm |  |  |  |  | Wait Time After Drawing: |  |  | 1.2 s
|  | Sample Flush Out Factor: |  |  |  | 5.0 |  |  |  |  | Vial/Well bottom sensing: |  |  | Yes
Injection
|  | Injection Mode: |  |  |  | Injection with needle wash |  |  |  |  | Injection Volume: |  |  | 10.00 µL
Needle Wash
|  | Needle Wash Location: |  |  |  | Flush Port |  |  |  |  | Wash Time: |  |  | 5.0 s
High throughput
|  | Automatic Delay Volume Reduction: |  |  |  | No
Overlapped Injection
|  | Enable Overlapped Injection: |  |  |  | No
Thermostat
|  | Not Ready Temperature Mode: |  |  |  | Enable Analysis With Any Temperature |  |  |  |  | Thermostat Control: |  |  | Thermostat Control Set Value
|  | Thermostat Temperature: |  |  |  | 4 °C
Valve Switching
|  | Valve Movements: |  |  |  | 0
Valve Switch Time 1
|  | Switch Time 1 Enabled: |  |  |  | No
Valve Switch Time 2
|  | Switch Time 2 Enabled: |  |  |  | No
Valve Switch Time 3
|  | Switch Time 3 Enabled: |  |  |  | No
Valve Switch Time 4
|  | Switch Time 4 Enabled: |  |  |  | No
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/No Limit
Posttime
|  | Posttime Mode: |  |  |  | Off
Method Properties
|  | Instrument Technique: |  |  |  | Liquid Chromatography
Schema version
|  | Schema version: |  |  |  | 2.3

## Page 57
Processing method:
| Data Analysis Method: |  |  |  | RP_PLRPS_CoV_18min.pmx
| Path: |  |  |  | C:\CDSProjects\Project01\Results\241108_RBDJ_rpmComp.rslt
Method Information
|  | Last Saved As: |  | C:\CDSProjects\Project01\Results\2411 08_RBDJ_rpmComp.rslt\RP_PLRPS_C oV_18min.pmx |  |  | Modified: |  | 2024-06-24 13:13:24-04:00
[7 empty] | Created: |  | 2020-04-28 13:25:14-04:00
|  | Modifier: |  | SYSTEM
Description:
|  | Creator: |  | SYSTEM
[7 empty] | Method Status: |  | Generic
|  | Version: |  | 2024-0624-1713-24665
|  | Type: |  | GC/LC Area Percent
Method Parameters
Signals
Blank Subtraction
|  | Blank subtraction: |  | Samples only (exclude cal. standards) |  |  | Used blank: |  | Defined in sequence
|  | Specific blank path: |  |  |  |  | Specific blank:
|  | Subtract blank if data rates are different: |  | No |  |  | Signal matching mode: |  | Perform blank subtraction if signal names match
Signal alignment
|  | Use delay: |  | Yes |  |  | Detector: |  | DAD1
|  | RT : |  | 0.000 min |  |  | Delay : |  | 0.000 min
Chromatogram Smoothing
|  | Smoothing algorithm: |  | None
ChemStation integrator
ChemStation integrator parameters
|  | Tangent skim mode: |  | Standard |  |  | Baseline correction: |  | Advanced
|  | Front peak skim height ratio: |  | 0.00 |  |  | Tail peak skim height ratio: |  | 0.00
|  | Skim valley ratio: |  | 20.00 |  |  | Peak to valley ratio: |  | 500.00
Initial timed events
|  | Row ID | Use |  |  | Time (min) |  | Event |  | Value
|  | 1 | Yes |  |  | 0.000 |  | Slope sensitivity |  | 1
|  | 2 | Yes |  |  | 0.000 |  | Peak width |  | 0.07
|  | 3 | Yes |  |  | 0.000 |  | Area reject |  | 1
|  | 4 | Yes |  |  | 0.000 |  | Height reject |  | 7
|  | 5 | Yes |  |  | 0.000 |  | Shoulders mode |  | Tangential
|  | 6 | Yes |  |  | 0.000 |  | Area% reject |  | 0.05
Timed events
|  | Row ID | Use |  |  | Time (min) |  | Event |  | Value
|  | 1 | Yes |  |  | 0.001 |  | Integration |  | Off
|  | 2 | Yes |  |  | 5.000 |  | Integration |  | On
|  | 3 | Yes |  |  | 5.001 |  | Baseline now
|  | 4 | Yes |  |  | 5.002 |  | Baseline hold |  | On
|  | 5 | Yes |  |  | 7.000 |  | Integration |  | Off
Compound parameters
|  | Use time references: |  | No |  |  | Use relative retention time: |  | No
|  | Qualifier count: |  | 2 |  |  | Qualifier RT Window: |  | 0.010 min
|  | Qualifier response window: |  | 20.0 percent |  |  | Response Window Type: |  | Relative
System Suitability
|  | EP: |  | No |  |  | Column performance: |  | None
|  | JP: |  | No |  |  | USP: |  | No
|  | Signal to noise: |  | None |  |  | Noise calculation: |  | P2P
|  | Use blank reference for noise: |  | on blank |  |  | Calculate noise before or after peak: |  | before peak start
|  | Range mode for Noise Selection: |  | Automatic |  |  | Noise range end time: |  | 0.60
|  | Noise range start time: |  | 0.50 |  |  | Noise range relative end time: |  | 0.40
|  | Noise range relative start time: |  | 0.00 |  |  | Overwrite column parameters: |  | No
Custom calculations
|  | Last imported file: |  |  |  |  | Embedded file: |  | No
|  | Created by: |  |  |  |  | Creation date:
|  | Last modified by: |  |  |  |  | Last modified date:
|  | File version: |  |  |  |  | Custom calculations file:
Reporting parameters
|  | From time: |  |  |  |  | To time:
|  | From response: |  |  |  |  | To response:
General reporting parameters
|  | Row ID | Report # |  |  | Report template |  | Report file name |  | Report for sample types
|  | 1 | 1 |  |  |  |  | <DX>_<R> |  | All sample types
|  | 2 | 2 |  |  |  |  | <DX>_<R> |  | All sample types
|  | Row ID | Do print |  |  | Do create file |  | Report selected signals
|  | 1 | No |  |  | No |  | All signals
|  | 2 | No |  |  | No |  | All signals