## Page 1
Sequence name: |  |  | 241113_RBDJ_rpmComp_Day3_V2
Description:
Acquisition date: |  |  | 2024-11-13 21:55:15-05:00
Acquired by: |  |  | SYSTEM
Data path: |  |  | C:\CDSProjects\Project01\Results\241113_RBDJ_rpmComp_Day3_V2.rslt
Sequence Integration
| Samp le Vial Numb er | Sample Name |  |  | RT | Area | % | Injection | mg/L
| P2-A1 | RBDJ |  |  | 5.541 | 8963.371 | 100 | 25 | 219.0195
| P2-A2 | RBDJ |  |  | 5.537 | 8497.2382 | 100 | 25 | 207.6295
| P2-A3 | RBDJ |  |  | 5.549 | 9224.0215 | 100 | 25 | 225.3884
| P2-A4 | RBDJ |  |  | 5.403 | 10341.7069 | 100 | 25 | 252.699
| P2-A5 | RBDJ |  |  | 5.39 | 9376.1788 | 100 | 25 | 229.1064
| P2-A6 | RBDJ |  |  | 5.398 | 7131.7445 | 100 | 25 | 174.2638
| P2-A7 | RBDJ |  |  | 5.457 | 9596.0784 | 100 | 25 | 234.4796
| P2-A8 | RBDJ |  |  | 5.503 | 8356.9951 | 100 | 25 | 204.2027
| P2-A9 | RBDJ |  |  | 5.542 | 8963.1646 | 100 | 25 | 219.0144
| P2-A10 | RBDJ |  |  | 5.515 | 9911.296 | 100 | 25 | 242.1819
| P2-A11 | RBDJ |  |  | 5.527 | 9280.8745 | 100 | 25 | 226.7776
| P2-A12 | RBDJ |  |  | 5.498 | 6811.6153 | 100 | 25 | 166.4414
| P2-B1 | RBDJ |  |  | 5.4 | 8917.7328 | 100 | 25 | 217.9043
| P2-B2 | RBDJ |  |  | 5.49 | 8799.0338 | 100 | 25 | 215.0039
| P2-B3 | RBDJ |  |  | 5.43 | 9018.3433 | 100 | 25 | 220.3627
| P2-B4 | RBDJ |  |  | 5.406 | 9600.6466 | 100 | 25 | 234.5912
| P2-B5 | RBDJ |  |  | 5.427 | 8535.6085 | 100 | 25 | 208.5671
| P2-B6 | RBDJ |  |  | 5.527 | 6828.2786 | 100 | 25 | 166.8486
| P2-B7 | RBDJ |  |  | 5.531 | 4903.6483 | 100 | 25 | 119.8204
| P2-B8 | RBDJ |  |  | 5.421 | 2988.8068 | 100 | 25 | 73.0313
| P2-B9 | RBDJ |  |  | 5.529 | 4720.9179 | 100 | 25 | 115.3554
| P2-B10 | RBDJ |  |  | 5.448 | 9760.2699 | 100 | 25 | 238.4916
| P2-B11 | RBDJ |  |  | 5.548 | 9961.7373 | 100 | 25 | 243.4145
| P2-B12 | RBDJ |  |  | 5.553 | 9338.7661 | 100 | 25 | 228.1922
| P2-C1 | RBDJ - 950rpm |  |  | 5.547 | 13719.4792 | 100 | 25 | 335.2347
| P2-C2 | RBDJ - 950rpm |  |  | 5.558 | 13225.0135 | 100 | 25 | 323.1524
| P2-C3 | RBDJ - 950rpm |  |  | 5.519 | 12780.391 | 100 | 25 | 312.2881
| P2-C4 | RBDJ - 950rpm |  |  | 5.541 | 14287.9116 | 100 | 25 | 349.1243
| P2-C5 | RBDJ - 950rpm |  |  | 5.542 | 13739.1608 | 100 | 25 | 335.7156
| P2-C6 | RBDJ - 950rpm |  |  | 5.557 | 7829.2144 | 100 | 25 | 191.3064
| P2-C7 | RBDJ - 950rpm |  |  | 5.558 | 13878.3164 | 100 | 25 | 339.1159
| P2-C8 | RBDJ - 950rpm |  |  | 5.556 | 13319.1076 | 100 | 25 | 325.4516
| P2-C9 | RBDJ - 950rpm |  |  | 5.537 | 12900.5484 | 100 | 25 | 315.2242
| P2-C10 | RBDJ - 950rpm |  |  | 5.465 | 13889.486 | 100 | 25 | 339.3888
| P2-C11 | RBDJ - 950rpm |  |  | 5.499 | 14038.489 | 100 | 25 | 343.0297
| P2-C12 | RBDJ - 950rpm |  |  | 5.451 | 8169.1965 | 100 | 25 | 199.6138
| P2-D1 | RBDJ - 950rpm |  |  | 5.497 | 13693.6453 | 100 | 25 | 334.6034
| P2-D2 | RBDJ - 950rpm |  |  | 5.534 | 12813.9612 | 100 | 25 | 313.1084
| P2-D3 | RBDJ - 950rpm |  |  | 5.538 | 12932.4895 | 100 | 25 | 316.0046
| P2-D4 | RBDJ - 950rpm |  |  | 5.528 | 14526.4092 | 100 | 25 | 354.952
| P2-D5 | RBDJ - 950rpm |  |  | 5.57 | 13195.6223 | 100 | 25 | 322.4343
| P2-D6 | RBDJ - 950rpm |  |  | 5.399 | 8329.9137 | 100 | 25 | 203.541
| P2-D7 | RBDJ - 950rpm |  |  | 5.519 | 4727.9339 | 100 | 25 | 115.5268
| P2-D8 | RBDJ - 950rpm |  |  | 5.511 | 4007.8006 | 100 | 25 | 97.9304
| P2-D9 | RBDJ - 950rpm |  |  | 5.503 | 4846.1514 | 100 | 25 | 118.4154
| P2-D10 | RBDJ - 950rpm |  |  | 5.524 | 14039.3019 | 100 | 25 | 343.0495
| P2-D11 | RBDJ - 950rpm |  |  | 5.54 | 14596.8992 | 100 | 25 | 356.6744
| P2-D12 | RBDJ - 950rpm |  |  | 5.526 | 14424.1923 | 100 | 25 | 352.4543

## Page 2
Sequence Table: |  |  |  | Bracketing Mode: |  | None
Seq. Line: |  | 1
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-13 21-55-24-05-00-01.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 2
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-13 22-13-38-05-00-02.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 3
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-13 22-31-53-05-00-03.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 4
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-13 22-51-16-05-00-04.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 5
| Location: |  | P2-A1 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-13 23-10-48-05-00-05.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 6
| Location: |  | P2-A2 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-13 23-30-05-05-00-06.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 7
| Location: |  | P2-A3 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-13 23-49-15-05-00-07.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 8
| Location: |  | P2-A4 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 00-08-25-05-00-08.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 9
| Location: |  | P2-A5 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 00-27-34-05-00-09.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 10
| Location: |  | P2-A6 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 00-46-43-05-00-10.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 11
| Location: |  | P2-A7 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 01-05-54-05-00-11.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 12
| Location: |  | P2-A8 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 01-25-03-05-00-12.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 13
| Location: |  | P2-A9 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 01-44-13-05-00-13.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 14
| Location: |  | P2-A10 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 02-03-22-05-00-14.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 15
| Location: |  | P2-A11 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 02-22-30-05-00-15.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 16
| Location: |  | P2-A12 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 02-41-37-05-00-16.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 17
| Location: |  | P2-B1 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 03-00-44-05-00-17.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 18
| Location: |  | P2-B2 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 03-19-55-05-00-18.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 19
| Location: |  | P2-B3 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 03-39-04-05-00-19.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 20
| Location: |  | P2-B4 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 03-58-14-05-00-20.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 21
| Location: |  | P2-B5 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 04-17-24-05-00-21.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 22
| Location: |  | P2-B6 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 04-36-33-05-00-22.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 23
| Location: |  | P2-B7 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 04-55-44-05-00-23.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 24
| Location: |  | P2-B8 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 05-14-54-05-00-24.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 25
| Location: |  | P2-B9 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 05-34-03-05-00-25.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 26
| Location: |  | P2-B10 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 05-53-13-05-00-26.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 27
| Location: |  | P2-B11 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 06-12-24-05-00-27.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 28
| Location: |  | P2-B12 |  | Sample name: | RBDJ
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 06-31-31-05-00-28.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 29
| Location: |  | P2-C1 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 06-50-39-05-00-29.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 30
| Location: |  | P2-C2 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 07-09-48-05-00-30.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 31
| Location: |  | P2-C3 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 07-28-58-05-00-31.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 32
| Location: |  | P2-C4 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 07-48-07-05-00-32.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 33
| Location: |  | P2-C5 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 08-07-16-05-00-33.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 34
| Location: |  | P2-C6 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 08-26-26-05-00-34.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 35
| Location: |  | P2-C7 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 08-45-35-05-00-35.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 36
| Location: |  | P2-C8 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 09-04-46-05-00-36.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 37
| Location: |  | P2-C9 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 09-23-56-05-00-37.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 38
| Location: |  | P2-C10 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 09-43-05-05-00-38.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 39
| Location: |  | P2-C11 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 10-02-15-05-00-39.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 40
| Location: |  | P2-C12 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 10-21-25-05-00-40.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 41
| Location: |  | P2-D1 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 10-40-31-05-00-41.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 42
| Location: |  | P2-D2 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 10-59-41-05-00-42.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 43
| Location: |  | P2-D3 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 11-18-50-05-00-43.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 44
| Location: |  | P2-D4 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 11-37-59-05-00-44.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 45
| Location: |  | P2-D5 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 11-57-09-05-00-45.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 46
| Location: |  | P2-D6 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 12-16-18-05-00-46.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 47
| Location: |  | P2-D7 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 12-35-28-05-00-47.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 48
| Location: |  | P2-D8 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 12-54-37-05-00-48.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 49
| Location: |  | P2-D9 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 13-13-47-05-00-49.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 50
| Location: |  | P2-D10 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 13-32-56-05-00-50.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 51
| Location: |  | P2-D11 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 13-52-06-05-00-51.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 52
| Location: |  | P2-D12 |  | Sample name: | RBDJ - 950rpm
Sample info:
| Acq. Method: |  | SRA_RP_CoV_8_18Min.amx |  | Data file: | 2024-11-14 14-11-16-05-00-52.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_CoV_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1

## Page 3
Sample name: | blank
Data file: | 2024-11-13 21-55-24-05-00-01.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-11-13 21:55:35-05:00
Inj. volume: | 0.000 | Location: | P1-A1
Acq. method: | SRA_RP_CoV_8_18Min.amx | Type: | Blank
Processing method: | RP_PLRPS_CoV_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 4
Sample name: | blank
Data file: | 2024-11-13 22-13-38-05-00-02.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-11-13 22:13:49-05:00
Inj. volume: | 0.000 | Location: | P1-A1
Acq. method: | SRA_RP_CoV_8_18Min.amx | Type: | Blank
Processing method: | RP_PLRPS_CoV_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 5
Sample name: | blank
Data file: | 2024-11-13 22-31-53-05-00-03.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-11-13 22:33:12-05:00
Inj. volume: | 50.000 | Location: | P1-A1
Acq. method: | SRA_RP_CoV_8_18Min.amx | Type: | Blank
Processing method: | RP_PLRPS_CoV_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 6
Sample name: | blank
Data file: | 2024-11-13 22-51-16-05-00-04.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-11-13 22:52:44-05:00
Inj. volume: | 50.000 | Location: | P1-A1
Acq. method: | SRA_RP_CoV_8_18Min.amx | Type: | Blank
Processing method: | RP_PLRPS_CoV_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 7
Sample name: | RBDJ
Data file: | 2024-11-13 23-10-48-05-00-05.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-13 23:12:01-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-A1
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.541 | 8963.371 |  | 519.8543 |  | 100
|  | Sum | 8963.371

## Page 8
Sample name: | RBDJ
Data file: | 2024-11-13 23-30-05-05-00-06.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-13 23:31:12-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-A2
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.537 | 8497.2382 |  | 496.0102 |  | 100
|  | Sum | 8497.2382

## Page 9
Sample name: | RBDJ
Data file: | 2024-11-13 23-49-15-05-00-07.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-13 23:50:22-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-A3
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.549 | 9224.0215 |  | 520.3797 |  | 100
|  | Sum | 9224.0215

## Page 10
Sample name: | RBDJ
Data file: | 2024-11-14 00-08-25-05-00-08.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 00:09:31-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-A4
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.403 | 10341.7069 |  | 616.9825 |  | 100
|  | Sum | 10341.7069

## Page 11
Sample name: | RBDJ
Data file: | 2024-11-14 00-27-34-05-00-09.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 00:28:39-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-A5
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.39 | 9376.1788 |  | 549.7554 |  | 100
|  | Sum | 9376.1788

## Page 12
Sample name: | RBDJ
Data file: | 2024-11-14 00-46-43-05-00-10.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 00:47:50-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-A6
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.398 | 7131.7445 |  | 420.1155 |  | 100
|  | Sum | 7131.7445

## Page 13
Sample name: | RBDJ
Data file: | 2024-11-14 01-05-54-05-00-11.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 01:06:59-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-A7
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.457 | 9596.0784 |  | 597.7392 |  | 100
|  | Sum | 9596.0784

## Page 14
Sample name: | RBDJ
Data file: | 2024-11-14 01-25-03-05-00-12.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 01:26:09-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-A8
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.503 | 8356.9951 |  | 535.1614 |  | 100
|  | Sum | 8356.9951

## Page 15
Sample name: | RBDJ
Data file: | 2024-11-14 01-44-13-05-00-13.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 01:45:19-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-A9
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.542 | 8963.1646 |  | 514.8523 |  | 100
|  | Sum | 8963.1646

## Page 16
Sample name: | RBDJ
Data file: | 2024-11-14 02-03-22-05-00-14.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 02:04:27-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-A10
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.515 | 9911.296 |  | 584.8509 |  | 100
|  | Sum | 9911.296

## Page 17
Sample name: | RBDJ
Data file: | 2024-11-14 02-22-30-05-00-15.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 02:23:35-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-A11
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.527 | 9280.8745 |  | 535.2273 |  | 100
|  | Sum | 9280.8745

## Page 18
Sample name: | RBDJ
Data file: | 2024-11-14 02-41-37-05-00-16.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 02:42:41-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-A12
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.498 | 6811.6153 |  | 375.0464 |  | 100
|  | Sum | 6811.6153

## Page 19
Sample name: | RBDJ
Data file: | 2024-11-14 03-00-44-05-00-17.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 03:01:51-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-B1
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.4 | 8917.7328 |  | 501.0429 |  | 100
|  | Sum | 8917.7328

## Page 20
Sample name: | RBDJ
Data file: | 2024-11-14 03-19-55-05-00-18.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 03:21:01-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-B2
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.49 | 8799.0338 |  | 476.0593 |  | 100
|  | Sum | 8799.0338

## Page 21
Sample name: | RBDJ
Data file: | 2024-11-14 03-39-04-05-00-19.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 03:40:11-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-B3
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.43 | 9018.3433 |  | 556.6999 |  | 100
|  | Sum | 9018.3433

## Page 22
Sample name: | RBDJ
Data file: | 2024-11-14 03-58-14-05-00-20.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 03:59:20-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-B4
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.406 | 9600.6466 |  | 593.4258 |  | 100
|  | Sum | 9600.6466

## Page 23
Sample name: | RBDJ
Data file: | 2024-11-14 04-17-24-05-00-21.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 04:18:30-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-B5
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.427 | 8535.6085 |  | 493.2698 |  | 100
|  | Sum | 8535.6085

## Page 24
Sample name: | RBDJ
Data file: | 2024-11-14 04-36-33-05-00-22.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 04:37:40-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-B6
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.527 | 6828.2786 |  | 416.8479 |  | 100
|  | Sum | 6828.2786

## Page 25
Sample name: | RBDJ
Data file: | 2024-11-14 04-55-44-05-00-23.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 04:56:50-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-B7
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.531 | 4903.6483 |  | 262.3024 |  | 100
|  | Sum | 4903.6483

## Page 26
Sample name: | RBDJ
Data file: | 2024-11-14 05-14-54-05-00-24.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 05:16:00-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-B8
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.421 | 2988.8068 |  | 142.49 |  | 100
|  | Sum | 2988.8068

## Page 27
Sample name: | RBDJ
Data file: | 2024-11-14 05-34-03-05-00-25.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 05:35:10-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-B9
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.529 | 4720.9179 |  | 250.9817 |  | 100
|  | Sum | 4720.9179

## Page 28
Sample name: | RBDJ
Data file: | 2024-11-14 05-53-13-05-00-26.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 05:54:20-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-B10
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.448 | 9760.2699 |  | 579.3782 |  | 100
|  | Sum | 9760.2699

## Page 29
Sample name: | RBDJ
Data file: | 2024-11-14 06-12-24-05-00-27.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 06:13:28-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-B11
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.548 | 9961.7373 |  | 576.9607 |  | 100
|  | Sum | 9961.7373

## Page 30
Sample name: | RBDJ
Data file: | 2024-11-14 06-31-31-05-00-28.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 06:32:35-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-B12
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.553 | 9338.7661 |  | 540.3992 |  | 100
|  | Sum | 9338.7661

## Page 31
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 06-50-39-05-00-29.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 06:51:44-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-C1
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.547 | 13719.4792 |  | 799.1596 |  | 100
|  | Sum | 13719.4792

## Page 32
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 07-09-48-05-00-30.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 07:10:54-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-C2
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.558 | 13225.0135 |  | 769.7366 |  | 100
|  | Sum | 13225.0135

## Page 33
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 07-28-58-05-00-31.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 07:30:04-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-C3
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.519 | 12780.391 |  | 788.4609 |  | 100
|  | Sum | 12780.391

## Page 34
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 07-48-07-05-00-32.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 07:49:13-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-C4
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.541 | 14287.9116 |  | 814.5313 |  | 100
|  | Sum | 14287.9116

## Page 35
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 08-07-16-05-00-33.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 08:08:22-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-C5
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.542 | 13739.1608 |  | 790.3416 |  | 100
|  | Sum | 13739.1608

## Page 36
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 08-26-26-05-00-34.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 08:27:31-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-C6
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.557 | 7829.2144 |  | 422.6118 |  | 100
|  | Sum | 7829.2144

## Page 37
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 08-45-35-05-00-35.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 08:46:42-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-C7
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.558 | 13878.3164 |  | 788.3184 |  | 100
|  | Sum | 13878.3164

## Page 38
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 09-04-46-05-00-36.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 09:05:53-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-C8
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.556 | 13319.1076 |  | 781.9919 |  | 100
|  | Sum | 13319.1076

## Page 39
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 09-23-56-05-00-37.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 09:25:02-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-C9
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.537 | 12900.5484 |  | 742.4275 |  | 100
|  | Sum | 12900.5484

## Page 40
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 09-43-05-05-00-38.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 09:44:11-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-C10
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.465 | 13889.486 |  | 727.4806 |  | 100
|  | Sum | 13889.486

## Page 41
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 10-02-15-05-00-39.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 10:03:21-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-C11
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.499 | 14038.489 |  | 779.0507 |  | 100
|  | Sum | 14038.489

## Page 42
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 10-21-25-05-00-40.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 10:22:29-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-C12
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.451 | 8169.1965 |  | 567.3816 |  | 100
|  | Sum | 8169.1965

## Page 43
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 10-40-31-05-00-41.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 10:41:37-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-D1
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.497 | 13693.6453 |  | 932.9529 |  | 100
|  | Sum | 13693.6453

## Page 44
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 10-59-41-05-00-42.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 11:00:47-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-D2
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.534 | 12813.9612 |  | 732.9855 |  | 100
|  | Sum | 12813.9612

## Page 45
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 11-18-50-05-00-43.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 11:19:56-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-D3
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.538 | 12932.4895 |  | 737.5604 |  | 100
|  | Sum | 12932.4895

## Page 46
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 11-37-59-05-00-44.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 11:39:05-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-D4
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.528 | 14526.4092 |  | 819.95 |  | 100
|  | Sum | 14526.4092

## Page 47
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 11-57-09-05-00-45.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 11:58:15-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-D5
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.57 | 13195.6223 |  | 756.5 |  | 100
|  | Sum | 13195.6223

## Page 48
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 12-16-18-05-00-46.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 12:17:24-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-D6
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.399 | 8329.9137 |  | 417.7451 |  | 100
|  | Sum | 8329.9137

## Page 49
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 12-35-28-05-00-47.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 12:36:34-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-D7
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.519 | 4727.9339 |  | 233.9891 |  | 100
|  | Sum | 4727.9339

## Page 50
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 12-54-37-05-00-48.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 12:55:43-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-D8
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.511 | 4007.8006 |  | 200.0777 |  | 100
|  | Sum | 4007.8006

## Page 51
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 13-13-47-05-00-49.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 13:14:53-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-D9
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.503 | 4846.1514 |  | 244.5412 |  | 100
|  | Sum | 4846.1514

## Page 52
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 13-32-56-05-00-50.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 13:34:03-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-D10
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.524 | 14039.3019 |  | 787.6034 |  | 100
|  | Sum | 14039.3019

## Page 53
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 13-52-06-05-00-51.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 13:53:12-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-D11
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.54 | 14596.8992 |  | 860.0468 |  | 100
|  | Sum | 14596.8992

## Page 54
Sample name: | RBDJ - 950rpm
Data file: | 2024-11-14 14-11-16-05-00-52.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-14 14:12:22-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-D12
Acq. method: | SRA_RP_CoV_8_18Min.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_CoV_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 5.526 | 14424.1923 |  | 819.9692 |  | 100
|  | Sum | 14424.1923

## Page 56
Method Summary
Processing method: | [7 empty] | RP_PLRPS_CoV_18min.pmx
| Method version: | [5 empty] | 2024-0624-1713-24665
| Line# |  | Location |  | Sample Name |  |  |  |  | Injection modified |  |  | Acq. Method |  |  | ACQ Method Version
| 1 |  | P1-A1 |  | blank |  |  |  |  | 2024-11-13 22:13:40- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 2 |  | P1-A1 |  | blank |  |  |  |  | 2024-11-13 22:31:53- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 3 |  | P1-A1 |  | blank |  |  |  |  | 2024-11-13 22:51:16- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 4 |  | P1-A1 |  | blank |  |  |  |  | 2024-11-13 23:10:48- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 5 |  | P2-A1 |  | RBDJ |  |  |  |  | 2024-11-13 23:30:06- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 6 |  | P2-A2 |  | RBDJ |  |  |  |  | 2024-11-13 23:49:16- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 7 |  | P2-A3 |  | RBDJ |  |  |  |  | 2024-11-14 00:08:25- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 8 |  | P2-A4 |  | RBDJ |  |  |  |  | 2024-11-14 00:27:35- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 9 |  | P2-A5 |  | RBDJ |  |  |  |  | 2024-11-14 00:46:44- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 10 |  | P2-A6 |  | RBDJ |  |  |  |  | 2024-11-14 01:05:54- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 11 |  | P2-A7 |  | RBDJ |  |  |  |  | 2024-11-14 01:25:04- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 12 |  | P2-A8 |  | RBDJ |  |  |  |  | 2024-11-14 01:44:13- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 13 |  | P2-A9 |  | RBDJ |  |  |  |  | 2024-11-14 02:03:23- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 14 |  | P2-A10 |  | RBDJ |  |  |  |  | 2024-11-14 02:22:31- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 15 |  | P2-A11 |  | RBDJ |  |  |  |  | 2024-11-14 02:41:38- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 16 |  | P2-A12 |  | RBDJ |  |  |  |  | 2024-11-14 03:00:44- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 17 |  | P2-B1 |  | RBDJ |  |  |  |  | 2024-11-14 19:43:06- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 18 |  | P2-B2 |  | RBDJ |  |  |  |  | 2024-11-14 03:39:05- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 19 |  | P2-B3 |  | RBDJ |  |  |  |  | 2024-11-14 03:58:14- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 20 |  | P2-B4 |  | RBDJ |  |  |  |  | 2024-11-14 04:17:24- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 21 |  | P2-B5 |  | RBDJ |  |  |  |  | 2024-11-14 04:36:33- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 22 |  | P2-B6 |  | RBDJ |  |  |  |  | 2024-11-14 04:55:44- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 23 |  | P2-B7 |  | RBDJ |  |  |  |  | 2024-11-14 19:43:35- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 24 |  | P2-B8 |  | RBDJ |  |  |  |  | 2024-11-14 05:34:04- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 25 |  | P2-B9 |  | RBDJ |  |  |  |  | 2024-11-14 19:43:46- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 26 |  | P2-B10 |  | RBDJ |  |  |  |  | 2024-11-14 06:12:24- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 27 |  | P2-B11 |  | RBDJ |  |  |  |  | 2024-11-14 06:31:32- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 28 |  | P2-B12 |  | RBDJ |  |  |  |  | 2024-11-14 06:50:39- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 29 |  | P2-C1 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 19:43:59- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 30 |  | P2-C2 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 19:44:07- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 31 |  | P2-C3 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 19:44:13- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 32 |  | P2-C4 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 19:44:18- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 33 |  | P2-C5 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 19:44:26- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 34 |  | P2-C6 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 08:45:37- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 35 |  | P2-C7 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 19:44:35- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 36 |  | P2-C8 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 19:44:40- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 37 |  | P2-C9 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 19:44:45- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 38 |  | P2-C10 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 19:44:53- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 39 |  | P2-C11 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 19:44:57- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 40 |  | P2-C12 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 10:40:32- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 41 |  | P2-D1 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 10:59:42- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 42 |  | P2-D2 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 19:45:10- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 43 |  | P2-D3 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 19:45:16- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 44 |  | P2-D4 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 19:45:29- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 45 |  | P2-D5 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 19:45:35- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 46 |  | P2-D6 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 19:45:42- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 47 |  | P2-D7 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 12:54:38- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 48 |  | P2-D8 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 13:13:48- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 49 |  | P2-D9 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 13:32:57- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 50 |  | P2-D10 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 19:46:03- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 51 |  | P2-D11 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 19:46:10- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
| 52 |  | P2-D12 |  | RBDJ - 950rpm |  |  |  |  | 2024-11-14 19:46:16- 05:00 |  |  | SRA_RP_CoV_8_18Mi n.amx |  |  | 2023-1018-1739- 26503
Acquisition Method: | [7 empty] | SRA_RP_CoV_8_18Min.amx
Path: | [7 empty] | C:\CDSProjects\Project01\Results\241113_RBDJ_rpmComp_Day3_V2.rslt
Method Information
|  | Last Saved As: |  |  |  | C:\CDSProjects\Project01\Methods\SR A_RP_CoV_8_18Min.amx |  |  |  |  | Modified: |  |  | 2023-10-18 13:39:26-04:00
|  | Modifier: |  |  |  | SYSTEM |  |  |  |  | Created: |  |  | 2020-04-22 12:44:45-04:00
|  | Creator: |  |  |  | SYSTEM |  |  |  |  | Description:
|  | Version: |  |  |  | 2023-1018-1739-26503 |  |  |  |  | Method Status: |  |  | Generic
DAD Method
|  | Peakwidth: |  |  |  | > 0.0031 min (0.063 s response time) (80 Hz) |  |  |  |  | UV Lamp Required: |  |  | Yes
|  | Module Display Name: |  |  |  | DAD |  |  |  |  | Module Type: |  |  | G4212B
|  | Order: |  |  |  | 1
Analog Output
|  | Analog Zero Offset: |  |  |  | 5 % |  |  |  |  | Analog Attenuation: |  |  | 1000 mAU
Signals
Signal table
|  | Row ID |  | Acquire |  |  |  |  | Signal |  |  | Wavelength (nm) |  |  | Bandwidth (nm)
|  | 1 |  | No |  |  |  |  | Signal A
|  | 2 |  | No |  |  |  |  | Signal B
|  | 3 |  | Yes |  |  |  |  | Signal C |  |  | 214.0 |  |  | 4.0
|  | 4 |  | No |  |  |  |  | Signal D
|  | 5 |  | No |  |  |  |  | Signal E
|  | 6 |  | No |  |  |  |  | Signal F
|  | 7 |  | No |  |  |  |  | Signal G
|  | 8 |  | No |  |  |  |  | Signal H
|  | Row ID |  | Use Ref. |  |  |  |  | Ref Wavel. (nm) |  |  | Ref Bandw. (nm)
1
2
|  | 3 |  | Yes |  |  |  |  | 360.0 |  |  | 100.0
4
5
6
7
8
Prepare Mode
|  | Margin for negative Absorbance: |  |  |  | 100 mAU
Autobalance
|  | Autobalance Prerun: |  |  |  | Yes |  |  |  |  | Autobalance Postrun: |  |  | No
Spectrum
|  | Spectrum Range WL from: |  |  |  | 190.0 nm |  |  |  |  | Spectrum Range WL to: |  |  | 400.0 nm
|  | Spectrum Step: |  |  |  | 2.0 nm |  |  |  |  | Spectrum Store: |  |  | All
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/Injector
Posttime
|  | Posttime Mode: |  |  |  | Off
Column Comp. Method
|  | Valve Position: |  |  |  | Position 4 (Port 4 -> 4') |  |  |  |  | Position Switch After Run: |  |  | Do not switch
|  | Module Display Name: |  |  |  | Column Comp. |  |  |  |  | Module Type: |  |  | G7116A
|  | Order: |  |  |  | 1
Left Temperature Control
|  | Temperature Control Mode: |  |  |  | Temperature Set |  |  |  |  | Temperature: |  |  | 80.0 °C
Enable Analysis Left Temperature
|  | Enable Analysis Left Temperature On: |  |  |  | Yes |  |  |  |  | Enable Analysis Left Temperature Value: |  |  | 0.8 °C
|  | Left Temp. Equilibration Time: |  |  |  | 0.0 min
Right Temperature Control
|  | Right temperature Control Mode: |  |  |  | Temperature Set |  |  |  |  | Right temperature: |  |  | 80.0 °C
Enable Analysis Right Temperature
|  | Enable Analysis Right Temperature On: |  |  |  | Yes |  |  |  |  | Enable Analysis Right Temperature Value: |  |  | 0.8 °C
|  | Right Temp. Equilibration Time: |  |  |  | 0.0 min
Enforce column for run
|  | Enforce column for run enabled: |  |  |  | No
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/Injector
Posttime
|  | Posttime Mode: |  |  |  | Off
Quat. Pump Method
|  | Flow: |  |  |  | 0.600 mL/min |  |  |  |  | Low Pressure Limit: |  |  | 0.00 bar
|  | High Pressure Limit: |  |  |  | 400.00 bar |  |  |  |  | Maximum Flow Gradient: |  |  | 1.000 mL/min²
|  | Primary Channel: |  |  |  | Automatic |  |  |  |  | Module Display Name: |  |  | Quat. Pump
|  | Module Type: |  |  |  | G1311B |  |  |  |  | Order: |  |  | 1
Solvent Composition
|  | Row ID |  | Channel |  |  |  |  | Name 1 |  |  | Used |  |  | Percent (%)
|  | 1 |  | A |  |  |  |  | 5mM H2SO4 |  |  | Yes |  |  | 0.0
|  | 2 |  | B |  |  |  |  | 5mM H2SO4 |  |  | No
|  | 3 |  | C |  |  |  |  | 100% H2O |  |  | Yes |  |  | 70.0
|  | 4 |  | D |  |  |  |  | 100% ACN |  |  | Yes |  |  | 30.0
Timetable
|  | Row ID |  | Time (min) |  |  |  |  | A (%) |  |  | B (%) |  |  | C (%)
|  | 1 |  | 1.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | 2 |  | 4.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 61.0
|  | 3 |  | 13.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 57.0
|  | 4 |  | 13.50 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 5.0
|  | 5 |  | 14.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 5.0
|  | 6 |  | 14.50 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | 7 |  | 18.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | Row ID |  | D (%) |  |  |  |  | Flow (mL/min) |  |  | Pressure (bar)
|  | 1 |  | 30.0 |  |  |  |  | --- |  |  | ---
|  | 2 |  | 39.0 |  |  |  |  | --- |  |  | ---
|  | 3 |  | 43.0 |  |  |  |  | --- |  |  | ---
|  | 4 |  | 95.0 |  |  |  |  | --- |  |  | ---
|  | 5 |  | 95.0 |  |  |  |  | --- |  |  | ---
|  | 6 |  | 30.0 |  |  |  |  | --- |  |  | ---
|  | 7 |  | 30.0 |  |  |  |  | --- |  |  | ---
Stroke
|  | Automatic Stroke Calculation: |  |  |  | Yes
Compress
|  | Compressibility Mode: |  |  |  | Compressibility Value Set |  |  |  |  | Compressibility: |  |  | 100 10e-6/bar
Stoptime
|  | Stoptime Mode: |  |  |  | Time set |  |  |  |  | Stoptime: |  |  | 18.00 min
Posttime
|  | Posttime Mode: |  |  |  | Off
HiP Sampler Method
|  | Module Display Name: |  |  |  | HiP Sampler |  |  |  |  | Module Type: |  |  | G1367E
|  | Order: |  |  |  | 1
Auxiliary
|  | Draw Speed: |  |  |  | 100.0 µL/min |  |  |  |  | Eject Speed: |  |  | 200.0 µL/min
|  | Draw Position Offset: |  |  |  | 0.0 mm |  |  |  |  | Wait Time After Drawing: |  |  | 1.2 s
|  | Sample Flush Out Factor: |  |  |  | 5.0 |  |  |  |  | Vial/Well bottom sensing: |  |  | Yes
Injection
|  | Injection Mode: |  |  |  | Injection with needle wash |  |  |  |  | Injection Volume: |  |  | 10.00 µL
Needle Wash
|  | Needle Wash Location: |  |  |  | Flush Port |  |  |  |  | Wash Time: |  |  | 5.0 s
High throughput
|  | Automatic Delay Volume Reduction: |  |  |  | No
Overlapped Injection
|  | Enable Overlapped Injection: |  |  |  | No
Thermostat
|  | Not Ready Temperature Mode: |  |  |  | Enable Analysis With Any Temperature |  |  |  |  | Thermostat Control: |  |  | Thermostat Control Set Value
|  | Thermostat Temperature: |  |  |  | 4 °C
Valve Switching
|  | Valve Movements: |  |  |  | 0
Valve Switch Time 1
|  | Switch Time 1 Enabled: |  |  |  | No
Valve Switch Time 2
|  | Switch Time 2 Enabled: |  |  |  | No
Valve Switch Time 3
|  | Switch Time 3 Enabled: |  |  |  | No
Valve Switch Time 4
|  | Switch Time 4 Enabled: |  |  |  | No
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/No Limit
Posttime
|  | Posttime Mode: |  |  |  | Off
Method Properties
|  | Instrument Technique: |  |  |  | Liquid Chromatography
Schema version
|  | Schema version: |  |  |  | 2.3

## Page 57
Processing method:
| Data Analysis Method: |  |  |  | RP_PLRPS_CoV_18min.pmx
| Path: |  |  |  | C:\CDSProjects\Project01\Results\241113_RBDJ_rpmComp_Day3_V2.rslt
Method Information
|  | Last Saved As: |  | C:\CDSProjects\Project01\Results\2411 13_RBDJ_rpmComp_Day3_V2.rslt\RP _PLRPS_CoV_18min.pmx |  |  | Modified: |  | 2024-06-24 13:13:24-04:00
[7 empty] | Created: |  | 2020-04-28 13:25:14-04:00
|  | Modifier: |  | SYSTEM
Description:
|  | Creator: |  | SYSTEM
[7 empty] | Method Status: |  | Generic
|  | Version: |  | 2024-0624-1713-24665
|  | Type: |  | GC/LC Area Percent
Method Parameters
Signals
Blank Subtraction
|  | Blank subtraction: |  | Samples only (exclude cal. standards) |  |  | Used blank: |  | Defined in sequence
|  | Specific blank path: |  |  |  |  | Specific blank:
|  | Subtract blank if data rates are different: |  | No |  |  | Signal matching mode: |  | Perform blank subtraction if signal names match
Signal alignment
|  | Use delay: |  | Yes |  |  | Detector: |  | DAD1
|  | RT : |  | 0.000 min |  |  | Delay : |  | 0.000 min
Chromatogram Smoothing
|  | Smoothing algorithm: |  | None
ChemStation integrator
ChemStation integrator parameters
|  | Tangent skim mode: |  | Standard |  |  | Baseline correction: |  | Advanced
|  | Front peak skim height ratio: |  | 0.00 |  |  | Tail peak skim height ratio: |  | 0.00
|  | Skim valley ratio: |  | 20.00 |  |  | Peak to valley ratio: |  | 500.00
Initial timed events
|  | Row ID | Use |  |  | Time (min) |  | Event |  | Value
|  | 1 | Yes |  |  | 0.000 |  | Slope sensitivity |  | 1
|  | 2 | Yes |  |  | 0.000 |  | Peak width |  | 0.07
|  | 3 | Yes |  |  | 0.000 |  | Area reject |  | 1
|  | 4 | Yes |  |  | 0.000 |  | Height reject |  | 7
|  | 5 | Yes |  |  | 0.000 |  | Shoulders mode |  | Tangential
|  | 6 | Yes |  |  | 0.000 |  | Area% reject |  | 0.05
Timed events
|  | Row ID | Use |  |  | Time (min) |  | Event |  | Value
|  | 1 | Yes |  |  | 0.001 |  | Integration |  | Off
|  | 2 | Yes |  |  | 5.000 |  | Integration |  | On
|  | 3 | Yes |  |  | 5.001 |  | Baseline now
|  | 4 | Yes |  |  | 5.002 |  | Baseline hold |  | On
|  | 5 | Yes |  |  | 7.000 |  | Integration |  | Off
Compound parameters
|  | Use time references: |  | No |  |  | Use relative retention time: |  | No
|  | Qualifier count: |  | 2 |  |  | Qualifier RT Window: |  | 0.010 min
|  | Qualifier response window: |  | 20.0 percent |  |  | Response Window Type: |  | Relative
System Suitability
|  | EP: |  | No |  |  | Column performance: |  | None
|  | JP: |  | No |  |  | USP: |  | No
|  | Signal to noise: |  | None |  |  | Noise calculation: |  | P2P
|  | Use blank reference for noise: |  | on blank |  |  | Calculate noise before or after peak: |  | before peak start
|  | Range mode for Noise Selection: |  | Automatic |  |  | Noise range end time: |  | 0.60
|  | Noise range start time: |  | 0.50 |  |  | Noise range relative end time: |  | 0.40
|  | Noise range relative start time: |  | 0.00 |  |  | Overwrite column parameters: |  | No
Custom calculations
|  | Last imported file: |  |  |  |  | Embedded file: |  | No
|  | Created by: |  |  |  |  | Creation date:
|  | Last modified by: |  |  |  |  | Last modified date:
|  | File version: |  |  |  |  | Custom calculations file:
Reporting parameters
|  | From time: |  |  |  |  | To time:
|  | From response: |  |  |  |  | To response:
General reporting parameters
|  | Row ID | Report # |  |  | Report template |  | Report file name |  | Report for sample types
|  | 1 | 1 |  |  |  |  | <DX>_<R> |  | All sample types
|  | 2 | 2 |  |  |  |  | <DX>_<R> |  | All sample types
|  | Row ID | Do print |  |  | Do create file |  | Report selected signals
|  | 1 | No |  |  | No |  | All signals
|  | 2 | No |  |  | No |  | All signals