## Page 1
Sequence name: |  |  | 241228_5um_hGCSF_StrainComp
Description:
Acquisition date: |  |  | 2024-12-28 21:40:56-05:00
Acquired by: |  |  | SYSTEM
Data path: |  |  | C:\CDSProjects\Project01\Results\241228_5um_hGCSF_StrainComp.rslt
Sequence Integration
| Samp le Vial Numb er | Sample Name |  |  | RT | Area | % | Injection | mg/L
| P2-C1 | GCSF - sHN49 |  |  | 6.613 | 7115.8422 | 100 | 40 | 98.8311
| P2-C2 | GCSF - sHN51 |  |  | 6.636 | 7610.4816 | 100 | 40 | 105.7011
| P2-C3 | GCSF - sHN53 |  |  | 6.615 | 7236.1925 | 100 | 40 | 100.5027
| P2-C4 | GCSF - sHN54 |  |  | 6.608 | 7348.2597 | 100 | 40 | 102.0592
| P2-C5 | GCSF - sHN55 |  |  | 6.609 | 7411.987 | 100 | 40 | 102.9443
| P2-C6 | GCSF - sHN56 |  |  | 6.622 | 7170.0694 | 100 | 40 | 99.5843
| P2-C7 | GCSF - sHN49 |  |  | 6.61 | 7221.3591 | 100 | 40 | 100.2967
| P2-C8 | GCSF - sHN51 |  |  | 6.615 | 7571.5298 | 100 | 40 | 105.1601
| P2-C9 | GCSF - sHN53 |  |  | 6.612 | 7353.3962 | 100 | 40 | 102.1305
| P2-C10 | GCSF - sHN54 |  |  | 6.625 | 7320.5081 | 100 | 40 | 101.6737
| P2-C11 | GCSF - sHN55 |  |  | 6.614 | 7476.9326 | 100 | 40 | 103.8463
| P2-C12 | GCSF - sHN56 |  |  | 6.596 | 7254.0696 | 100 | 40 | 100.751
| P2-D1 | GCSF - sHN49 |  |  | 6.598 | 7511.2939 | 100 | 40 | 104.3235
| P2-D2 | GCSF - sHN51 |  |  | 6.615 | 7520.207 | 100 | 40 | 104.4473
| P2-D3 | GCSF - sHN53 |  |  | 6.624 | 7263.7807 | 100 | 40 | 100.8858
| P2-D4 | GCSF - sHN54 |  |  | 6.615 | 7448.449 | 100 | 40 | 103.4507
| P2-D5 | GCSF - sHN55 |  |  | 6.615 | 7409.1591 | 100 | 40 | 102.905
| P2-D6 | GCSF - sHN56 |  |  | 6.622 | 7257.9747 | 100 | 40 | 100.8052
| P2-D7 | GCSF - sHN57 |  |  | 6.625 | 7823.5142 | 100 | 40 | 108.6599
| P2-D8 | GCSF - sHN57 |  |  | 6.608 | 8095.3307 | 100 | 40 | 112.4351
| P2-D9 | GCSF - sHN57 |  |  | 6.621 | 7967.3195 | 100 | 40 | 110.6572
| P2-D10 | GCSF - sHN88 |  |  | 6.615 | 7782.3527 | 100 | 40 | 108.0882
| P2-D11 | GCSF - sHN88 |  |  | 6.622 | 7590.3651 | 100 | 40 | 105.4217
| P2-D12 | GCSF - sHN88 |  |  | 6.612 | 7796.1655 | 100 | 40 | 108.2801

## Page 2
Sequence Table: |  |  |  | Bracketing Mode: |  | None
Seq. Line: |  | 1
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-28 21-41-19-05-00-01.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 2
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-28 21-59-33-05-00-02.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 3
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-28 22-17-50-05-00-03.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 4
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-28 22-37-16-05-00-04.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 5
| Location: |  | P2-C1 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-28 22-56-49-05-00-05.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 6
| Location: |  | P2-C2 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-28 23-16-15-05-00-06.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 7
| Location: |  | P2-C3 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-28 23-35-40-05-00-07.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 8
| Location: |  | P2-C4 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-28 23-55-05-05-00-08.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 9
| Location: |  | P2-C5 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-29 00-14-30-05-00-09.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 10
| Location: |  | P2-C6 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-29 00-33-57-05-00-10.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 11
| Location: |  | P2-C7 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-29 00-53-22-05-00-11.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 12
| Location: |  | P2-C8 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-29 01-12-47-05-00-12.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 13
| Location: |  | P2-C9 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-29 01-32-14-05-00-13.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 14
| Location: |  | P2-C10 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-29 01-51-38-05-00-14.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 15
| Location: |  | P2-C11 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-29 02-11-04-05-00-15.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 16
| Location: |  | P2-C12 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-29 02-30-30-05-00-16.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 17
| Location: |  | P2-D1 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-29 02-49-55-05-00-17.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 18
| Location: |  | P2-D2 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-29 03-09-21-05-00-18.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 19
| Location: |  | P2-D3 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-29 03-28-47-05-00-19.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 20
| Location: |  | P2-D4 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-29 03-48-12-05-00-20.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 21
| Location: |  | P2-D5 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-29 04-07-38-05-00-21.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 22
| Location: |  | P2-D6 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-29 04-27-04-05-00-22.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 23
| Location: |  | P2-D7 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-29 04-46-30-05-00-23.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 24
| Location: |  | P2-D8 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-29 05-05-54-05-00-24.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 25
| Location: |  | P2-D9 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-29 05-25-18-05-00-25.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 26
| Location: |  | P2-D10 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-29 05-44-44-05-00-26.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 27
| Location: |  | P2-D11 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-29 06-04-09-05-00-27.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 28
| Location: |  | P2-D12 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-29 06-23-36-05-00-28.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1

## Page 3
Sample name: | blank
Data file: | 2024-12-28 21-41-19-05-00-01.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-12-28 21:41:30-05:00
Inj. volume: | 0.000 | Location: | P1-A1
Acq. method: | HN_RP_GCSF_18Min_3.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 4
Sample name: | blank
Data file: | 2024-12-28 21-59-33-05-00-02.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-12-28 21:59:47-05:00
Inj. volume: | 0.000 | Location: | P1-A1
Acq. method: | HN_RP_GCSF_18Min_3.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 5
Sample name: | blank
Data file: | 2024-12-28 22-17-50-05-00-03.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-12-28 22:19:12-05:00
Inj. volume: | 50.000 | Location: | P1-A1
Acq. method: | HN_RP_GCSF_18Min_3.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 6
Sample name: | blank
Data file: | 2024-12-28 22-37-16-05-00-04.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-12-28 22:38:45-05:00
Inj. volume: | 50.000 | Location: | P1-A1
Acq. method: | HN_RP_GCSF_18Min_3.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 7
Sample name: | GCSF
Data file: | 2024-12-28 22-56-49-05-00-05.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-28 22:58:12-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-C1
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.613 | 7115.8422 |  | 229.7238 |  | 100
|  | Sum | 7115.8422

## Page 8
Sample name: | GCSF
Data file: | 2024-12-28 23-16-15-05-00-06.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-28 23:17:36-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-C2
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.636 | 7610.4816 |  | 232.615 |  | 100
|  | Sum | 7610.4816

## Page 9
Sample name: | GCSF
Data file: | 2024-12-28 23-35-40-05-00-07.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-28 23:37:01-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-C3
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.615 | 7236.1925 |  | 219.583 |  | 100
|  | Sum | 7236.1925

## Page 10
Sample name: | GCSF
Data file: | 2024-12-28 23-55-05-05-00-08.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-28 23:56:26-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-C4
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.608 | 7348.2597 |  | 217.6113 |  | 100
|  | Sum | 7348.2597

## Page 11
Sample name: | GCSF
Data file: | 2024-12-29 00-14-30-05-00-09.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 00:15:52-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-C5
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.609 | 7411.987 |  | 228.0604 |  | 100
|  | Sum | 7411.987

## Page 12
Sample name: | GCSF
Data file: | 2024-12-29 00-33-57-05-00-10.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 00:35:18-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-C6
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.622 | 7170.0694 |  | 223.9861 |  | 100
|  | Sum | 7170.0694

## Page 13
Sample name: | GCSF
Data file: | 2024-12-29 00-53-22-05-00-11.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 00:54:44-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-C7
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.61 | 7221.3591 |  | 219.6597 |  | 100
|  | Sum | 7221.3591

## Page 14
Sample name: | GCSF
Data file: | 2024-12-29 01-12-47-05-00-12.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 01:14:11-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-C8
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.615 | 7571.5298 |  | 230.1742 |  | 100
|  | Sum | 7571.5298

## Page 15
Sample name: | GCSF
Data file: | 2024-12-29 01-32-14-05-00-13.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 01:33:35-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-C9
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.612 | 7353.3962 |  | 222.953 |  | 100
|  | Sum | 7353.3962

## Page 16
Sample name: | GCSF
Data file: | 2024-12-29 01-51-38-05-00-14.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 01:53:00-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-C10
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.625 | 7320.5081 |  | 215.4641 |  | 100
|  | Sum | 7320.5081

## Page 17
Sample name: | GCSF
Data file: | 2024-12-29 02-11-04-05-00-15.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 02:12:25-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-C11
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.614 | 7476.9326 |  | 231.4395 |  | 100
|  | Sum | 7476.9326

## Page 18
Sample name: | GCSF
Data file: | 2024-12-29 02-30-30-05-00-16.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 02:31:51-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-C12
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.596 | 7254.0696 |  | 223.2847 |  | 100
|  | Sum | 7254.0696

## Page 19
Sample name: | GCSF
Data file: | 2024-12-29 02-49-55-05-00-17.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 02:51:17-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-D1
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.598 | 7511.2939 |  | 227.4634 |  | 100
|  | Sum | 7511.2939

## Page 20
Sample name: | GCSF
Data file: | 2024-12-29 03-09-21-05-00-18.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 03:10:43-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-D2
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.615 | 7520.207 |  | 224.7121 |  | 100
|  | Sum | 7520.207

## Page 21
Sample name: | GCSF
Data file: | 2024-12-29 03-28-47-05-00-19.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 03:30:10-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-D3
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.624 | 7263.7807 |  | 210.0606 |  | 100
|  | Sum | 7263.7807

## Page 22
Sample name: | GCSF
Data file: | 2024-12-29 03-48-12-05-00-20.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 03:49:34-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-D4
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.615 | 7448.449 |  | 212.4821 |  | 100
|  | Sum | 7448.449

## Page 23
Sample name: | GCSF
Data file: | 2024-12-29 04-07-38-05-00-21.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 04:09:01-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-D5
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.615 | 7409.1591 |  | 228.1966 |  | 100
|  | Sum | 7409.1591

## Page 24
Sample name: | GCSF
Data file: | 2024-12-29 04-27-04-05-00-22.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 04:28:27-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-D6
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.622 | 7257.9747 |  | 219.1927 |  | 100
|  | Sum | 7257.9747

## Page 25
Sample name: | GCSF
Data file: | 2024-12-29 04-46-30-05-00-23.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 04:47:51-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-D7
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.625 | 7823.5142 |  | 241.3931 |  | 100
|  | Sum | 7823.5142

## Page 26
Sample name: | GCSF
Data file: | 2024-12-29 05-05-54-05-00-24.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 05:07:15-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-D8
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.608 | 8095.3307 |  | 243.1554 |  | 100
|  | Sum | 8095.3307

## Page 27
Sample name: | GCSF
Data file: | 2024-12-29 05-25-18-05-00-25.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 05:26:41-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-D9
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.621 | 7967.3195 |  | 239.9779 |  | 100
|  | Sum | 7967.3195

## Page 28
Sample name: | GCSF
Data file: | 2024-12-29 05-44-44-05-00-26.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 05:46:06-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-D10
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.615 | 7782.3527 |  | 238.5498 |  | 100
|  | Sum | 7782.3527

## Page 29
Sample name: | GCSF
Data file: | 2024-12-29 06-04-09-05-00-27.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 06:05:32-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-D11
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.622 | 7590.3651 |  | 233.1302 |  | 100
|  | Sum | 7590.3651

## Page 30
Sample name: | GCSF
Data file: | 2024-12-29 06-23-36-05-00-28.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 06:24:58-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-D12
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.612 | 7796.1655 |  | 240.3135 |  | 100
|  | Sum | 7796.1655

## Page 32
Method Summary
Processing method: | [7 empty] | RP_PLRPS_HSA_18min.pmx
| Method version: | [5 empty] | 2024-0724-2106-14943
| Line# |  | Location |  | Sample Name |  |  |  |  | Injection modified |  |  | Acq. Method |  |  | ACQ Method Version
| 1 |  | P1-A1 |  | blank |  |  |  |  | 2024-12-28 21:59:39- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 2 |  | P1-A1 |  | blank |  |  |  |  | 2024-12-28 22:17:54- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 3 |  | P1-A1 |  | blank |  |  |  |  | 2024-12-28 22:37:18- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 4 |  | P1-A1 |  | blank |  |  |  |  | 2024-12-28 22:56:52- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 5 |  | P2-C1 |  | GCSF |  |  |  |  | 2024-12-29 12:33:19- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 6 |  | P2-C2 |  | GCSF |  |  |  |  | 2024-12-29 12:33:32- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 7 |  | P2-C3 |  | GCSF |  |  |  |  | 2024-12-29 12:33:40- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 8 |  | P2-C4 |  | GCSF |  |  |  |  | 2024-12-29 12:34:02- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 9 |  | P2-C5 |  | GCSF |  |  |  |  | 2024-12-29 12:34:16- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 10 |  | P2-C6 |  | GCSF |  |  |  |  | 2024-12-29 12:34:21- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 11 |  | P2-C7 |  | GCSF |  |  |  |  | 2024-12-29 12:34:48- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 12 |  | P2-C8 |  | GCSF |  |  |  |  | 2024-12-29 12:35:00- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 13 |  | P2-C9 |  | GCSF |  |  |  |  | 2024-12-29 12:35:08- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 14 |  | P2-C10 |  | GCSF |  |  |  |  | 2024-12-29 12:35:24- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 15 |  | P2-C11 |  | GCSF |  |  |  |  | 2024-12-29 12:35:41- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 16 |  | P2-C12 |  | GCSF |  |  |  |  | 2024-12-29 12:36:06- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 17 |  | P2-D1 |  | GCSF |  |  |  |  | 2024-12-29 12:36:16- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 18 |  | P2-D2 |  | GCSF |  |  |  |  | 2024-12-29 12:36:58- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 19 |  | P2-D3 |  | GCSF |  |  |  |  | 2024-12-29 12:37:24- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 20 |  | P2-D4 |  | GCSF |  |  |  |  | 2024-12-29 12:37:35- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 21 |  | P2-D5 |  | GCSF |  |  |  |  | 2024-12-29 12:40:02- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 22 |  | P2-D6 |  | GCSF |  |  |  |  | 2024-12-29 12:40:11- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 23 |  | P2-D7 |  | GCSF |  |  |  |  | 2024-12-29 12:40:22- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 24 |  | P2-D8 |  | GCSF |  |  |  |  | 2024-12-29 12:40:30- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 25 |  | P2-D9 |  | GCSF |  |  |  |  | 2024-12-29 12:40:37- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 26 |  | P2-D10 |  | GCSF |  |  |  |  | 2024-12-29 12:40:44- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 27 |  | P2-D11 |  | GCSF |  |  |  |  | 2024-12-29 12:40:52- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 28 |  | P2-D12 |  | GCSF |  |  |  |  | 2024-12-29 12:41:03- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
Acquisition Method: | [7 empty] | HN_RP_GCSF_18Min_3.amx
Path: | [7 empty] | C:\CDSProjects\Project01\Results\241228_5um_hGCSF_StrainComp.rslt
Method Information
|  | Last Saved As: |  |  |  | C:\CDSProjects\Project01\Methods\HN _RP_GCSF_18Min_3.amx |  |  |  |  | Modified: |  |  | 2024-03-16 19:03:22-04:00
|  | Modifier: |  |  |  | SYSTEM |  |  |  |  | Created: |  |  | 2024-03-16 18:12:21-04:00
|  | Creator: |  |  |  | SYSTEM |  |  |  |  | Description:
|  | Version: |  |  |  | 2024-0316-2303-22919 |  |  |  |  | Method Status: |  |  | Generic
DAD Method
|  | Peakwidth: |  |  |  | > 0.0031 min (0.063 s response time) (80 Hz) |  |  |  |  | UV Lamp Required: |  |  | Yes
|  | Module Display Name: |  |  |  | DAD |  |  |  |  | Module Type: |  |  | G4212B
|  | Order: |  |  |  | 1
Analog Output
|  | Analog Zero Offset: |  |  |  | 5 % |  |  |  |  | Analog Attenuation: |  |  | 1000 mAU
Signals
Signal table
|  | Row ID |  | Acquire |  |  |  |  | Signal |  |  | Wavelength (nm) |  |  | Bandwidth (nm)
|  | 1 |  | No |  |  |  |  | Signal A
|  | 2 |  | No |  |  |  |  | Signal B
|  | 3 |  | Yes |  |  |  |  | Signal C |  |  | 214.0 |  |  | 4.0
|  | 4 |  | No |  |  |  |  | Signal D
|  | 5 |  | No |  |  |  |  | Signal E
|  | 6 |  | No |  |  |  |  | Signal F
|  | 7 |  | No |  |  |  |  | Signal G
|  | 8 |  | No |  |  |  |  | Signal H
|  | Row ID |  | Use Ref. |  |  |  |  | Ref Wavel. (nm) |  |  | Ref Bandw. (nm)
1
2
|  | 3 |  | Yes |  |  |  |  | 360.0 |  |  | 100.0
4
5
6
7
8
Prepare Mode
|  | Margin for negative Absorbance: |  |  |  | 100 mAU
Autobalance
|  | Autobalance Prerun: |  |  |  | Yes |  |  |  |  | Autobalance Postrun: |  |  | No
Spectrum
|  | Spectrum Range WL from: |  |  |  | 190.0 nm |  |  |  |  | Spectrum Range WL to: |  |  | 400.0 nm
|  | Spectrum Step: |  |  |  | 2.0 nm |  |  |  |  | Spectrum Store: |  |  | All
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/Injector
Posttime
|  | Posttime Mode: |  |  |  | Off
Column Comp. Method
|  | Valve Position: |  |  |  | Position 4 (Port 4 -> 4') |  |  |  |  | Position Switch After Run: |  |  | Do not switch
|  | Module Display Name: |  |  |  | Column Comp. |  |  |  |  | Module Type: |  |  | G7116A
|  | Order: |  |  |  | 1
Left Temperature Control
|  | Temperature Control Mode: |  |  |  | Temperature Set |  |  |  |  | Temperature: |  |  | 80.0 °C
Enable Analysis Left Temperature
|  | Enable Analysis Left Temperature On: |  |  |  | Yes |  |  |  |  | Enable Analysis Left Temperature Value: |  |  | 0.8 °C
|  | Left Temp. Equilibration Time: |  |  |  | 0.0 min
Right Temperature Control
|  | Right temperature Control Mode: |  |  |  | Temperature Set |  |  |  |  | Right temperature: |  |  | 80.0 °C
Enable Analysis Right Temperature
|  | Enable Analysis Right Temperature On: |  |  |  | Yes |  |  |  |  | Enable Analysis Right Temperature Value: |  |  | 0.8 °C
|  | Right Temp. Equilibration Time: |  |  |  | 0.0 min
Enforce column for run
|  | Enforce column for run enabled: |  |  |  | No
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/Injector
Posttime
|  | Posttime Mode: |  |  |  | Off
Quat. Pump Method
|  | Flow: |  |  |  | 0.600 mL/min |  |  |  |  | Low Pressure Limit: |  |  | 0.00 bar
|  | High Pressure Limit: |  |  |  | 400.00 bar |  |  |  |  | Maximum Flow Gradient: |  |  | 1.000 mL/min²
|  | Primary Channel: |  |  |  | Automatic |  |  |  |  | Module Display Name: |  |  | Quat. Pump
|  | Module Type: |  |  |  | G1311B |  |  |  |  | Order: |  |  | 1
Solvent Composition
|  | Row ID |  | Channel |  |  |  |  | Name 1 |  |  | Used |  |  | Percent (%)
|  | 1 |  | A |  |  |  |  | 5mM H2SO4 |  |  | Yes |  |  | 0.0
|  | 2 |  | B |  |  |  |  | 5mM H2SO4 |  |  | No
|  | 3 |  | C |  |  |  |  | 100% H2O |  |  | Yes |  |  | 70.0
|  | 4 |  | D |  |  |  |  | 100% ACN |  |  | Yes |  |  | 30.0
Timetable
|  | Row ID |  | Time (min) |  |  |  |  | A (%) |  |  | B (%) |  |  | C (%)
|  | 1 |  | 1.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | 2 |  | 4.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 50.0
|  | 3 |  | 13.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 30.0
|  | 4 |  | 13.50 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 5.0
|  | 5 |  | 14.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 5.0
|  | 6 |  | 14.50 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | 7 |  | 18.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | Row ID |  | D (%) |  |  |  |  | Flow (mL/min) |  |  | Pressure (bar)
|  | 1 |  | 30.0 |  |  |  |  | --- |  |  | ---
|  | 2 |  | 50.0 |  |  |  |  | --- |  |  | ---
|  | 3 |  | 70.0 |  |  |  |  | --- |  |  | ---
|  | 4 |  | 95.0 |  |  |  |  | --- |  |  | ---
|  | 5 |  | 95.0 |  |  |  |  | --- |  |  | ---
|  | 6 |  | 30.0 |  |  |  |  | --- |  |  | ---
|  | 7 |  | 30.0 |  |  |  |  | --- |  |  | ---
Stroke
|  | Automatic Stroke Calculation: |  |  |  | Yes
Compress
|  | Compressibility Mode: |  |  |  | Compressibility Value Set |  |  |  |  | Compressibility: |  |  | 100 10e-6/bar
Stoptime
|  | Stoptime Mode: |  |  |  | Time set |  |  |  |  | Stoptime: |  |  | 18.00 min
Posttime
|  | Posttime Mode: |  |  |  | Off
HiP Sampler Method
|  | Module Display Name: |  |  |  | HiP Sampler |  |  |  |  | Module Type: |  |  | G1367E
|  | Order: |  |  |  | 1
Auxiliary
|  | Draw Speed: |  |  |  | 100.0 µL/min |  |  |  |  | Eject Speed: |  |  | 200.0 µL/min
|  | Draw Position Offset: |  |  |  | 0.0 mm |  |  |  |  | Wait Time After Drawing: |  |  | 1.2 s
|  | Sample Flush Out Factor: |  |  |  | 5.0 |  |  |  |  | Vial/Well bottom sensing: |  |  | Yes
Injection
|  | Injection Mode: |  |  |  | Injection with needle wash |  |  |  |  | Injection Volume: |  |  | 10.00 µL
Needle Wash
|  | Needle Wash Location: |  |  |  | Flush Port |  |  |  |  | Wash Time: |  |  | 5.0 s
High throughput
|  | Automatic Delay Volume Reduction: |  |  |  | No
Overlapped Injection
|  | Enable Overlapped Injection: |  |  |  | No
Thermostat
|  | Not Ready Temperature Mode: |  |  |  | Enable Analysis With Any Temperature |  |  |  |  | Thermostat Control: |  |  | Thermostat Control Set Value
|  | Thermostat Temperature: |  |  |  | 4 °C
Valve Switching
|  | Valve Movements: |  |  |  | 0
Valve Switch Time 1
|  | Switch Time 1 Enabled: |  |  |  | No
Valve Switch Time 2
|  | Switch Time 2 Enabled: |  |  |  | No
Valve Switch Time 3
|  | Switch Time 3 Enabled: |  |  |  | No
Valve Switch Time 4
|  | Switch Time 4 Enabled: |  |  |  | No
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/No Limit
Posttime
|  | Posttime Mode: |  |  |  | Off
Method Properties
|  | Instrument Technique: |  |  |  | Liquid Chromatography
Schema version
|  | Schema version: |  |  |  | 2.3

## Page 33
Processing method:
| Data Analysis Method: |  |  |  | RP_PLRPS_HSA_18min.pmx
| Path: |  |  |  | C:\CDSProjects\Project01\Results\241228_5um_hGCSF_StrainComp.rslt
Method Information
|  | Last Saved As: |  | C:\CDSProjects\Project01\Results\2412 28_5um_hGCSF_StrainComp.rslt\RP_ PLRPS_HSA_18min.pmx |  |  | Modified: |  | 2024-07-24 17:06:14-04:00
[7 empty] | Created: |  | 2020-04-28 13:25:14-04:00
|  | Modifier: |  | SYSTEM
Description:
|  | Creator: |  | SYSTEM
[7 empty] | Method Status: |  | Generic
|  | Version: |  | 2024-0724-2106-14943
|  | Type: |  | GC/LC Area Percent
Method Parameters
Signals
Blank Subtraction
|  | Blank subtraction: |  | Samples only (exclude cal. standards) |  |  | Used blank: |  | Defined in sequence
|  | Specific blank path: |  |  |  |  | Specific blank:
|  | Subtract blank if data rates are different: |  | No |  |  | Signal matching mode: |  | Perform blank subtraction if signal names match
Signal alignment
|  | Use delay: |  | Yes |  |  | Detector: |  | DAD1
|  | RT : |  | 0.000 min |  |  | Delay : |  | 0.000 min
Chromatogram Smoothing
|  | Smoothing algorithm: |  | None
ChemStation integrator
ChemStation integrator parameters
|  | Tangent skim mode: |  | Standard |  |  | Baseline correction: |  | Advanced
|  | Front peak skim height ratio: |  | 0.00 |  |  | Tail peak skim height ratio: |  | 0.00
|  | Skim valley ratio: |  | 20.00 |  |  | Peak to valley ratio: |  | 500.00
Initial timed events
|  | Row ID | Use |  |  | Time (min) |  | Event |  | Value
|  | 1 | Yes |  |  | 0.000 |  | Slope sensitivity |  | 1
|  | 2 | Yes |  |  | 0.000 |  | Peak width |  | 0.07
|  | 3 | Yes |  |  | 0.000 |  | Area reject |  | 1
|  | 4 | Yes |  |  | 0.000 |  | Height reject |  | 7
|  | 5 | Yes |  |  | 0.000 |  | Shoulders mode |  | Tangential
|  | 6 | Yes |  |  | 0.000 |  | Area% reject |  | 0.05
Timed events
|  | Row ID | Use |  |  | Time (min) |  | Event |  | Value
|  | 1 | Yes |  |  | 0.001 |  | Integration |  | Off
|  | 2 | Yes |  |  | 5.700 |  | Integration |  | On
|  | 3 | Yes |  |  | 5.701 |  | Baseline now
|  | 4 | Yes |  |  | 5.702 |  | Baseline hold |  | On
|  | 5 | Yes |  |  | 8.000 |  | Integration |  | Off
Compound parameters
|  | Use time references: |  | No |  |  | Use relative retention time: |  | No
|  | Qualifier count: |  | 2 |  |  | Qualifier RT Window: |  | 0.010 min
|  | Qualifier response window: |  | 20.0 percent |  |  | Response Window Type: |  | Relative
System Suitability
|  | EP: |  | No |  |  | Column performance: |  | None
|  | JP: |  | No |  |  | USP: |  | No
|  | Signal to noise: |  | None |  |  | Noise calculation: |  | P2P
|  | Use blank reference for noise: |  | on blank |  |  | Calculate noise before or after peak: |  | before peak start
|  | Range mode for Noise Selection: |  | Automatic |  |  | Noise range end time: |  | 0.60
|  | Noise range start time: |  | 0.50 |  |  | Noise range relative end time: |  | 0.40
|  | Noise range relative start time: |  | 0.00 |  |  | Overwrite column parameters: |  | No
Custom calculations
|  | Last imported file: |  |  |  |  | Embedded file: |  | No
|  | Created by: |  |  |  |  | Creation date:
|  | Last modified by: |  |  |  |  | Last modified date:
|  | File version: |  |  |  |  | Custom calculations file:
Reporting parameters
|  | From time: |  |  |  |  | To time:
|  | From response: |  |  |  |  | To response:
General reporting parameters
|  | Row ID | Report # |  |  | Report template |  | Report file name |  | Report for sample types
|  | 1 | 1 |  |  |  |  | <DX>_<R> |  | All sample types
|  | 2 | 2 |  |  |  |  | <DX>_<R> |  | All sample types
|  | Row ID | Do print |  |  | Do create file |  | Report selected signals
|  | 1 | No |  |  | No |  | All signals
|  | 2 | No |  |  | No |  | All signals