## Page 1
Sequence name: |  |  | 241230_5um_hGCSF_StrainComp_D3241230_5um_hGCSF_StrainComp_D3
Description:
Acquisition date: |  |  | 2024-12-30 20:00:30-05:00
Acquired by: |  |  | SYSTEM
Data path: |  |  | C:\CDSProjects\Project01\Results\241230_5um_hGCSF_StrainComp_D3241230 _5um_hGCSF_StrainComp_D3.rslt
Sequence Integration
| Samp le Vial Numb er | Sample Name |  |  | RT | Area | % | Injection | mg/L
| P2-C1 | GCSF - sHN49 |  |  | 6.171 | 6707.6322 | 100 | 20 | 186.3231
| P2-C2 | GCSF - sHN51 |  |  | 6.628 | 7604.2537 | 100 | 20 | 211.2293
| P2-C3 | GCSF - sHN53 |  |  | 6.165 | 6876.7294 | 100 | 20 | 191.0203
| P2-C4 | GCSF - sHN54 |  |  | 6.167 | 6740.8796 | 100 | 20 | 187.2467
| P2-C5 | GCSF - sHN55 |  |  | 6.162 | 7605.9218 | 100 | 20 | 211.2756
| P2-C6 | GCSF - sHN56 |  |  | 6.62 | 7451.0308 | 100 | 20 | 206.9731
| P2-C7 | GCSF - sHN49 |  |  | 6.169 | 6863.2548 | 100 | 20 | 190.646
| P2-C8 | GCSF - sHN51 |  |  | 6.632 | 7727.0034 | 100 | 20 | 214.639
| P2-C9 | GCSF - sHN53 |  |  | 6.168 | 6833.0427 | 100 | 20 | 189.8067
| P2-C10 | GCSF - sHN54 |  |  | 6.173 | 6614.1394 | 100 | 20 | 183.7261
| P2-C11 | GCSF - sHN55 |  |  | 6.628 | 7674.9196 | 100 | 20 | 213.1922
| P2-C12 | GCSF - sHN56 |  |  | 6.628 | 7719.7384 | 100 | 20 | 214.4372
| P2-D1 | GCSF - sHN49 |  |  | 6.614 | 6961.1703 | 100 | 20 | 193.3658
| P2-D2 | GCSF - sHN51 |  |  | 6.618 | 7569.881 | 100 | 20 | 210.2745
| P2-D3 | GCSF - sHN53 |  |  | 6.158 | 6918.5344 | 100 | 20 | 192.1815
| P2-D4 | GCSF - sHN54 |  |  | 6.164 | 6589.9398 | 100 | 20 | 183.0539
| P2-D5 | GCSF - sHN55 |  |  | 6.162 | 7522.7926 | 100 | 20 | 208.9665
| P2-D6 | GCSF - sHN56 |  |  | 6.614 | 7659.3037 | 100 | 20 | 212.7584
| P2-D7 | GCSF - sHN57 |  |  | 6.628 | 7406.5681 | 100 | 20 | 205.738
| P2-D8 | GCSF - sHN57 |  |  | 6.161 | 7568.2741 | 100 | 20 | 210.2298
| P2-D9 | GCSF - sHN57 |  |  | 6.639 | 7729.8437 | 100 | 20 | 214.7179
| P2-D10 | GCSF - sHN88 |  |  | 6.618 | 7588.3961 | 100 | 20 | 210.7888
| P2-D11 | GCSF - sHN88 |  |  | 6.164 | 7217.5204 | 100 | 20 | 200.4867
| P2-D12 | GCSF - sHN88 |  |  | 6.635 | 7356.4001 | 100 | 20 | 204.3444

## Page 2
Sequence Table: |  |  |  | Bracketing Mode: |  | None
Seq. Line: |  | 1
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-30 20-00-53-05-00-01.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 2
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-30 20-19-08-05-00-02.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 3
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-30 20-37-25-05-00-03.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 4
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-30 20-55-42-05-00-04.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 5
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-30 21-15-07-05-00-05.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 6
| Location: |  | P2-C1 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-30 21-34-41-05-00-06.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 7
| Location: |  | P2-C2 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-30 21-53-56-05-00-07.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 8
| Location: |  | P2-C3 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-30 22-13-04-05-00-08.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 9
| Location: |  | P2-C4 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-30 22-32-12-05-00-09.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 10
| Location: |  | P2-C5 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-30 22-51-20-05-00-10.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 11
| Location: |  | P2-C6 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-30 23-10-29-05-00-11.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 12
| Location: |  | P2-C7 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-30 23-29-36-05-00-12.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 13
| Location: |  | P2-C8 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-30 23-48-44-05-00-13.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 14
| Location: |  | P2-C9 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-31 00-07-51-05-00-14.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 15
| Location: |  | P2-C10 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-31 00-26-58-05-00-15.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 16
| Location: |  | P2-C11 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-31 00-46-06-05-00-16.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 17
| Location: |  | P2-C12 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-31 01-05-14-05-00-17.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 18
| Location: |  | P2-D1 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-31 01-24-20-05-00-18.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 19
| Location: |  | P2-D2 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-31 01-43-27-05-00-19.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 20
| Location: |  | P2-D3 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-31 02-02-35-05-00-20.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 21
| Location: |  | P2-D4 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-31 02-21-43-05-00-21.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 22
| Location: |  | P2-D5 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-31 02-40-49-05-00-22.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 23
| Location: |  | P2-D6 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-31 02-59-57-05-00-23.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 24
| Location: |  | P2-D7 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-31 03-19-04-05-00-24.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 25
| Location: |  | P2-D8 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-31 03-38-11-05-00-25.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 26
| Location: |  | P2-D9 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-31 03-57-18-05-00-26.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 27
| Location: |  | P2-D10 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-31 04-16-26-05-00-27.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 28
| Location: |  | P2-D11 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-31 04-35-34-05-00-28.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 29
| Location: |  | P2-D12 |  | Sample name: | GCSF
Sample info:
| Acq. Method: |  | HN_RP_GCSF_18Min_3.amx |  | Data file: | 2024-12-31 04-54-41-05-00-29.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 20.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1

## Page 3
Sample name: | blank
Data file: | 2024-12-30 20-00-53-05-00-01.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-12-30 20:01:04-05:00
Inj. volume: | 0.000 | Location: | P1-A1
Acq. method: | HN_RP_GCSF_18Min_3.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 4
Sample name: | blank
Data file: | 2024-12-30 20-19-08-05-00-02.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-12-30 20:19:22-05:00
Inj. volume: | 0.000 | Location: | P1-A1
Acq. method: | HN_RP_GCSF_18Min_3.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 5
Sample name: | blank
Data file: | 2024-12-30 20-37-25-05-00-03.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-12-30 20:37:38-05:00
Inj. volume: | 0.000 | Location: | P1-A1
Acq. method: | HN_RP_GCSF_18Min_3.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 6
Sample name: | blank
Data file: | 2024-12-30 20-55-42-05-00-04.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-12-30 20:57:03-05:00
Inj. volume: | 50.000 | Location: | P1-A1
Acq. method: | HN_RP_GCSF_18Min_3.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 7
Sample name: | blank
Data file: | 2024-12-30 21-15-07-05-00-05.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-12-30 21:16:37-05:00
Inj. volume: | 50.000 | Location: | P1-A1
Acq. method: | HN_RP_GCSF_18Min_3.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 8
Sample name: | GCSF
Data file: | 2024-12-30 21-34-41-05-00-06.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 21:35:53-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-C1
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.171 | 6707.6322 |  | 140.9566 |  | 100
|  | Sum | 6707.6322

## Page 9
Sample name: | GCSF
Data file: | 2024-12-30 21-53-56-05-00-07.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 21:55:00-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-C2
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.628 | 7604.2537 |  | 166.6062 |  | 100
|  | Sum | 7604.2537

## Page 10
Sample name: | GCSF
Data file: | 2024-12-30 22-13-04-05-00-08.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 22:14:08-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-C3
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.165 | 6876.7294 |  | 158.3301 |  | 100
|  | Sum | 6876.7294

## Page 11
Sample name: | GCSF
Data file: | 2024-12-30 22-32-12-05-00-09.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 22:33:16-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-C4
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.167 | 6740.8796 |  | 155.4784 |  | 100
|  | Sum | 6740.8796

## Page 12
Sample name: | GCSF
Data file: | 2024-12-30 22-51-20-05-00-10.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 22:52:25-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-C5
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.162 | 7605.9218 |  | 160.3382 |  | 100
|  | Sum | 7605.9218

## Page 13
Sample name: | GCSF
Data file: | 2024-12-30 23-10-29-05-00-11.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 23:11:33-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-C6
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.62 | 7451.0308 |  | 163.8097 |  | 100
|  | Sum | 7451.0308

## Page 14
Sample name: | GCSF
Data file: | 2024-12-30 23-29-36-05-00-12.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 23:30:39-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-C7
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.169 | 6863.2548 |  | 141.5257 |  | 100
|  | Sum | 6863.2548

## Page 15
Sample name: | GCSF
Data file: | 2024-12-30 23-48-44-05-00-13.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 23:49:48-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-C8
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.632 | 7727.0034 |  | 169.6517 |  | 100
|  | Sum | 7727.0034

## Page 16
Sample name: | GCSF
Data file: | 2024-12-31 00-07-51-05-00-14.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-31 00:08:54-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-C9
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.168 | 6833.0427 |  | 158.9008 |  | 100
|  | Sum | 6833.0427

## Page 17
Sample name: | GCSF
Data file: | 2024-12-31 00-26-58-05-00-15.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-31 00:28:02-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-C10
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.173 | 6614.1394 |  | 148.8839 |  | 100
|  | Sum | 6614.1394

## Page 18
Sample name: | GCSF
Data file: | 2024-12-31 00-46-06-05-00-16.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-31 00:47:10-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-C11
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.628 | 7674.9196 |  | 166.8047 |  | 100
|  | Sum | 7674.9196

## Page 19
Sample name: | GCSF
Data file: | 2024-12-31 01-05-14-05-00-17.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-31 01:06:16-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-C12
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.628 | 7719.7384 |  | 167.9001 |  | 100
|  | Sum | 7719.7384

## Page 20
Sample name: | GCSF
Data file: | 2024-12-31 01-24-20-05-00-18.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-31 01:25:24-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-D1
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.614 | 6961.1703 |  | 145.1291 |  | 100
|  | Sum | 6961.1703

## Page 21
Sample name: | GCSF
Data file: | 2024-12-31 01-43-27-05-00-19.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-31 01:44:32-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-D2
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.618 | 7569.881 |  | 161.1644 |  | 100
|  | Sum | 7569.881

## Page 22
Sample name: | GCSF
Data file: | 2024-12-31 02-02-35-05-00-20.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-31 02:03:39-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-D3
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.158 | 6918.5344 |  | 162.5419 |  | 100
|  | Sum | 6918.5344

## Page 23
Sample name: | GCSF
Data file: | 2024-12-31 02-21-43-05-00-21.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-31 02:22:47-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-D4
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.164 | 6589.9398 |  | 152.414 |  | 100
|  | Sum | 6589.9398

## Page 24
Sample name: | GCSF
Data file: | 2024-12-31 02-40-49-05-00-22.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-31 02:41:54-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-D5
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.162 | 7522.7926 |  | 161.5307 |  | 100
|  | Sum | 7522.7926

## Page 25
Sample name: | GCSF
Data file: | 2024-12-31 02-59-57-05-00-23.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-31 03:01:01-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-D6
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.614 | 7659.3037 |  | 166.7302 |  | 100
|  | Sum | 7659.3037

## Page 26
Sample name: | GCSF
Data file: | 2024-12-31 03-19-04-05-00-24.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-31 03:20:08-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-D7
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.628 | 7406.5681 |  | 161.5076 |  | 100
|  | Sum | 7406.5681

## Page 27
Sample name: | GCSF
Data file: | 2024-12-31 03-38-11-05-00-25.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-31 03:39:15-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-D8
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.161 | 7568.2741 |  | 162.3057 |  | 100
|  | Sum | 7568.2741

## Page 28
Sample name: | GCSF
Data file: | 2024-12-31 03-57-18-05-00-26.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-31 03:58:22-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-D9
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.639 | 7729.8437 |  | 170.8828 |  | 100
|  | Sum | 7729.8437

## Page 29
Sample name: | GCSF
Data file: | 2024-12-31 04-16-26-05-00-27.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-31 04:17:30-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-D10
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.618 | 7588.3961 |  | 160.3319 |  | 100
|  | Sum | 7588.3961

## Page 30
Sample name: | GCSF
Data file: | 2024-12-31 04-35-34-05-00-28.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-31 04:36:38-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-D11
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.164 | 7217.5204 |  | 154.2628 |  | 100
|  | Sum | 7217.5204

## Page 31
Sample name: | GCSF
Data file: | 2024-12-31 04-54-41-05-00-29.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-31 04:55:45-05:00
Inj. volume: | 20.000 |  |  |  |  | Location: |  | P2-D12
Acq. method: | HN_RP_GCSF_18Min_3.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.635 | 7356.4001 |  | 157.8196 |  | 100
|  | Sum | 7356.4001

## Page 33
Method Summary
Processing method: | [7 empty] | RP_PLRPS_HSA_18min.pmx
| Method version: | [5 empty] | 2024-0724-2106-14943
| Line# |  | Location |  | Sample Name |  |  |  |  | Injection modified |  |  | Acq. Method |  |  | ACQ Method Version
| 1 |  | P1-A1 |  | blank |  |  |  |  | 2024-12-30 20:19:15- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 2 |  | P1-A1 |  | blank |  |  |  |  | 2024-12-30 20:37:28- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 3 |  | P1-A1 |  | blank |  |  |  |  | 2024-12-30 20:55:46- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 4 |  | P1-A1 |  | blank |  |  |  |  | 2024-12-30 21:15:10- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 5 |  | P1-A1 |  | blank |  |  |  |  | 2024-12-30 21:34:44- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 6 |  | P2-C1 |  | GCSF |  |  |  |  | 2024-12-31 01:20:08- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 7 |  | P2-C2 |  | GCSF |  |  |  |  | 2024-12-31 01:20:18- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 8 |  | P2-C3 |  | GCSF |  |  |  |  | 2024-12-31 01:20:32- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 9 |  | P2-C4 |  | GCSF |  |  |  |  | 2024-12-31 01:20:45- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 10 |  | P2-C5 |  | GCSF |  |  |  |  | 2024-12-31 01:21:04- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 11 |  | P2-C6 |  | GCSF |  |  |  |  | 2024-12-31 01:21:16- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 12 |  | P2-C7 |  | GCSF |  |  |  |  | 2024-12-31 01:21:38- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 13 |  | P2-C8 |  | GCSF |  |  |  |  | 2024-12-31 01:21:44- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 14 |  | P2-C9 |  | GCSF |  |  |  |  | 2024-12-31 01:21:52- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 15 |  | P2-C10 |  | GCSF |  |  |  |  | 2024-12-31 01:22:06- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 16 |  | P2-C11 |  | GCSF |  |  |  |  | 2024-12-31 01:22:27- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 17 |  | P2-C12 |  | GCSF |  |  |  |  | 2024-12-31 16:37:14- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 18 |  | P2-D1 |  | GCSF |  |  |  |  | 2024-12-31 16:37:42- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 19 |  | P2-D2 |  | GCSF |  |  |  |  | 2024-12-31 16:37:51- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 20 |  | P2-D3 |  | GCSF |  |  |  |  | 2024-12-31 16:37:59- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 21 |  | P2-D4 |  | GCSF |  |  |  |  | 2024-12-31 16:38:11- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 22 |  | P2-D5 |  | GCSF |  |  |  |  | 2024-12-31 16:38:25- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 23 |  | P2-D6 |  | GCSF |  |  |  |  | 2024-12-31 16:40:27- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 24 |  | P2-D7 |  | GCSF |  |  |  |  | 2024-12-31 16:40:09- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 25 |  | P2-D8 |  | GCSF |  |  |  |  | 2024-12-31 16:40:02- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 26 |  | P2-D9 |  | GCSF |  |  |  |  | 2024-12-31 16:39:51- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 27 |  | P2-D10 |  | GCSF |  |  |  |  | 2024-12-31 16:39:27- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 28 |  | P2-D11 |  | GCSF |  |  |  |  | 2024-12-31 16:39:44- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
| 29 |  | P2-D12 |  | GCSF |  |  |  |  | 2024-12-31 16:39:16- 05:00 |  |  | HN_RP_GCSF_18Min _3.amx |  |  | 2024-0316-2303- 22919
Acquisition Method: | [7 empty] | HN_RP_GCSF_18Min_3.amx
Path: | [7 empty] | C:\CDSProjects\Project01\Results\241230_5um_hGCSF_StrainComp_D3241230_5um_hGCSF_Stra inComp_D3.rslt
Method Information
|  | Last Saved As: |  |  |  | C:\CDSProjects\Project01\Methods\HN _RP_GCSF_18Min_3.amx |  |  |  |  | Modified: |  |  | 2024-03-16 19:03:22-04:00
|  | Modifier: |  |  |  | SYSTEM |  |  |  |  | Created: |  |  | 2024-03-16 18:12:21-04:00
|  | Creator: |  |  |  | SYSTEM |  |  |  |  | Description:
|  | Version: |  |  |  | 2024-0316-2303-22919 |  |  |  |  | Method Status: |  |  | Generic
DAD Method
|  | Peakwidth: |  |  |  | > 0.0031 min (0.063 s response time) (80 Hz) |  |  |  |  | UV Lamp Required: |  |  | Yes
|  | Module Display Name: |  |  |  | DAD |  |  |  |  | Module Type: |  |  | G4212B
|  | Order: |  |  |  | 1
Analog Output
|  | Analog Zero Offset: |  |  |  | 5 % |  |  |  |  | Analog Attenuation: |  |  | 1000 mAU
Signals
Signal table
|  | Row ID |  | Acquire |  |  |  |  | Signal |  |  | Wavelength (nm) |  |  | Bandwidth (nm)
|  | 1 |  | No |  |  |  |  | Signal A
|  | 2 |  | No |  |  |  |  | Signal B
|  | 3 |  | Yes |  |  |  |  | Signal C |  |  | 214.0 |  |  | 4.0
|  | 4 |  | No |  |  |  |  | Signal D
|  | 5 |  | No |  |  |  |  | Signal E
|  | 6 |  | No |  |  |  |  | Signal F
|  | 7 |  | No |  |  |  |  | Signal G
|  | 8 |  | No |  |  |  |  | Signal H
|  | Row ID |  | Use Ref. |  |  |  |  | Ref Wavel. (nm) |  |  | Ref Bandw. (nm)
1
2
|  | 3 |  | Yes |  |  |  |  | 360.0 |  |  | 100.0
4
5
6
7
8
Prepare Mode
|  | Margin for negative Absorbance: |  |  |  | 100 mAU
Autobalance
|  | Autobalance Prerun: |  |  |  | Yes |  |  |  |  | Autobalance Postrun: |  |  | No
Spectrum
|  | Spectrum Range WL from: |  |  |  | 190.0 nm |  |  |  |  | Spectrum Range WL to: |  |  | 400.0 nm
|  | Spectrum Step: |  |  |  | 2.0 nm |  |  |  |  | Spectrum Store: |  |  | All
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/Injector
Posttime
|  | Posttime Mode: |  |  |  | Off
Column Comp. Method
|  | Valve Position: |  |  |  | Position 4 (Port 4 -> 4') |  |  |  |  | Position Switch After Run: |  |  | Do not switch
|  | Module Display Name: |  |  |  | Column Comp. |  |  |  |  | Module Type: |  |  | G7116A
|  | Order: |  |  |  | 1
Left Temperature Control
|  | Temperature Control Mode: |  |  |  | Temperature Set |  |  |  |  | Temperature: |  |  | 80.0 °C
Enable Analysis Left Temperature
|  | Enable Analysis Left Temperature On: |  |  |  | Yes |  |  |  |  | Enable Analysis Left Temperature Value: |  |  | 0.8 °C
|  | Left Temp. Equilibration Time: |  |  |  | 0.0 min
Right Temperature Control
|  | Right temperature Control Mode: |  |  |  | Temperature Set |  |  |  |  | Right temperature: |  |  | 80.0 °C
Enable Analysis Right Temperature
|  | Enable Analysis Right Temperature On: |  |  |  | Yes |  |  |  |  | Enable Analysis Right Temperature Value: |  |  | 0.8 °C
|  | Right Temp. Equilibration Time: |  |  |  | 0.0 min
Enforce column for run
|  | Enforce column for run enabled: |  |  |  | No
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/Injector
Posttime
|  | Posttime Mode: |  |  |  | Off
Quat. Pump Method
|  | Flow: |  |  |  | 0.600 mL/min |  |  |  |  | Low Pressure Limit: |  |  | 0.00 bar
|  | High Pressure Limit: |  |  |  | 400.00 bar |  |  |  |  | Maximum Flow Gradient: |  |  | 1.000 mL/min²
|  | Primary Channel: |  |  |  | Automatic |  |  |  |  | Module Display Name: |  |  | Quat. Pump
|  | Module Type: |  |  |  | G1311B |  |  |  |  | Order: |  |  | 1
Solvent Composition
|  | Row ID |  | Channel |  |  |  |  | Name 1 |  |  | Used |  |  | Percent (%)
|  | 1 |  | A |  |  |  |  | 5mM H2SO4 |  |  | Yes |  |  | 0.0
|  | 2 |  | B |  |  |  |  | 5mM H2SO4 |  |  | No
|  | 3 |  | C |  |  |  |  | 100% H2O |  |  | Yes |  |  | 70.0
|  | 4 |  | D |  |  |  |  | 100% ACN |  |  | Yes |  |  | 30.0
Timetable
|  | Row ID |  | Time (min) |  |  |  |  | A (%) |  |  | B (%) |  |  | C (%)
|  | 1 |  | 1.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | 2 |  | 4.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 50.0
|  | 3 |  | 13.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 30.0
|  | 4 |  | 13.50 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 5.0
|  | 5 |  | 14.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 5.0
|  | 6 |  | 14.50 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | 7 |  | 18.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | Row ID |  | D (%) |  |  |  |  | Flow (mL/min) |  |  | Pressure (bar)
|  | 1 |  | 30.0 |  |  |  |  | --- |  |  | ---
|  | 2 |  | 50.0 |  |  |  |  | --- |  |  | ---
|  | 3 |  | 70.0 |  |  |  |  | --- |  |  | ---
|  | 4 |  | 95.0 |  |  |  |  | --- |  |  | ---
|  | 5 |  | 95.0 |  |  |  |  | --- |  |  | ---
|  | 6 |  | 30.0 |  |  |  |  | --- |  |  | ---
|  | 7 |  | 30.0 |  |  |  |  | --- |  |  | ---
Stroke
|  | Automatic Stroke Calculation: |  |  |  | Yes
Compress
|  | Compressibility Mode: |  |  |  | Compressibility Value Set |  |  |  |  | Compressibility: |  |  | 100 10e-6/bar
Stoptime
|  | Stoptime Mode: |  |  |  | Time set |  |  |  |  | Stoptime: |  |  | 18.00 min
Posttime
|  | Posttime Mode: |  |  |  | Off
HiP Sampler Method
|  | Module Display Name: |  |  |  | HiP Sampler |  |  |  |  | Module Type: |  |  | G1367E
|  | Order: |  |  |  | 1
Auxiliary
|  | Draw Speed: |  |  |  | 100.0 µL/min |  |  |  |  | Eject Speed: |  |  | 200.0 µL/min
|  | Draw Position Offset: |  |  |  | 0.0 mm |  |  |  |  | Wait Time After Drawing: |  |  | 1.2 s
|  | Sample Flush Out Factor: |  |  |  | 5.0 |  |  |  |  | Vial/Well bottom sensing: |  |  | Yes
Injection
|  | Injection Mode: |  |  |  | Injection with needle wash |  |  |  |  | Injection Volume: |  |  | 10.00 µL
Needle Wash
|  | Needle Wash Location: |  |  |  | Flush Port |  |  |  |  | Wash Time: |  |  | 5.0 s
High throughput
|  | Automatic Delay Volume Reduction: |  |  |  | No
Overlapped Injection
|  | Enable Overlapped Injection: |  |  |  | No
Thermostat
|  | Not Ready Temperature Mode: |  |  |  | Enable Analysis With Any Temperature |  |  |  |  | Thermostat Control: |  |  | Thermostat Control Set Value
|  | Thermostat Temperature: |  |  |  | 4 °C
Valve Switching
|  | Valve Movements: |  |  |  | 0
Valve Switch Time 1
|  | Switch Time 1 Enabled: |  |  |  | No
Valve Switch Time 2
|  | Switch Time 2 Enabled: |  |  |  | No
Valve Switch Time 3
|  | Switch Time 3 Enabled: |  |  |  | No
Valve Switch Time 4
|  | Switch Time 4 Enabled: |  |  |  | No
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/No Limit
Posttime
|  | Posttime Mode: |  |  |  | Off
Method Properties
|  | Instrument Technique: |  |  |  | Liquid Chromatography
Schema version
|  | Schema version: |  |  |  | 2.3

## Page 34
Processing method:
| Data Analysis Method: |  |  |  | RP_PLRPS_HSA_18min.pmx
| Path: |  |  |  | C:\CDSProjects\Project01\Results\241230_5um_hGCSF_StrainComp_D3241230_5um_hGCSF_Stra inComp_D3.rslt
Method Information
|  | Last Saved As: |  | C:\CDSProjects\Project01\Results\2412 30_5um_hGCSF_StrainComp_D32412 30_5um_hGCSF_StrainComp_D3.rslt\ RP_PLRPS_HSA_18min.pmx |  |  | Modified: |  | 2024-07-24 17:06:14-04:00
[7 empty] | Created: |  | 2020-04-28 13:25:14-04:00
|  | Modifier: |  | SYSTEM |  |  | Description:
|  | Creator: |  | SYSTEM |  |  | Method Status: |  | Generic
|  | Version: |  | 2024-0724-2106-14943
|  | Type: |  | GC/LC Area Percent
Method Parameters
Signals
Blank Subtraction
|  | Blank subtraction: |  | Samples only (exclude cal. standards) |  |  | Used blank: |  | Defined in sequence
|  | Specific blank path: |  |  |  |  | Specific blank:
|  | Subtract blank if data rates are different: |  | No |  |  | Signal matching mode: |  | Perform blank subtraction if signal names match
Signal alignment
|  | Use delay: |  | Yes |  |  | Detector: |  | DAD1
|  | RT : |  | 0.000 min |  |  | Delay : |  | 0.000 min
Chromatogram Smoothing
|  | Smoothing algorithm: |  | None
ChemStation integrator
ChemStation integrator parameters
|  | Tangent skim mode: |  | Standard |  |  | Baseline correction: |  | Advanced
|  | Front peak skim height ratio: |  | 0.00 |  |  | Tail peak skim height ratio: |  | 0.00
|  | Skim valley ratio: |  | 20.00 |  |  | Peak to valley ratio: |  | 500.00
Initial timed events
|  | Row ID | Use |  |  | Time (min) |  | Event |  | Value
|  | 1 | Yes |  |  | 0.000 |  | Slope sensitivity |  | 1
|  | 2 | Yes |  |  | 0.000 |  | Peak width |  | 0.07
|  | 3 | Yes |  |  | 0.000 |  | Area reject |  | 1
|  | 4 | Yes |  |  | 0.000 |  | Height reject |  | 7
|  | 5 | Yes |  |  | 0.000 |  | Shoulders mode |  | Tangential
|  | 6 | Yes |  |  | 0.000 |  | Area% reject |  | 0.05
Timed events
|  | Row ID | Use |  |  | Time (min) |  | Event |  | Value
|  | 1 | Yes |  |  | 0.001 |  | Integration |  | Off
|  | 2 | Yes |  |  | 5.700 |  | Integration |  | On
|  | 3 | Yes |  |  | 5.701 |  | Baseline now
|  | 4 | Yes |  |  | 5.702 |  | Baseline hold |  | On
|  | 5 | Yes |  |  | 8.000 |  | Integration |  | Off
Compound parameters
|  | Use time references: |  | No |  |  | Use relative retention time: |  | No
|  | Qualifier count: |  | 2 |  |  | Qualifier RT Window: |  | 0.010 min
|  | Qualifier response window: |  | 20.0 percent |  |  | Response Window Type: |  | Relative
System Suitability
|  | EP: |  | No |  |  | Column performance: |  | None
|  | JP: |  | No |  |  | USP: |  | No
|  | Signal to noise: |  | None |  |  | Noise calculation: |  | P2P
|  | Use blank reference for noise: |  | on blank |  |  | Calculate noise before or after peak: |  | before peak start
|  | Range mode for Noise Selection: |  | Automatic |  |  | Noise range end time: |  | 0.60
|  | Noise range start time: |  | 0.50 |  |  | Noise range relative end time: |  | 0.40
|  | Noise range relative start time: |  | 0.00 |  |  | Overwrite column parameters: |  | No
Custom calculations
|  | Last imported file: |  |  |  |  | Embedded file: |  | No
|  | Created by: |  |  |  |  | Creation date:
|  | Last modified by: |  |  |  |  | Last modified date:
|  | File version: |  |  |  |  | Custom calculations file:
Reporting parameters
|  | From time: |  |  |  |  | To time:
|  | From response: |  |  |  |  | To response:
General reporting parameters
|  | Row ID | Report # |  |  | Report template |  | Report file name |  | Report for sample types
|  | 1 | 1 |  |  |  |  | <DX>_<R> |  | All sample types
|  | 2 | 2 |  |  |  |  | <DX>_<R> |  | All sample types
|  | Row ID | Do print |  |  | Do create file |  | Report selected signals
|  | 1 | No |  |  | No |  | All signals
|  | 2 | No |  |  | No |  | All signals