## Page 1
Sequence name: |  |  | 241102_HN_StrainComp_hGH
Description:
Acquisition date: |  |  | 2024-11-02 21:02:47-04:00
Acquired by: |  |  | SYSTEM
Data path: |  |  | C:\CDSProjects\Project01\Results\241102_HN_StrainComp_hGH.rslt
Sequence Integration
| Samp le Vial Numb er | Sample Name |  |  | RT | Area | % | Injection | mg/L
| P2-A1 | sHN40 |  |  | 6.841 | 7890.9285 | 100 | 25 | 203.5056
| P2-B1 | sHN40 |  |  | 6.835 | 7651.151 | 100 | 25 | 197.3218
| P2-C1 | sHN40 |  |  | 6.815 | 7827.7458 | 100 | 25 | 201.8761
| P2-A2 | sHN41 |  |  | 6.818 | 7300.9434 | 100 | 25 | 188.29
| P2-A3 | sHN42 |  |  | 6.824 | 8441.1079 | 97.95 | 25 | 217.6946
| P2-A4 | sHN43 |  |  | 6.828 | 8416.2632 | 100 | 25 | 217.0539
| P2-A5 | sHN44 |  |  | 6.832 | 7945.5493 | 100 | 25 | 204.9142
| P2-A6 | sHN45 |  |  | 6.834 | 7426.2219 | 100 | 25 | 191.5209
| P2-A7 | sHN46 |  |  | 6.825 | 7031.3678 | 100 | 25 | 181.3377
| P2-A8 | sHN47 |  |  | 6.856 | 5487.0816 | 100 | 25 | 141.5108
| P2-A9 | sHN48 |  |  | 6.855 | 7384.3508 | 100 | 25 | 190.441
| P2-A10 | sHN63 |  |  | 6.835 | 7801.56 | 100 | 25 | 201.2008
| P2-A11 | sHN88 |  |  | 6.832 | 8458.3098 | 100 | 25 | 218.1382
| P2-B2 | sHN41 |  |  | 6.866 | 4228.7343 | 100 | 25 | 109.0583
| P2-B3 | sHN42 |  |  | 6.855 | 7915.5055 | 100 | 25 | 204.1394
| P2-B4 | sHN43 |  |  | 6.821 | 8051.0129 | 100 | 25 | 207.6341
| P2-B5 | sHN44 |  |  | 6.831 | 7315.7317 | 100 | 25 | 188.6714
| P2-B6 | sHN45 |  |  | 6.831 | 7342.6194 | 100 | 25 | 189.3648
| P2-B7 | sHN46 |  |  | 6.832 | 8246.7806 | 100 | 25 | 212.6829
| P2-B8 | sHN47 |  |  | 6.825 | 8556.235 | 100 | 25 | 220.6637
| P2-B9 | sHN48 |  |  | 6.83 | 8135.9754 | 100 | 25 | 209.8253
| P2-B10 | sHN63 |  |  | 6.831 | 7863.2658 | 100 | 25 | 202.7922
| P2-B11 | sHN88 |  |  | 6.842 | 6343.8271 | 100 | 25 | 163.6061
| P2-C2 | sHN41 |  |  | 6.835 | 5340.906 | 100 | 25 | 137.741
| P2-C3 | sHN42 |  |  | 6.843 | 8045.254 | 100 | 25 | 207.4856
| P2-C4 | sHN43 |  |  | 6.842 | 8029.9022 | 100 | 25 | 207.0897
| P2-C5 | sHN44 |  |  | 6.842 | 8314.7902 | 100 | 25 | 214.4369
| P2-C6 | sHN45 |  |  | 6.845 | 6979.7181 | 100 | 25 | 180.0056
| P2-C7 | sHN46 |  |  | 6.847 | 7683.8352 | 100 | 25 | 198.1647
| P2-C8 | sHN47 |  |  | 6.848 | 8285.0576 | 100 | 25 | 213.6701
| P2-C9 | sHN48 |  |  | 6.847 | 8014.8887 | 100 | 25 | 206.7025
| P2-C10 | sHN63 |  |  | 6.845 | 8219.5556 | 100 | 25 | 211.9808
| P2-C11 | sHN88 |  |  | 6.853 | 7684.7477 | 100 | 25 | 198.1882

## Page 2
Sequence Table: |  |  |  | Bracketing Mode: |  | None
Seq. Line: |  | 1
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-02 21-03-09-04-00-01.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 2
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-02 21-21-23-04-00-02.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 3
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-02 21-39-39-04-00-03.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 4
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-02 21-57-54-04-00-04.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 5
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-02 22-17-30-04-00-05.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 6
| Location: |  | P2-A1 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-02 22-37-02-04-00-06.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 7
| Location: |  | P2-B1 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-02 22-56-21-04-00-07.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 8
| Location: |  | P2-C1 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-02 23-15-31-04-00-08.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 9
| Location: |  | P2-A2 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-02 23-34-43-04-00-09.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 10
| Location: |  | P2-A3 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-02 23-53-56-04-00-10.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 11
| Location: |  | P2-A4 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 00-13-07-04-00-11.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 12
| Location: |  | P2-A5 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 00-32-18-04-00-12.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 13
| Location: |  | P2-A6 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 00-51-29-04-00-13.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 14
| Location: |  | P2-A7 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 01-10-41-04-00-14.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 15
| Location: |  | P2-A8 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 01-29-54-04-00-15.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 16
| Location: |  | P2-A9 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 01-49-08-04-00-16.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 17
| Location: |  | P2-A10 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 01-08-19-05-00-17.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 18
| Location: |  | P2-A11 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 01-27-30-05-00-18.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 19
| Location: |  | P2-B2 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 01-46-38-05-00-19.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 20
| Location: |  | P2-B3 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 02-05-48-05-00-20.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 21
| Location: |  | P2-B4 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 02-25-00-05-00-21.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 22
| Location: |  | P2-B5 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 02-44-12-05-00-22.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 23
| Location: |  | P2-B6 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 03-03-24-05-00-23.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 24
| Location: |  | P2-B7 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 03-22-37-05-00-24.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 25
| Location: |  | P2-B8 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 03-41-48-05-00-25.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 26
| Location: |  | P2-B9 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 04-00-59-05-00-26.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 27
| Location: |  | P2-B10 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 04-20-12-05-00-27.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 28
| Location: |  | P2-B11 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 04-39-23-05-00-28.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 29
| Location: |  | P2-C2 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 04-58-34-05-00-29.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 30
| Location: |  | P2-C3 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 05-17-45-05-00-30.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 31
| Location: |  | P2-C4 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 05-36-57-05-00-31.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 32
| Location: |  | P2-C5 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 05-56-09-05-00-32.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 33
| Location: |  | P2-C6 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 06-15-21-05-00-33.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 34
| Location: |  | P2-C7 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 06-34-33-05-00-34.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 35
| Location: |  | P2-C8 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 06-53-44-05-00-35.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 36
| Location: |  | P2-C9 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 07-12-55-05-00-36.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 37
| Location: |  | P2-C10 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 07-32-06-05-00-37.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 38
| Location: |  | P2-C11 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 07-51-19-05-00-38.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 39
| Location: |  | P2-C12 |  | Sample name: | Plate
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-11-03 08-10-30-05-00-39.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 25.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1

## Page 3
Sample name: | blank
Data file: | 2024-11-02 21-03-09-04-00-01.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-11-02 21:03:21-04:00
Inj. volume: | 0.000 | Location: | P1-A1
Acq. method: | HN_RP_HGH_18Min_1.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 4
Sample name: | blank
Data file: | 2024-11-02 21-21-23-04-00-02.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-11-02 21:21:36-04:00
Inj. volume: | 0.000 | Location: | P1-A1
Acq. method: | HN_RP_HGH_18Min_1.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 5
Sample name: | blank
Data file: | 2024-11-02 21-39-39-04-00-03.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-11-02 21:39:51-04:00
Inj. volume: | 0.000 | Location: | P1-A1
Acq. method: | HN_RP_HGH_18Min_1.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 6
Sample name: | blank
Data file: | 2024-11-02 21-57-54-04-00-04.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-11-02 21:59:27-04:00
Inj. volume: | 50.000 | Location: | P1-A1
Acq. method: | HN_RP_HGH_18Min_1.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 7
Sample name: | blank
Data file: | 2024-11-02 22-17-30-04-00-05.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-11-02 22:19:00-04:00
Inj. volume: | 50.000 | Location: | P1-A1
Acq. method: | HN_RP_HGH_18Min_1.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 8
Sample name: | Plate
Data file: | 2024-11-02 22-37-02-04-00-06.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-02 22:38:18-04:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-A1
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.841 | 7890.9285 |  | 443.3212 |  | 100
|  | Sum | 7890.9285

## Page 9
Sample name: | Plate
Data file: | 2024-11-02 22-56-21-04-00-07.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-02 22:57:29-04:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-B1
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.835 | 7651.151 |  | 425.9614 |  | 100
|  | Sum | 7651.151

## Page 10
Sample name: | Plate
Data file: | 2024-11-02 23-15-31-04-00-08.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-02 23:16:40-04:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-C1
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.815 | 7827.7458 |  | 437.231 |  | 100
|  | Sum | 7827.7458

## Page 11
Sample name: | Plate
Data file: | 2024-11-02 23-34-43-04-00-09.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-02 23:35:51-04:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-A2
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.818 | 7300.9434 |  | 406.7831 |  | 100
|  | Sum | 7300.9434

## Page 12
Sample name: | Plate
Data file: | 2024-11-02 23-53-56-04-00-10.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-02 23:55:03-04:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-A3
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.824 | 8441.1079 |  | 478.2428 |  | 97.9521
|  | 7.649 | 176.4829 |  | 15.192 |  | 2.0479
|  | Sum | 8617.5908

## Page 13
Sample name: | Plate
Data file: | 2024-11-03 00-13-07-04-00-11.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 00:14:15-04:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-A4
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.828 | 8416.2632 |  | 473.5321 |  | 100
|  | Sum | 8416.2632

## Page 14
Sample name: | Plate
Data file: | 2024-11-03 00-32-18-04-00-12.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 00:33:26-04:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-A5
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.832 | 7945.5493 |  | 450.6033 |  | 100
|  | Sum | 7945.5493

## Page 15
Sample name: | Plate
Data file: | 2024-11-03 00-51-29-04-00-13.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 00:52:37-04:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-A6
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.834 | 7426.2219 |  | 412.9098 |  | 100
|  | Sum | 7426.2219

## Page 16
Sample name: | Plate
Data file: | 2024-11-03 01-10-41-04-00-14.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 01:11:50-04:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-A7
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.825 | 7031.3678 |  | 408.2813 |  | 100
|  | Sum | 7031.3678

## Page 17
Sample name: | Plate
Data file: | 2024-11-03 01-29-54-04-00-15.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 01:31:04-04:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-A8
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.856 | 5487.0816 |  | 310.7983 |  | 100
|  | Sum | 5487.0816

## Page 18
Sample name: | Plate
Data file: | 2024-11-03 01-49-08-04-00-16.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 01:50:16-04:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-A9
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.855 | 7384.3508 |  | 418.0828 |  | 100
|  | Sum | 7384.3508

## Page 19
Sample name: | Plate
Data file: | 2024-11-03 01-08-19-05-00-17.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 01:09:26-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-A10
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.835 | 7801.56 |  | 443.7931 |  | 100
|  | Sum | 7801.56

## Page 20
Sample name: | Plate
Data file: | 2024-11-03 01-27-30-05-00-18.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 01:28:35-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-A11
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.832 | 8458.3098 |  | 479.4115 |  | 100
|  | Sum | 8458.3098

## Page 21
Sample name: | Plate
Data file: | 2024-11-03 01-46-38-05-00-19.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 01:47:45-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-B2
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.866 | 4228.7343 |  | 244.394 |  | 100
|  | Sum | 4228.7343

## Page 22
Sample name: | Plate
Data file: | 2024-11-03 02-05-48-05-00-20.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 02:06:57-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-B3
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.855 | 7915.5055 |  | 447.8026 |  | 100
|  | Sum | 7915.5055

## Page 23
Sample name: | Plate
Data file: | 2024-11-03 02-25-00-05-00-21.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 02:26:09-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-B4
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.821 | 8051.0129 |  | 458.7508 |  | 100
|  | Sum | 8051.0129

## Page 24
Sample name: | Plate
Data file: | 2024-11-03 02-44-12-05-00-22.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 02:45:21-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-B5
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.831 | 7315.7317 |  | 416.1206 |  | 100
|  | Sum | 7315.7317

## Page 25
Sample name: | Plate
Data file: | 2024-11-03 03-03-24-05-00-23.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 03:04:33-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-B6
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.831 | 7342.6194 |  | 410.8326 |  | 100
|  | Sum | 7342.6194

## Page 26
Sample name: | Plate
Data file: | 2024-11-03 03-22-37-05-00-24.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 03:23:44-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-B7
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.832 | 8246.7806 |  | 465.5795 |  | 100
|  | Sum | 8246.7806

## Page 27
Sample name: | Plate
Data file: | 2024-11-03 03-41-48-05-00-25.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 03:42:56-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-B8
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.825 | 8556.235 |  | 486.0269 |  | 100
|  | Sum | 8556.235

## Page 28
Sample name: | Plate
Data file: | 2024-11-03 04-00-59-05-00-26.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 04:02:08-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-B9
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.83 | 8135.9754 |  | 460.6747 |  | 100
|  | Sum | 8135.9754

## Page 29
Sample name: | Plate
Data file: | 2024-11-03 04-20-12-05-00-27.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 04:21:19-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-B10
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.831 | 7863.2658 |  | 443.8296 |  | 100
|  | Sum | 7863.2658

## Page 30
Sample name: | Plate
Data file: | 2024-11-03 04-39-23-05-00-28.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 04:40:31-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-B11
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.842 | 6343.8271 |  | 359.2551 |  | 100
|  | Sum | 6343.8271

## Page 31
Sample name: | Plate
Data file: | 2024-11-03 04-58-34-05-00-29.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 04:59:42-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-C2
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.835 | 5340.906 |  | 300.3994 |  | 100
|  | Sum | 5340.906

## Page 32
Sample name: | Plate
Data file: | 2024-11-03 05-17-45-05-00-30.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 05:18:55-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-C3
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.843 | 8045.254 |  | 457.4841 |  | 100
|  | Sum | 8045.254

## Page 33
Sample name: | Plate
Data file: | 2024-11-03 05-36-57-05-00-31.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 05:38:05-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-C4
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.842 | 8029.9022 |  | 444.6738 |  | 100
|  | Sum | 8029.9022

## Page 34
Sample name: | Plate
Data file: | 2024-11-03 05-56-09-05-00-32.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 05:57:18-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-C5
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.842 | 8314.7902 |  | 472.6934 |  | 100
|  | Sum | 8314.7902

## Page 35
Sample name: | Plate
Data file: | 2024-11-03 06-15-21-05-00-33.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 06:16:29-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-C6
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.845 | 6979.7181 |  | 392.5212 |  | 100
|  | Sum | 6979.7181

## Page 36
Sample name: | Plate
Data file: | 2024-11-03 06-34-33-05-00-34.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 06:35:41-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-C7
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.847 | 7683.8352 |  | 432.3143 |  | 100
|  | Sum | 7683.8352

## Page 37
Sample name: | Plate
Data file: | 2024-11-03 06-53-44-05-00-35.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 06:54:52-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-C8
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.848 | 8285.0576 |  | 468.2653 |  | 100
|  | Sum | 8285.0576

## Page 38
Sample name: | Plate
Data file: | 2024-11-03 07-12-55-05-00-36.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 07:14:03-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-C9
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.847 | 8014.8887 |  | 450.0876 |  | 100
|  | Sum | 8014.8887

## Page 39
Sample name: | Plate
Data file: | 2024-11-03 07-32-06-05-00-37.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 07:33:16-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-C10
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.845 | 8219.5556 |  | 463.5753 |  | 100
|  | Sum | 8219.5556

## Page 40
Sample name: | Plate
Data file: | 2024-11-03 07-51-19-05-00-38.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-11-03 07:52:28-05:00
Inj. volume: | 25.000 |  |  |  |  | Location: |  | P2-C11
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | Manual Integration
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.853 | 7684.7477 |  | 433.2951 |  | 100
|  | Sum | 7684.7477

## Page 41
Sample name: | Plate
Data file: | 2024-11-03 08-10-30-05-00-39.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-11-03 08:11:37-05:00
Inj. volume: | 25.000 | Location: | P2-C12
Acq. method: | HN_RP_HGH_18Min_1.amx | Type: | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 43
Method Summary
Processing method: | [7 empty] | RP_PLRPS_HSA_18min.pmx
| Method version: | [5 empty] | 2024-0724-2106-14943
| Line# |  | Location |  | Sample Name |  |  |  |  | Injection modified |  |  | Acq. Method |  |  | ACQ Method Version
| 1 |  | P1-A1 |  | blank |  |  |  |  | 2024-11-02 21:21:29- 04:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 2 |  | P1-A1 |  | blank |  |  |  |  | 2024-11-02 21:39:41- 04:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 3 |  | P1-A1 |  | blank |  |  |  |  | 2024-11-02 21:57:58- 04:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 4 |  | P1-A1 |  | blank |  |  |  |  | 2024-11-02 22:17:32- 04:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 5 |  | P1-A1 |  | blank |  |  |  |  | 2024-11-02 22:37:04- 04:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 6 |  | P2-A1 |  | Plate |  |  |  |  | 2024-11-03 09:16:44- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 7 |  | P2-B1 |  | Plate |  |  |  |  | 2024-11-03 09:16:51- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 8 |  | P2-C1 |  | Plate |  |  |  |  | 2024-11-03 09:16:59- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 9 |  | P2-A2 |  | Plate |  |  |  |  | 2024-11-03 09:17:05- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 10 |  | P2-A3 |  | Plate |  |  |  |  | 2024-11-03 09:17:13- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 11 |  | P2-A4 |  | Plate |  |  |  |  | 2024-11-03 09:17:22- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 12 |  | P2-A5 |  | Plate |  |  |  |  | 2024-11-03 09:17:30- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 13 |  | P2-A6 |  | Plate |  |  |  |  | 2024-11-03 09:35:09- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 14 |  | P2-A7 |  | Plate |  |  |  |  | 2024-11-03 09:17:37- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 15 |  | P2-A8 |  | Plate |  |  |  |  | 2024-11-03 09:17:51- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 16 |  | P2-A9 |  | Plate |  |  |  |  | 2024-11-03 01:08:23- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 17 |  | P2-A10 |  | Plate |  |  |  |  | 2024-11-03 01:27:33- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 18 |  | P2-A11 |  | Plate |  |  |  |  | 2024-11-03 09:18:01- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 19 |  | P2-B2 |  | Plate |  |  |  |  | 2024-11-03 02:05:52- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 20 |  | P2-B3 |  | Plate |  |  |  |  | 2024-11-03 09:18:16- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 21 |  | P2-B4 |  | Plate |  |  |  |  | 2024-11-03 09:18:29- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 22 |  | P2-B5 |  | Plate |  |  |  |  | 2024-11-03 09:18:35- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 23 |  | P2-B6 |  | Plate |  |  |  |  | 2024-11-03 03:22:41- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 24 |  | P2-B7 |  | Plate |  |  |  |  | 2024-11-03 09:18:50- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 25 |  | P2-B8 |  | Plate |  |  |  |  | 2024-11-03 09:18:57- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 26 |  | P2-B9 |  | Plate |  |  |  |  | 2024-11-03 04:20:15- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 27 |  | P2-B10 |  | Plate |  |  |  |  | 2024-11-03 09:19:13- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 28 |  | P2-B11 |  | Plate |  |  |  |  | 2024-11-03 09:19:19- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 29 |  | P2-C2 |  | Plate |  |  |  |  | 2024-11-03 09:19:26- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 30 |  | P2-C3 |  | Plate |  |  |  |  | 2024-11-03 09:19:32- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 31 |  | P2-C4 |  | Plate |  |  |  |  | 2024-11-03 09:19:37- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 32 |  | P2-C5 |  | Plate |  |  |  |  | 2024-11-03 06:15:25- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 33 |  | P2-C6 |  | Plate |  |  |  |  | 2024-11-03 09:20:29- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 34 |  | P2-C7 |  | Plate |  |  |  |  | 2024-11-03 06:53:48- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 35 |  | P2-C8 |  | Plate |  |  |  |  | 2024-11-03 09:20:37- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 36 |  | P2-C9 |  | Plate |  |  |  |  | 2024-11-03 07:32:10- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 37 |  | P2-C10 |  | Plate |  |  |  |  | 2024-11-03 09:20:43- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 38 |  | P2-C11 |  | Plate |  |  |  |  | 2024-11-03 09:20:55- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 39 |  | P2-C12 |  | Plate |  |  |  |  | 2024-11-03 08:29:42- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
Acquisition Method: | [7 empty] | HN_RP_HGH_18Min_1.amx
Path: | [7 empty] | C:\CDSProjects\Project01\Results\241102_HN_StrainComp_hGH.rslt
Method Information
|  | Last Saved As: |  |  |  | C:\CDSProjects\Project01\Methods\HN _RP_HGH_18Min_1.amx |  |  |  |  | Modified: |  |  | 2024-03-31 00:35:20-04:00
|  | Modifier: |  |  |  | SYSTEM |  |  |  |  | Created: |  |  | 2024-03-31 00:35:20-04:00
|  | Creator: |  |  |  | SYSTEM |  |  |  |  | Description:
|  | Version: |  |  |  | 2024-0331-0435-20369 |  |  |  |  | Method Status: |  |  | Generic
DAD Method
|  | Peakwidth: |  |  |  | > 0.0031 min (0.063 s response time) (80 Hz) |  |  |  |  | UV Lamp Required: |  |  | Yes
|  | Module Display Name: |  |  |  | DAD |  |  |  |  | Module Type: |  |  | G4212B
|  | Order: |  |  |  | 1
Analog Output
|  | Analog Zero Offset: |  |  |  | 5 % |  |  |  |  | Analog Attenuation: |  |  | 1000 mAU
Signals
Signal table
|  | Row ID |  | Acquire |  |  |  |  | Signal |  |  | Wavelength (nm) |  |  | Bandwidth (nm)
|  | 1 |  | No |  |  |  |  | Signal A
|  | 2 |  | No |  |  |  |  | Signal B
|  | 3 |  | Yes |  |  |  |  | Signal C |  |  | 214.0 |  |  | 4.0
|  | 4 |  | No |  |  |  |  | Signal D
|  | 5 |  | No |  |  |  |  | Signal E
|  | 6 |  | No |  |  |  |  | Signal F
|  | 7 |  | No |  |  |  |  | Signal G
|  | 8 |  | No |  |  |  |  | Signal H
|  | Row ID |  | Use Ref. |  |  |  |  | Ref Wavel. (nm) |  |  | Ref Bandw. (nm)
1
2
|  | 3 |  | Yes |  |  |  |  | 360.0 |  |  | 100.0
4
5
6
7
8
Prepare Mode
|  | Margin for negative Absorbance: |  |  |  | 100 mAU
Autobalance
|  | Autobalance Prerun: |  |  |  | Yes |  |  |  |  | Autobalance Postrun: |  |  | No
Spectrum
|  | Spectrum Range WL from: |  |  |  | 190.0 nm |  |  |  |  | Spectrum Range WL to: |  |  | 400.0 nm
|  | Spectrum Step: |  |  |  | 2.0 nm |  |  |  |  | Spectrum Store: |  |  | All
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/Injector
Posttime
|  | Posttime Mode: |  |  |  | Off
Column Comp. Method
|  | Valve Position: |  |  |  | Position 4 (Port 4 -> 4') |  |  |  |  | Position Switch After Run: |  |  | Do not switch
|  | Module Display Name: |  |  |  | Column Comp. |  |  |  |  | Module Type: |  |  | G7116A
|  | Order: |  |  |  | 1
Left Temperature Control
|  | Temperature Control Mode: |  |  |  | Temperature Set |  |  |  |  | Temperature: |  |  | 80.0 °C
Enable Analysis Left Temperature
|  | Enable Analysis Left Temperature On: |  |  |  | Yes |  |  |  |  | Enable Analysis Left Temperature Value: |  |  | 0.8 °C
|  | Left Temp. Equilibration Time: |  |  |  | 0.0 min
Right Temperature Control
|  | Right temperature Control Mode: |  |  |  | Temperature Set |  |  |  |  | Right temperature: |  |  | 80.0 °C
Enable Analysis Right Temperature
|  | Enable Analysis Right Temperature On: |  |  |  | Yes |  |  |  |  | Enable Analysis Right Temperature Value: |  |  | 0.8 °C
|  | Right Temp. Equilibration Time: |  |  |  | 0.0 min
Enforce column for run
|  | Enforce column for run enabled: |  |  |  | No
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/Injector
Posttime
|  | Posttime Mode: |  |  |  | Off
Quat. Pump Method
|  | Flow: |  |  |  | 0.600 mL/min |  |  |  |  | Low Pressure Limit: |  |  | 0.00 bar
|  | High Pressure Limit: |  |  |  | 400.00 bar |  |  |  |  | Maximum Flow Gradient: |  |  | 1.000 mL/min²
|  | Primary Channel: |  |  |  | Automatic |  |  |  |  | Module Display Name: |  |  | Quat. Pump
|  | Module Type: |  |  |  | G1311B |  |  |  |  | Order: |  |  | 1
Solvent Composition
|  | Row ID |  | Channel |  |  |  |  | Name 1 |  |  | Used |  |  | Percent (%)
|  | 1 |  | A |  |  |  |  | 5mM H2SO4 |  |  | Yes |  |  | 0.0
|  | 2 |  | B |  |  |  |  | 5mM H2SO4 |  |  | No
|  | 3 |  | C |  |  |  |  | 100% H2O |  |  | Yes |  |  | 70.0
|  | 4 |  | D |  |  |  |  | 100% ACN |  |  | Yes |  |  | 30.0
Timetable
|  | Row ID |  | Time (min) |  |  |  |  | A (%) |  |  | B (%) |  |  | C (%)
|  | 1 |  | 1.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | 2 |  | 4.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 50.0
|  | 3 |  | 13.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 30.0
|  | 4 |  | 13.50 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 5.0
|  | 5 |  | 14.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 5.0
|  | 6 |  | 14.50 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | 7 |  | 18.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | Row ID |  | D (%) |  |  |  |  | Flow (mL/min) |  |  | Pressure (bar)
|  | 1 |  | 30.0 |  |  |  |  | --- |  |  | ---
|  | 2 |  | 50.0 |  |  |  |  | --- |  |  | ---
|  | 3 |  | 70.0 |  |  |  |  | --- |  |  | ---
|  | 4 |  | 95.0 |  |  |  |  | --- |  |  | ---
|  | 5 |  | 95.0 |  |  |  |  | --- |  |  | ---
|  | 6 |  | 30.0 |  |  |  |  | --- |  |  | ---
|  | 7 |  | 30.0 |  |  |  |  | --- |  |  | ---
Stroke
|  | Automatic Stroke Calculation: |  |  |  | Yes
Compress
|  | Compressibility Mode: |  |  |  | Compressibility Value Set |  |  |  |  | Compressibility: |  |  | 100 10e-6/bar
Stoptime
|  | Stoptime Mode: |  |  |  | Time set |  |  |  |  | Stoptime: |  |  | 18.00 min
Posttime
|  | Posttime Mode: |  |  |  | Off
HiP Sampler Method
|  | Module Display Name: |  |  |  | HiP Sampler |  |  |  |  | Module Type: |  |  | G1367E
|  | Order: |  |  |  | 1
Auxiliary
|  | Draw Speed: |  |  |  | 100.0 µL/min |  |  |  |  | Eject Speed: |  |  | 200.0 µL/min
|  | Draw Position Offset: |  |  |  | 0.0 mm |  |  |  |  | Wait Time After Drawing: |  |  | 1.2 s
|  | Sample Flush Out Factor: |  |  |  | 5.0 |  |  |  |  | Vial/Well bottom sensing: |  |  | Yes
Injection
|  | Injection Mode: |  |  |  | Injection with needle wash |  |  |  |  | Injection Volume: |  |  | 10.00 µL
Needle Wash
|  | Needle Wash Location: |  |  |  | Flush Port |  |  |  |  | Wash Time: |  |  | 5.0 s
High throughput
|  | Automatic Delay Volume Reduction: |  |  |  | No
Overlapped Injection
|  | Enable Overlapped Injection: |  |  |  | No
Thermostat
|  | Not Ready Temperature Mode: |  |  |  | Enable Analysis With Any Temperature |  |  |  |  | Thermostat Control: |  |  | Thermostat Control Set Value
|  | Thermostat Temperature: |  |  |  | 4 °C
Valve Switching
|  | Valve Movements: |  |  |  | 0
Valve Switch Time 1
|  | Switch Time 1 Enabled: |  |  |  | No
Valve Switch Time 2
|  | Switch Time 2 Enabled: |  |  |  | No
Valve Switch Time 3
|  | Switch Time 3 Enabled: |  |  |  | No
Valve Switch Time 4
|  | Switch Time 4 Enabled: |  |  |  | No
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/No Limit
Posttime
|  | Posttime Mode: |  |  |  | Off
Method Properties
|  | Instrument Technique: |  |  |  | Liquid Chromatography
Schema version
|  | Schema version: |  |  |  | 2.3

## Page 44
Processing method:
| Data Analysis Method: |  |  |  | RP_PLRPS_HSA_18min.pmx
| Path: |  |  |  | C:\CDSProjects\Project01\Results\241102_HN_StrainComp_hGH.rslt
Method Information
|  | Last Saved As: |  | C:\CDSProjects\Project01\Results\2411 02_HN_StrainComp_hGH.rslt\RP_PLR PS_HSA_18min.pmx |  |  | Modified: |  | 2024-07-24 17:06:14-04:00
[7 empty] | Created: |  | 2020-04-28 13:25:14-04:00
|  | Modifier: |  | SYSTEM
Description:
|  | Creator: |  | SYSTEM
[7 empty] | Method Status: |  | Generic
|  | Version: |  | 2024-0724-2106-14943
|  | Type: |  | GC/LC Area Percent
Method Parameters
Signals
Blank Subtraction
|  | Blank subtraction: |  | Samples only (exclude cal. standards) |  |  | Used blank: |  | Defined in sequence
|  | Specific blank path: |  |  |  |  | Specific blank:
|  | Subtract blank if data rates are different: |  | No |  |  | Signal matching mode: |  | Perform blank subtraction if signal names match
Signal alignment
|  | Use delay: |  | Yes |  |  | Detector: |  | DAD1
|  | RT : |  | 0.000 min |  |  | Delay : |  | 0.000 min
Chromatogram Smoothing
|  | Smoothing algorithm: |  | None
ChemStation integrator
ChemStation integrator parameters
|  | Tangent skim mode: |  | Standard |  |  | Baseline correction: |  | Advanced
|  | Front peak skim height ratio: |  | 0.00 |  |  | Tail peak skim height ratio: |  | 0.00
|  | Skim valley ratio: |  | 20.00 |  |  | Peak to valley ratio: |  | 500.00
Initial timed events
|  | Row ID | Use |  |  | Time (min) |  | Event |  | Value
|  | 1 | Yes |  |  | 0.000 |  | Slope sensitivity |  | 1
|  | 2 | Yes |  |  | 0.000 |  | Peak width |  | 0.07
|  | 3 | Yes |  |  | 0.000 |  | Area reject |  | 1
|  | 4 | Yes |  |  | 0.000 |  | Height reject |  | 7
|  | 5 | Yes |  |  | 0.000 |  | Shoulders mode |  | Tangential
|  | 6 | Yes |  |  | 0.000 |  | Area% reject |  | 0.05
Timed events
|  | Row ID | Use |  |  | Time (min) |  | Event |  | Value
|  | 1 | Yes |  |  | 0.001 |  | Integration |  | Off
|  | 2 | Yes |  |  | 5.700 |  | Integration |  | On
|  | 3 | Yes |  |  | 5.701 |  | Baseline now
|  | 4 | Yes |  |  | 5.702 |  | Baseline hold |  | On
|  | 5 | Yes |  |  | 8.000 |  | Integration |  | Off
Compound parameters
|  | Use time references: |  | No |  |  | Use relative retention time: |  | No
|  | Qualifier count: |  | 2 |  |  | Qualifier RT Window: |  | 0.010 min
|  | Qualifier response window: |  | 20.0 percent |  |  | Response Window Type: |  | Relative
System Suitability
|  | EP: |  | No |  |  | Column performance: |  | None
|  | JP: |  | No |  |  | USP: |  | No
|  | Signal to noise: |  | None |  |  | Noise calculation: |  | P2P
|  | Use blank reference for noise: |  | on blank |  |  | Calculate noise before or after peak: |  | before peak start
|  | Range mode for Noise Selection: |  | Automatic |  |  | Noise range end time: |  | 0.60
|  | Noise range start time: |  | 0.50 |  |  | Noise range relative end time: |  | 0.40
|  | Noise range relative start time: |  | 0.00 |  |  | Overwrite column parameters: |  | No
Custom calculations
|  | Last imported file: |  |  |  |  | Embedded file: |  | No
|  | Created by: |  |  |  |  | Creation date:
|  | Last modified by: |  |  |  |  | Last modified date:
|  | File version: |  |  |  |  | Custom calculations file:
Reporting parameters
|  | From time: |  |  |  |  | To time:
|  | From response: |  |  |  |  | To response:
General reporting parameters
|  | Row ID | Report # |  |  | Report template |  | Report file name |  | Report for sample types
|  | 1 | 1 |  |  |  |  | <DX>_<R> |  | All sample types
|  | 2 | 2 |  |  |  |  | <DX>_<R> |  | All sample types
|  | Row ID | Do print |  |  | Do create file |  | Report selected signals
|  | 1 | No |  |  | No |  | All signals
|  | 2 | No |  |  | No |  | All signals