## Page 1
Sequence name: |  |  | 241228_5um_HGH
Description:
Acquisition date: |  |  | 2024-12-28 21:45:13-05:00
Acquired by: |  |  | SYSTEM
Data path: |  |  | C:\CDSProjects\Project01\Results\241228_5um_HGH.rslt
Sequence Integration
| Samp le Vial Numb er | Sample Name |  |  | RT | Area | % | Injection | mg/L
| P2-A1 | HGH - sHN40 |  |  | 6.831 | 14771.6244 | 100 | 40 | 238.0984
| P2-A2 | HGH - sHN42 |  |  | 6.841 | 15899.4151 | 100 | 40 | 256.2768
| P2-A3 | HGH - sHN44 |  |  | 6.821 | 13648.0268 | 100 | 40 | 219.9875
| P2-A5 | HGH - sHN46 |  |  | 6.826 | 14678.0454 | 100 | 40 | 236.59
| P2-A6 | HGH - sHN47 |  |  | 6.826 | 14309.0965 | 100 | 40 | 230.6431
| P2-A7 | HGH - sHN40 |  |  | 6.823 | 14588.1659 | 100 | 40 | 235.1413
| P2-A8 | HGH - sHN42 |  |  | 6.82 | 15548.9806 | 100 | 40 | 250.6283
| P2-A9 | HGH - sHN44 |  |  | 6.819 | 13848.7921 | 100 | 40 | 223.2236
| P2-A11 | HGH - sHN46 |  |  | 6.829 | 14946.2238 | 100 | 40 | 240.9127
| P2-A12 | HGH - sHN47 |  |  | 6.836 | 14229.02 | 100 | 40 | 229.3524
| P2-B1 | HGH - sHN40 |  |  | 6.829 | 14681.1681 | 100 | 40 | 236.6404
| P2-B2 | HGH - sHN42 |  |  | 6.83 | 15459.4798 | 100 | 40 | 249.1857
| P2-B3 | HGH - sHN44 |  |  | 6.832 | 13906.6755 | 100 | 40 | 224.1566
| P2-B5 | HGH - sHN46 |  |  | 6.836 | 14755.356 | 100 | 40 | 237.8362
| P2-B6 | HGH - sHN47 |  |  | 6.823 | 14470.9841 | 100 | 40 | 233.2525
| P2-B7 | HGH - sHN48 |  |  | 6.841 | 14357.9497 | 100 | 40 | 231.4305
| P2-B8 | HGH - sHN48 |  |  | 6.846 | 14690.5102 | 100 | 40 | 236.7909
| P2-B9 | HGH - sHN48 |  |  | 6.842 | 14095.2176 | 100 | 40 | 227.1956
| P2-B10 | HGH - sHN88 |  |  | 6.829 | 14636.9712 | 100 | 40 | 235.928
| P2-B11 | HGH - sHN88 |  |  | 6.845 | 14451.8605 | 100 | 40 | 232.9442
| P2-B12 | HGH - sHN88 |  |  | 6.832 | 14092.9232 | 100 | 40 | 227.1587

## Page 2
Sequence Table: |  |  |  | Bracketing Mode: |  | None
Seq. Line: |  | 1
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 06-43-14-05-00-01.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 2
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 07-01-32-05-00-02.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 3
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 07-19-49-05-00-03.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 4
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 07-39-18-05-00-04.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 5
| Location: |  | P2-A1 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 07-58-52-05-00-05.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 6
| Location: |  | P2-A2 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 08-18-21-05-00-06.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 7
| Location: |  | P2-A3 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 08-37-46-05-00-07.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 8
| Location: |  | P2-A5 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 08-57-11-05-00-08.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 9
| Location: |  | P2-A6 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 09-16-37-05-00-09.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 10
| Location: |  | P2-A7 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 09-36-01-05-00-10.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 11
| Location: |  | P2-A8 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 09-55-25-05-00-11.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 12
| Location: |  | P2-A9 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 10-14-51-05-00-12.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 13
| Location: |  | P2-A11 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 10-34-16-05-00-13.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 14
| Location: |  | P2-A12 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 10-53-40-05-00-14.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 15
| Location: |  | P2-B1 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 11-13-03-05-00-15.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 16
| Location: |  | P2-B2 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 11-32-28-05-00-16.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 17
| Location: |  | P2-B3 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 11-51-52-05-00-17.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 18
| Location: |  | P2-B5 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 12-11-19-05-00-18.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 19
| Location: |  | P2-B6 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 12-30-47-05-00-19.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 20
| Location: |  | P2-B7 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 12-50-15-05-00-20.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 21
| Location: |  | P2-B8 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 13-09-43-05-00-21.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 22
| Location: |  | P2-B9 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 13-29-08-05-00-22.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 23
| Location: |  | P2-B10 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 13-48-34-05-00-23.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 24
| Location: |  | P2-B11 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 14-07-59-05-00-24.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 25
| Location: |  | P2-B12 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-29 14-27-23-05-00-25.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 40.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1

## Page 3
Sample name: | blank
Data file: | 2024-12-29 06-43-14-05-00-01.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-12-29 06:43:27-05:00
Inj. volume: | 0.000 | Location: | P1-A1
Acq. method: | HN_RP_HGH_18Min_1.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 4
Sample name: | blank
Data file: | 2024-12-29 07-01-32-05-00-02.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-12-29 07:01:45-05:00
Inj. volume: | 0.000 | Location: | P1-A1
Acq. method: | HN_RP_HGH_18Min_1.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 5
Sample name: | blank
Data file: | 2024-12-29 07-19-49-05-00-03.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-12-29 07:21:16-05:00
Inj. volume: | 50.000 | Location: | P1-A1
Acq. method: | HN_RP_HGH_18Min_1.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 6
Sample name: | blank
Data file: | 2024-12-29 07-39-18-05-00-04.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-12-29 07:40:48-05:00
Inj. volume: | 50.000 | Location: | P1-A1
Acq. method: | HN_RP_HGH_18Min_1.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 7
Sample name: | HGH
Data file: | 2024-12-29 07-58-52-05-00-05.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 08:00:17-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-A1
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.831 | 14771.6244 |  | 724.334 |  | 100
|  | Sum | 14771.6244

## Page 8
Sample name: | HGH
Data file: | 2024-12-29 08-18-21-05-00-06.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 08:19:43-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-A2
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.841 | 15899.4151 |  | 800.4415 |  | 100
|  | Sum | 15899.4151

## Page 9
Sample name: | HGH
Data file: | 2024-12-29 08-37-46-05-00-07.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 08:39:07-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-A3
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.821 | 13648.0268 |  | 698.1079 |  | 100
|  | Sum | 13648.0268

## Page 10
Sample name: | HGH
Data file: | 2024-12-29 08-57-11-05-00-08.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 08:58:34-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-A5
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.826 | 14678.0454 |  | 749.3711 |  | 100
|  | Sum | 14678.0454

## Page 11
Sample name: | HGH
Data file: | 2024-12-29 09-16-37-05-00-09.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 09:17:57-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-A6
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.826 | 14309.0965 |  | 731.3619 |  | 100
|  | Sum | 14309.0965

## Page 12
Sample name: | HGH
Data file: | 2024-12-29 09-36-01-05-00-10.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 09:37:21-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-A7
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.823 | 14588.1659 |  | 743.8465 |  | 100
|  | Sum | 14588.1659

## Page 13
Sample name: | HGH
Data file: | 2024-12-29 09-55-25-05-00-11.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 09:56:48-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-A8
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.82 | 15548.9806 |  | 789.4433 |  | 100
|  | Sum | 15548.9806

## Page 14
Sample name: | HGH
Data file: | 2024-12-29 10-14-51-05-00-12.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 10:16:12-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-A9
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.819 | 13848.7921 |  | 705.9507 |  | 100
|  | Sum | 13848.7921

## Page 15
Sample name: | HGH
Data file: | 2024-12-29 10-34-16-05-00-13.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 10:35:36-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-A11
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.829 | 14946.2238 |  | 735.8883 |  | 100
|  | Sum | 14946.2238

## Page 16
Sample name: | HGH
Data file: | 2024-12-29 10-53-40-05-00-14.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 10:55:00-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-A12
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.836 | 14229.02 |  | 720.2635 |  | 100
|  | Sum | 14229.02

## Page 17
Sample name: | HGH
Data file: | 2024-12-29 11-13-03-05-00-15.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 11:14:25-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-B1
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.829 | 14681.1681 |  | 747.3954 |  | 100
|  | Sum | 14681.1681

## Page 18
Sample name: | HGH
Data file: | 2024-12-29 11-32-28-05-00-16.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 11:33:49-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-B2
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.83 | 15459.4798 |  | 787.0605 |  | 100
|  | Sum | 15459.4798

## Page 19
Sample name: | HGH
Data file: | 2024-12-29 11-51-52-05-00-17.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 11:53:15-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-B3
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.832 | 13906.6755 |  | 711.4169 |  | 100
|  | Sum | 13906.6755

## Page 20
Sample name: | HGH
Data file: | 2024-12-29 12-11-19-05-00-18.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 12:12:42-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-B5
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.836 | 14755.356 |  | 751.3694 |  | 100
|  | Sum | 14755.356

## Page 21
Sample name: | HGH
Data file: | 2024-12-29 12-30-47-05-00-19.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 12:32:10-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-B6
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.823 | 14470.9841 |  | 740.9199 |  | 100
|  | Sum | 14470.9841

## Page 22
Sample name: | HGH
Data file: | 2024-12-29 12-50-15-05-00-20.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 12:51:39-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-B7
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.841 | 14357.9497 |  | 723.6554 |  | 100
|  | Sum | 14357.9497

## Page 23
Sample name: | HGH
Data file: | 2024-12-29 13-09-43-05-00-21.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 13:11:05-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-B8
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.846 | 14690.5102 |  | 749.8588 |  | 100
|  | Sum | 14690.5102

## Page 24
Sample name: | HGH
Data file: | 2024-12-29 13-29-08-05-00-22.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 13:30:30-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-B9
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.842 | 14095.2176 |  | 710.6652 |  | 100
|  | Sum | 14095.2176

## Page 25
Sample name: | HGH
Data file: | 2024-12-29 13-48-34-05-00-23.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 13:49:57-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-B10
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.829 | 14636.9712 |  | 742.0498 |  | 100
|  | Sum | 14636.9712

## Page 26
Sample name: | HGH
Data file: | 2024-12-29 14-07-59-05-00-24.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 14:09:20-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-B11
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.845 | 14451.8605 |  | 739.8913 |  | 100
|  | Sum | 14451.8605

## Page 27
Sample name: | HGH
Data file: | 2024-12-29 14-27-23-05-00-25.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-29 14:28:44-05:00
Inj. volume: | 40.000 |  |  |  |  | Location: |  | P2-B12
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.832 | 14092.9232 |  | 721.2226 |  | 100
|  | Sum | 14092.9232

## Page 29
Method Summary
Processing method: | [7 empty] | RP_PLRPS_HSA_18min.pmx
| Method version: | [5 empty] | 2024-0724-2106-14943
| Line# |  | Location |  | Sample Name |  |  |  |  | Injection modified |  |  | Acq. Method |  |  | ACQ Method Version
| 1 |  | P1-A1 |  | blank |  |  |  |  | 2024-12-29 07:01:35- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 2 |  | P1-A1 |  | blank |  |  |  |  | 2024-12-29 07:19:53- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 3 |  | P1-A1 |  | blank |  |  |  |  | 2024-12-29 07:39:21- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 4 |  | P1-A1 |  | blank |  |  |  |  | 2024-12-29 07:58:56- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 5 |  | P2-A1 |  | HGH |  |  |  |  | 2024-12-29 08:18:24- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 6 |  | P2-A2 |  | HGH |  |  |  |  | 2024-12-29 08:37:49- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 7 |  | P2-A3 |  | HGH |  |  |  |  | 2024-12-29 08:57:15- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 8 |  | P2-A5 |  | HGH |  |  |  |  | 2024-12-29 09:16:41- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 9 |  | P2-A6 |  | HGH |  |  |  |  | 2024-12-29 09:36:05- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 10 |  | P2-A7 |  | HGH |  |  |  |  | 2024-12-29 09:55:28- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 11 |  | P2-A8 |  | HGH |  |  |  |  | 2024-12-29 10:14:55- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 12 |  | P2-A9 |  | HGH |  |  |  |  | 2024-12-29 10:34:19- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 13 |  | P2-A11 |  | HGH |  |  |  |  | 2024-12-29 10:53:44- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 14 |  | P2-A12 |  | HGH |  |  |  |  | 2024-12-29 11:13:07- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 15 |  | P2-B1 |  | HGH |  |  |  |  | 2024-12-29 11:32:32- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 16 |  | P2-B2 |  | HGH |  |  |  |  | 2024-12-29 11:51:56- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 17 |  | P2-B3 |  | HGH |  |  |  |  | 2024-12-29 12:11:23- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 18 |  | P2-B5 |  | HGH |  |  |  |  | 2024-12-29 12:30:54- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 19 |  | P2-B6 |  | HGH |  |  |  |  | 2024-12-29 12:50:20- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 20 |  | P2-B7 |  | HGH |  |  |  |  | 2024-12-29 13:09:47- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 21 |  | P2-B8 |  | HGH |  |  |  |  | 2024-12-29 13:29:12- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 22 |  | P2-B9 |  | HGH |  |  |  |  | 2024-12-29 13:48:40- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 23 |  | P2-B10 |  | HGH |  |  |  |  | 2024-12-29 14:08:05- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 24 |  | P2-B11 |  | HGH |  |  |  |  | 2024-12-29 14:27:26- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 25 |  | P2-B12 |  | HGH |  |  |  |  | 2024-12-29 14:46:50- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
Acquisition Method: | [7 empty] | HN_RP_HGH_18Min_1.amx
Path: | [7 empty] | C:\CDSProjects\Project01\Results\241228_5um_HGH.rslt
Method Information
|  | Last Saved As: |  |  |  | C:\CDSProjects\Project01\Methods\HN _RP_HGH_18Min_1.amx |  |  |  |  | Modified: |  |  | 2024-03-31 00:35:20-04:00
|  | Modifier: |  |  |  | SYSTEM |  |  |  |  | Created: |  |  | 2024-03-31 00:35:20-04:00
|  | Creator: |  |  |  | SYSTEM |  |  |  |  | Description:
|  | Version: |  |  |  | 2024-0331-0435-20369 |  |  |  |  | Method Status: |  |  | Generic
DAD Method
|  | Peakwidth: |  |  |  | > 0.0031 min (0.063 s response time) (80 Hz) |  |  |  |  | UV Lamp Required: |  |  | Yes
|  | Module Display Name: |  |  |  | DAD |  |  |  |  | Module Type: |  |  | G4212B
|  | Order: |  |  |  | 1
Analog Output
|  | Analog Zero Offset: |  |  |  | 5 % |  |  |  |  | Analog Attenuation: |  |  | 1000 mAU
Signals
Signal table
|  | Row ID |  | Acquire |  |  |  |  | Signal |  |  | Wavelength (nm) |  |  | Bandwidth (nm)
|  | 1 |  | No |  |  |  |  | Signal A
|  | 2 |  | No |  |  |  |  | Signal B
|  | 3 |  | Yes |  |  |  |  | Signal C |  |  | 214.0 |  |  | 4.0
|  | 4 |  | No |  |  |  |  | Signal D
|  | 5 |  | No |  |  |  |  | Signal E
|  | 6 |  | No |  |  |  |  | Signal F
|  | 7 |  | No |  |  |  |  | Signal G
|  | 8 |  | No |  |  |  |  | Signal H
|  | Row ID |  | Use Ref. |  |  |  |  | Ref Wavel. (nm) |  |  | Ref Bandw. (nm)
1
2
|  | 3 |  | Yes |  |  |  |  | 360.0 |  |  | 100.0
4
5
6
7
8
Prepare Mode
|  | Margin for negative Absorbance: |  |  |  | 100 mAU
Autobalance
|  | Autobalance Prerun: |  |  |  | Yes |  |  |  |  | Autobalance Postrun: |  |  | No
Spectrum
|  | Spectrum Range WL from: |  |  |  | 190.0 nm |  |  |  |  | Spectrum Range WL to: |  |  | 400.0 nm
|  | Spectrum Step: |  |  |  | 2.0 nm |  |  |  |  | Spectrum Store: |  |  | All
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/Injector
Posttime
|  | Posttime Mode: |  |  |  | Off
Column Comp. Method
|  | Valve Position: |  |  |  | Position 4 (Port 4 -> 4') |  |  |  |  | Position Switch After Run: |  |  | Do not switch
|  | Module Display Name: |  |  |  | Column Comp. |  |  |  |  | Module Type: |  |  | G7116A
|  | Order: |  |  |  | 1
Left Temperature Control
|  | Temperature Control Mode: |  |  |  | Temperature Set |  |  |  |  | Temperature: |  |  | 80.0 °C
Enable Analysis Left Temperature
|  | Enable Analysis Left Temperature On: |  |  |  | Yes |  |  |  |  | Enable Analysis Left Temperature Value: |  |  | 0.8 °C
|  | Left Temp. Equilibration Time: |  |  |  | 0.0 min
Right Temperature Control
|  | Right temperature Control Mode: |  |  |  | Temperature Set |  |  |  |  | Right temperature: |  |  | 80.0 °C
Enable Analysis Right Temperature
|  | Enable Analysis Right Temperature On: |  |  |  | Yes |  |  |  |  | Enable Analysis Right Temperature Value: |  |  | 0.8 °C
|  | Right Temp. Equilibration Time: |  |  |  | 0.0 min
Enforce column for run
|  | Enforce column for run enabled: |  |  |  | No
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/Injector
Posttime
|  | Posttime Mode: |  |  |  | Off
Quat. Pump Method
|  | Flow: |  |  |  | 0.600 mL/min |  |  |  |  | Low Pressure Limit: |  |  | 0.00 bar
|  | High Pressure Limit: |  |  |  | 400.00 bar |  |  |  |  | Maximum Flow Gradient: |  |  | 1.000 mL/min²
|  | Primary Channel: |  |  |  | Automatic |  |  |  |  | Module Display Name: |  |  | Quat. Pump
|  | Module Type: |  |  |  | G1311B |  |  |  |  | Order: |  |  | 1
Solvent Composition
|  | Row ID |  | Channel |  |  |  |  | Name 1 |  |  | Used |  |  | Percent (%)
|  | 1 |  | A |  |  |  |  | 5mM H2SO4 |  |  | Yes |  |  | 0.0
|  | 2 |  | B |  |  |  |  | 5mM H2SO4 |  |  | No
|  | 3 |  | C |  |  |  |  | 100% H2O |  |  | Yes |  |  | 70.0
|  | 4 |  | D |  |  |  |  | 100% ACN |  |  | Yes |  |  | 30.0
Timetable
|  | Row ID |  | Time (min) |  |  |  |  | A (%) |  |  | B (%) |  |  | C (%)
|  | 1 |  | 1.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | 2 |  | 4.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 50.0
|  | 3 |  | 13.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 30.0
|  | 4 |  | 13.50 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 5.0
|  | 5 |  | 14.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 5.0
|  | 6 |  | 14.50 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | 7 |  | 18.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | Row ID |  | D (%) |  |  |  |  | Flow (mL/min) |  |  | Pressure (bar)
|  | 1 |  | 30.0 |  |  |  |  | --- |  |  | ---
|  | 2 |  | 50.0 |  |  |  |  | --- |  |  | ---
|  | 3 |  | 70.0 |  |  |  |  | --- |  |  | ---
|  | 4 |  | 95.0 |  |  |  |  | --- |  |  | ---
|  | 5 |  | 95.0 |  |  |  |  | --- |  |  | ---
|  | 6 |  | 30.0 |  |  |  |  | --- |  |  | ---
|  | 7 |  | 30.0 |  |  |  |  | --- |  |  | ---
Stroke
|  | Automatic Stroke Calculation: |  |  |  | Yes
Compress
|  | Compressibility Mode: |  |  |  | Compressibility Value Set |  |  |  |  | Compressibility: |  |  | 100 10e-6/bar
Stoptime
|  | Stoptime Mode: |  |  |  | Time set |  |  |  |  | Stoptime: |  |  | 18.00 min
Posttime
|  | Posttime Mode: |  |  |  | Off
HiP Sampler Method
|  | Module Display Name: |  |  |  | HiP Sampler |  |  |  |  | Module Type: |  |  | G1367E
|  | Order: |  |  |  | 1
Auxiliary
|  | Draw Speed: |  |  |  | 100.0 µL/min |  |  |  |  | Eject Speed: |  |  | 200.0 µL/min
|  | Draw Position Offset: |  |  |  | 0.0 mm |  |  |  |  | Wait Time After Drawing: |  |  | 1.2 s
|  | Sample Flush Out Factor: |  |  |  | 5.0 |  |  |  |  | Vial/Well bottom sensing: |  |  | Yes
Injection
|  | Injection Mode: |  |  |  | Injection with needle wash |  |  |  |  | Injection Volume: |  |  | 10.00 µL
Needle Wash
|  | Needle Wash Location: |  |  |  | Flush Port |  |  |  |  | Wash Time: |  |  | 5.0 s
High throughput
|  | Automatic Delay Volume Reduction: |  |  |  | No
Overlapped Injection
|  | Enable Overlapped Injection: |  |  |  | No
Thermostat
|  | Not Ready Temperature Mode: |  |  |  | Enable Analysis With Any Temperature |  |  |  |  | Thermostat Control: |  |  | Thermostat Control Set Value
|  | Thermostat Temperature: |  |  |  | 4 °C
Valve Switching
|  | Valve Movements: |  |  |  | 0
Valve Switch Time 1
|  | Switch Time 1 Enabled: |  |  |  | No
Valve Switch Time 2
|  | Switch Time 2 Enabled: |  |  |  | No
Valve Switch Time 3
|  | Switch Time 3 Enabled: |  |  |  | No
Valve Switch Time 4
|  | Switch Time 4 Enabled: |  |  |  | No
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/No Limit
Posttime
|  | Posttime Mode: |  |  |  | Off
Method Properties
|  | Instrument Technique: |  |  |  | Liquid Chromatography
Schema version
|  | Schema version: |  |  |  | 2.3

## Page 30
Processing method:
| Data Analysis Method: |  |  |  | RP_PLRPS_HSA_18min.pmx
| Path: |  |  |  | C:\CDSProjects\Project01\Results\241228_5um_HGH.rslt
Method Information
|  | Last Saved As: |  | C:\CDSProjects\Project01\Results\2412 28_5um_HGH.rslt\RP_PLRPS_HSA_1 8min.pmx |  |  | Modified: |  | 2024-07-24 17:06:14-04:00
[7 empty] | Created: |  | 2020-04-28 13:25:14-04:00
|  | Modifier: |  | SYSTEM
Description:
|  | Creator: |  | SYSTEM
[7 empty] | Method Status: |  | Generic
|  | Version: |  | 2024-0724-2106-14943
|  | Type: |  | GC/LC Area Percent
Method Parameters
Signals
Blank Subtraction
|  | Blank subtraction: |  | Samples only (exclude cal. standards) |  |  | Used blank: |  | Defined in sequence
|  | Specific blank path: |  |  |  |  | Specific blank:
|  | Subtract blank if data rates are different: |  | No |  |  | Signal matching mode: |  | Perform blank subtraction if signal names match
Signal alignment
|  | Use delay: |  | Yes |  |  | Detector: |  | DAD1
|  | RT : |  | 0.000 min |  |  | Delay : |  | 0.000 min
Chromatogram Smoothing
|  | Smoothing algorithm: |  | None
ChemStation integrator
ChemStation integrator parameters
|  | Tangent skim mode: |  | Standard |  |  | Baseline correction: |  | Advanced
|  | Front peak skim height ratio: |  | 0.00 |  |  | Tail peak skim height ratio: |  | 0.00
|  | Skim valley ratio: |  | 20.00 |  |  | Peak to valley ratio: |  | 500.00
Initial timed events
|  | Row ID | Use |  |  | Time (min) |  | Event |  | Value
|  | 1 | Yes |  |  | 0.000 |  | Slope sensitivity |  | 1
|  | 2 | Yes |  |  | 0.000 |  | Peak width |  | 0.07
|  | 3 | Yes |  |  | 0.000 |  | Area reject |  | 1
|  | 4 | Yes |  |  | 0.000 |  | Height reject |  | 7
|  | 5 | Yes |  |  | 0.000 |  | Shoulders mode |  | Tangential
|  | 6 | Yes |  |  | 0.000 |  | Area% reject |  | 0.05
Timed events
|  | Row ID | Use |  |  | Time (min) |  | Event |  | Value
|  | 1 | Yes |  |  | 0.001 |  | Integration |  | Off
|  | 2 | Yes |  |  | 5.700 |  | Integration |  | On
|  | 3 | Yes |  |  | 5.701 |  | Baseline now
|  | 4 | Yes |  |  | 5.702 |  | Baseline hold |  | On
|  | 5 | Yes |  |  | 8.000 |  | Integration |  | Off
Compound parameters
|  | Use time references: |  | No |  |  | Use relative retention time: |  | No
|  | Qualifier count: |  | 2 |  |  | Qualifier RT Window: |  | 0.010 min
|  | Qualifier response window: |  | 20.0 percent |  |  | Response Window Type: |  | Relative
System Suitability
|  | EP: |  | No |  |  | Column performance: |  | None
|  | JP: |  | No |  |  | USP: |  | No
|  | Signal to noise: |  | None |  |  | Noise calculation: |  | P2P
|  | Use blank reference for noise: |  | on blank |  |  | Calculate noise before or after peak: |  | before peak start
|  | Range mode for Noise Selection: |  | Automatic |  |  | Noise range end time: |  | 0.60
|  | Noise range start time: |  | 0.50 |  |  | Noise range relative end time: |  | 0.40
|  | Noise range relative start time: |  | 0.00 |  |  | Overwrite column parameters: |  | No
Custom calculations
|  | Last imported file: |  |  |  |  | Embedded file: |  | No
|  | Created by: |  |  |  |  | Creation date:
|  | Last modified by: |  |  |  |  | Last modified date:
|  | File version: |  |  |  |  | Custom calculations file:
Reporting parameters
|  | From time: |  |  |  |  | To time:
|  | From response: |  |  |  |  | To response:
General reporting parameters
|  | Row ID | Report # |  |  | Report template |  | Report file name |  | Report for sample types
|  | 1 | 1 |  |  |  |  | <DX>_<R> |  | All sample types
|  | 2 | 2 |  |  |  |  | <DX>_<R> |  | All sample types
|  | Row ID | Do print |  |  | Do create file |  | Report selected signals
|  | 1 | No |  |  | No |  | All signals
|  | 2 | No |  |  | No |  | All signals