## Page 1
Sequence name: |  |  | 241229_5um_HGH_D2
Description:
Acquisition date: |  |  | 2024-12-30 02:27:22-05:00
Acquired by: |  |  | SYSTEM
Data path: |  |  | C:\CDSProjects\Project01\Results\241229_5um_HGH_D2.rslt
Sequence Integration
| Samp le Vial Numb er | Sample Name |  |  | RT | Area | % | Injection | mg/L
| P2-E1 | HGH - sHN40 |  |  | 6.82 | 6466.0077 | 100 | 10 | 416.8928
| P2-E2 | HGH - sHN42 |  |  | 6.818 | 6800.0239 | 100 | 10 | 438.4284
| P2-E3 | HGH - sHN44 |  |  | 6.823 | 5918.0565 | 100 | 10 | 381.5639
| P2-E5 | HGH - sHN46 |  |  | 6.813 | 6443.179 | 100 | 10 | 415.421
| P2-E6 | HGH - sHN47 |  |  | 6.813 | 6109.2346 | 100 | 10 | 393.89
| P2-E7 | HGH - sHN40 |  |  | 6.811 | 6340.8766 | 100 | 10 | 408.8251
| P2-E8 | HGH - sHN42 |  |  | 6.81 | 6742.6979 | 100 | 10 | 434.7323
| P2-E9 | HGH - sHN44 |  |  | 6.817 | 5879.5192 | 100 | 10 | 379.0793
| P2-E11 | HGH - sHN46 |  |  | 6.808 | 6410.5237 | 100 | 10 | 413.3155
| P2-E12 | HGH - sHN47 |  |  | 6.822 | 6122.2617 | 100 | 10 | 394.73
| P2-F1 | HGH - sHN40 |  |  | 6.817 | 6415.3136 | 100 | 10 | 413.6243
| P2-F2 | HGH - sHN42 |  |  | 6.814 | 6740.0408 | 100 | 10 | 434.561
| P2-F3 | HGH - sHN44 |  |  | 6.817 | 6027.9065 | 100 | 10 | 388.6465
| P2-F5 | HGH - sHN46 |  |  | 6.815 | 6353.0381 | 100 | 10 | 409.6092
| P2-F6 | HGH - sHN47 |  |  | 6.812 | 6172.6159 | 100 | 10 | 397.9765
| P2-F7 | HGH - sHN48 |  |  | 6.816 | 6410.4586 | 100 | 10 | 413.3113
| P2-F8 | HGH - sHN48 |  |  | 6.818 | 6425.0037 | 100 | 10 | 414.2491
| P2-F9 | HGH - sHN48 |  |  | 6.822 | 6286.1917 | 100 | 10 | 405.2993
| P2-F10 | HGH - sHN88 |  |  | 6.817 | 6405.0658 | 100 | 10 | 412.9636
| P2-F11 | HGH - sHN88 |  |  | 6.828 | 6125.062 | 100 | 10 | 394.9105
| P2-F12 | HGH - sHN88 |  |  | 6.817 | 6141.621 | 100 | 10 | 395.9781

## Page 2
Sequence Table: |  |  |  | Bracketing Mode: |  | None
Seq. Line: |  | 1
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 04-33-07-05-00-01.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 2
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 04-51-25-05-00-02.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 3
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 05-09-41-05-00-03.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 0.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 4
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 05-27-57-05-00-04.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 5
| Location: |  | P1-A1 |  | Sample name: | blank
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 05-47-21-05-00-05.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 50.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Blank |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 6
| Location: |  | P2-E1 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 06-06-55-05-00-06.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 10.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 7
| Location: |  | P2-E2 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 06-26-04-05-00-07.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 10.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 8
| Location: |  | P2-E3 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 06-45-02-05-00-08.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 10.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 9
| Location: |  | P2-E5 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 07-03-59-05-00-09.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 10.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 10
| Location: |  | P2-E6 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 07-22-57-05-00-10.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 10.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 11
| Location: |  | P2-E7 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 07-41-55-05-00-11.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 10.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 12
| Location: |  | P2-E8 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 08-00-53-05-00-12.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 10.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 13
| Location: |  | P2-E9 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 08-19-49-05-00-13.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 10.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 14
| Location: |  | P2-E11 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 08-38-46-05-00-14.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 10.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 15
| Location: |  | P2-E12 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 08-57-44-05-00-15.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 10.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 16
| Location: |  | P2-F1 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 09-16-41-05-00-16.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 10.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 17
| Location: |  | P2-F2 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 09-35-38-05-00-17.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 10.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 18
| Location: |  | P2-F3 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 09-54-35-05-00-18.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 10.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 19
| Location: |  | P2-F5 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 10-13-33-05-00-19.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 10.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 20
| Location: |  | P2-F6 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 10-32-31-05-00-20.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 10.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 21
| Location: |  | P2-F7 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 10-51-29-05-00-21.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 10.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 22
| Location: |  | P2-F8 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 11-10-27-05-00-22.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 10.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 23
| Location: |  | P2-F9 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 11-29-23-05-00-23.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 10.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 24
| Location: |  | P2-F10 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 11-48-19-05-00-24.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 10.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 25
| Location: |  | P2-F11 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 12-07-15-05-00-25.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 10.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1
Seq. Line: |  | 26
| Location: |  | P2-F12 |  | Sample name: | HGH
Sample info:
| Acq. Method: |  | HN_RP_HGH_18Min_1.amx |  | Data file: | 2024-12-30 12-26-12-05-00-26.dx
| Injection #: |  | 1 of 1 |  | Inj. volume: | 10.000
| Proc. Method: |  | RP_PLRPS_HSA_18min.pmx |  | Sample amount: | 0
| Sample type: |  | Sample |  | Dilution: | 1
| Calibration level: |  |  |  | Multiplier: | 1

## Page 3
Sample name: | blank
Data file: | 2024-12-30 04-33-07-05-00-01.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-12-30 04:33:20-05:00
Inj. volume: | 0.000 | Location: | P1-A1
Acq. method: | HN_RP_HGH_18Min_1.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 4
Sample name: | blank
Data file: | 2024-12-30 04-51-25-05-00-02.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-12-30 04:51:38-05:00
Inj. volume: | 0.000 | Location: | P1-A1
Acq. method: | HN_RP_HGH_18Min_1.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 5
Sample name: | blank
Data file: | 2024-12-30 05-09-41-05-00-03.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-12-30 05:09:54-05:00
Inj. volume: | 0.000 | Location: | P1-A1
Acq. method: | HN_RP_HGH_18Min_1.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 6
Sample name: | blank
Data file: | 2024-12-30 05-27-57-05-00-04.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-12-30 05:29:17-05:00
Inj. volume: | 50.000 | Location: | P1-A1
Acq. method: | HN_RP_HGH_18Min_1.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 7
Sample name: | blank
Data file: | 2024-12-30 05-47-21-05-00-05.dx | Operator: | SYSTEM
Instrument: | HPLC | Injection date: | 2024-12-30 05:48:51-05:00
Inj. volume: | 50.000 | Location: | P1-A1
Acq. method: | HN_RP_HGH_18Min_1.amx | Type: | Blank
Processing method: | RP_PLRPS_HSA_18min.pmx | Sample amount: | 0
Manually modified: | None

## Page 8
Sample name: | HGH
Data file: | 2024-12-30 06-06-55-05-00-06.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 06:08:01-05:00
Inj. volume: | 10.000 |  |  |  |  | Location: |  | P2-E1
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.82 | 6466.0077 |  | 339.5333 |  | 100
|  | Sum | 6466.0077

## Page 9
Sample name: | HGH
Data file: | 2024-12-30 06-26-04-05-00-07.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 06:26:57-05:00
Inj. volume: | 10.000 |  |  |  |  | Location: |  | P2-E2
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.818 | 6800.0239 |  | 357.2393 |  | 100
|  | Sum | 6800.0239

## Page 10
Sample name: | HGH
Data file: | 2024-12-30 06-45-02-05-00-08.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 06:45:55-05:00
Inj. volume: | 10.000 |  |  |  |  | Location: |  | P2-E3
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.823 | 5918.0565 |  | 305.743 |  | 100
|  | Sum | 5918.0565

## Page 11
Sample name: | HGH
Data file: | 2024-12-30 07-03-59-05-00-09.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 07:04:53-05:00
Inj. volume: | 10.000 |  |  |  |  | Location: |  | P2-E5
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.813 | 6443.179 |  | 334.0146 |  | 100
|  | Sum | 6443.179

## Page 12
Sample name: | HGH
Data file: | 2024-12-30 07-22-57-05-00-10.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 07:23:52-05:00
Inj. volume: | 10.000 |  |  |  |  | Location: |  | P2-E6
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.813 | 6109.2346 |  | 319.9195 |  | 100
|  | Sum | 6109.2346

## Page 13
Sample name: | HGH
Data file: | 2024-12-30 07-41-55-05-00-11.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 07:42:50-05:00
Inj. volume: | 10.000 |  |  |  |  | Location: |  | P2-E7
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.811 | 6340.8766 |  | 334.2865 |  | 100
|  | Sum | 6340.8766

## Page 14
Sample name: | HGH
Data file: | 2024-12-30 08-00-53-05-00-12.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 08:01:46-05:00
Inj. volume: | 10.000 |  |  |  |  | Location: |  | P2-E8
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.81 | 6742.6979 |  | 358.0606 |  | 100
|  | Sum | 6742.6979

## Page 15
Sample name: | HGH
Data file: | 2024-12-30 08-19-49-05-00-13.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 08:20:43-05:00
Inj. volume: | 10.000 |  |  |  |  | Location: |  | P2-E9
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.817 | 5879.5192 |  | 304.9352 |  | 100
|  | Sum | 5879.5192

## Page 16
Sample name: | HGH
Data file: | 2024-12-30 08-38-46-05-00-14.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 08:39:40-05:00
Inj. volume: | 10.000 |  |  |  |  | Location: |  | P2-E11
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.808 | 6410.5237 |  | 335.3779 |  | 100
|  | Sum | 6410.5237

## Page 17
Sample name: | HGH
Data file: | 2024-12-30 08-57-44-05-00-15.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 08:58:37-05:00
Inj. volume: | 10.000 |  |  |  |  | Location: |  | P2-E12
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.822 | 6122.2617 |  | 314.4369 |  | 100
|  | Sum | 6122.2617

## Page 18
Sample name: | HGH
Data file: | 2024-12-30 09-16-41-05-00-16.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 09:17:35-05:00
Inj. volume: | 10.000 |  |  |  |  | Location: |  | P2-F1
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.817 | 6415.3136 |  | 337.9422 |  | 100
|  | Sum | 6415.3136

## Page 19
Sample name: | HGH
Data file: | 2024-12-30 09-35-38-05-00-17.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 09:36:32-05:00
Inj. volume: | 10.000 |  |  |  |  | Location: |  | P2-F2
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.814 | 6740.0408 |  | 353.4441 |  | 100
|  | Sum | 6740.0408

## Page 20
Sample name: | HGH
Data file: | 2024-12-30 09-54-35-05-00-18.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 09:55:29-05:00
Inj. volume: | 10.000 |  |  |  |  | Location: |  | P2-F3
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.817 | 6027.9065 |  | 313.4047 |  | 100
|  | Sum | 6027.9065

## Page 21
Sample name: | HGH
Data file: | 2024-12-30 10-13-33-05-00-19.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 10:14:27-05:00
Inj. volume: | 10.000 |  |  |  |  | Location: |  | P2-F5
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.815 | 6353.0381 |  | 329.1689 |  | 100
|  | Sum | 6353.0381

## Page 22
Sample name: | HGH
Data file: | 2024-12-30 10-32-31-05-00-20.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 10:33:25-05:00
Inj. volume: | 10.000 |  |  |  |  | Location: |  | P2-F6
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.812 | 6172.6159 |  | 324.102 |  | 100
|  | Sum | 6172.6159

## Page 23
Sample name: | HGH
Data file: | 2024-12-30 10-51-29-05-00-21.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 10:52:22-05:00
Inj. volume: | 10.000 |  |  |  |  | Location: |  | P2-F7
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.816 | 6410.4586 |  | 332.9404 |  | 100
|  | Sum | 6410.4586

## Page 24
Sample name: | HGH
Data file: | 2024-12-30 11-10-27-05-00-22.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 11:11:20-05:00
Inj. volume: | 10.000 |  |  |  |  | Location: |  | P2-F8
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.818 | 6425.0037 |  | 337.7933 |  | 100
|  | Sum | 6425.0037

## Page 25
Sample name: | HGH
Data file: | 2024-12-30 11-29-23-05-00-23.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 11:30:15-05:00
Inj. volume: | 10.000 |  |  |  |  | Location: |  | P2-F9
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.822 | 6286.1917 |  | 330.5944 |  | 100
|  | Sum | 6286.1917

## Page 26
Sample name: | HGH
Data file: | 2024-12-30 11-48-19-05-00-24.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 11:49:12-05:00
Inj. volume: | 10.000 |  |  |  |  | Location: |  | P2-F10
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.817 | 6405.0658 |  | 333.0571 |  | 100
|  | Sum | 6405.0658

## Page 27
Sample name: | HGH
Data file: | 2024-12-30 12-07-15-05-00-25.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 12:08:09-05:00
Inj. volume: | 10.000 |  |  |  |  | Location: |  | P2-F11
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.828 | 6125.062 |  | 323.5978 |  | 100
|  | Sum | 6125.062

## Page 28
Sample name: | HGH
Data file: | 2024-12-30 12-26-12-05-00-26.dx |  |  |  |  | Operator: |  | SYSTEM
Instrument: | HPLC |  |  |  |  | Injection date: |  | 2024-12-30 12:27:06-05:00
Inj. volume: | 10.000 |  |  |  |  | Location: |  | P2-F12
Acq. method: | HN_RP_HGH_18Min_1.amx |  |  |  |  | Type: |  | Sample
Processing method: | RP_PLRPS_HSA_18min.pmx |  |  |  |  | Sample amount: |  | 0
Manually modified: | None
|  | Signal: |  | * DAD1C,Sig=214.0,4.0 Ref=360.0,100.0 [b]
|  | RT [min] | Area |  | Height |  | Area%
|  | 6.817 | 6141.621 |  | 322.8172 |  | 100
|  | Sum | 6141.621

## Page 30
Method Summary
Processing method: | [7 empty] | RP_PLRPS_HSA_18min.pmx
| Method version: | [5 empty] | 2024-0724-2106-14943
| Line# |  | Location |  | Sample Name |  |  |  |  | Injection modified |  |  | Acq. Method |  |  | ACQ Method Version
| 1 |  | P1-A1 |  | blank |  |  |  |  | 2024-12-30 04:51:30- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 2 |  | P1-A1 |  | blank |  |  |  |  | 2024-12-30 05:09:44- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 3 |  | P1-A1 |  | blank |  |  |  |  | 2024-12-30 05:28:00- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 4 |  | P1-A1 |  | blank |  |  |  |  | 2024-12-30 05:47:23- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 5 |  | P1-A1 |  | blank |  |  |  |  | 2024-12-30 06:06:58- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 6 |  | P2-E1 |  | HGH |  |  |  |  | 2024-12-30 06:26:08- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 7 |  | P2-E2 |  | HGH |  |  |  |  | 2024-12-30 06:45:06- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 8 |  | P2-E3 |  | HGH |  |  |  |  | 2024-12-30 07:04:04- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 9 |  | P2-E5 |  | HGH |  |  |  |  | 2024-12-30 07:23:01- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 10 |  | P2-E6 |  | HGH |  |  |  |  | 2024-12-30 07:41:59- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 11 |  | P2-E7 |  | HGH |  |  |  |  | 2024-12-30 08:00:56- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 12 |  | P2-E8 |  | HGH |  |  |  |  | 2024-12-30 08:19:53- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 13 |  | P2-E9 |  | HGH |  |  |  |  | 2024-12-30 08:38:50- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 14 |  | P2-E11 |  | HGH |  |  |  |  | 2024-12-30 08:57:48- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 15 |  | P2-E12 |  | HGH |  |  |  |  | 2024-12-30 09:16:45- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 16 |  | P2-F1 |  | HGH |  |  |  |  | 2024-12-30 09:35:42- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 17 |  | P2-F2 |  | HGH |  |  |  |  | 2024-12-30 09:54:39- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 18 |  | P2-F3 |  | HGH |  |  |  |  | 2024-12-30 10:13:37- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 19 |  | P2-F5 |  | HGH |  |  |  |  | 2024-12-30 10:32:36- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 20 |  | P2-F6 |  | HGH |  |  |  |  | 2024-12-30 10:51:35- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 21 |  | P2-F7 |  | HGH |  |  |  |  | 2024-12-30 11:10:32- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 22 |  | P2-F8 |  | HGH |  |  |  |  | 2024-12-30 11:29:27- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 23 |  | P2-F9 |  | HGH |  |  |  |  | 2024-12-30 11:48:24- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 24 |  | P2-F10 |  | HGH |  |  |  |  | 2024-12-30 12:07:20- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 25 |  | P2-F11 |  | HGH |  |  |  |  | 2024-12-30 12:26:16- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
| 26 |  | P2-F12 |  | HGH |  |  |  |  | 2024-12-30 12:45:11- 05:00 |  |  | HN_RP_HGH_18Min_1 .amx |  |  | 2024-0331-0435- 20369
Acquisition Method: | [7 empty] | HN_RP_HGH_18Min_1.amx
Path: | [7 empty] | C:\CDSProjects\Project01\Results\241229_5um_HGH_D2.rslt
Method Information
|  | Last Saved As: |  |  |  | C:\CDSProjects\Project01\Methods\HN _RP_HGH_18Min_1.amx |  |  |  |  | Modified: |  |  | 2024-03-31 00:35:20-04:00
|  | Modifier: |  |  |  | SYSTEM |  |  |  |  | Created: |  |  | 2024-03-31 00:35:20-04:00
|  | Creator: |  |  |  | SYSTEM |  |  |  |  | Description:
|  | Version: |  |  |  | 2024-0331-0435-20369 |  |  |  |  | Method Status: |  |  | Generic
DAD Method
|  | Peakwidth: |  |  |  | > 0.0031 min (0.063 s response time) (80 Hz) |  |  |  |  | UV Lamp Required: |  |  | Yes
|  | Module Display Name: |  |  |  | DAD |  |  |  |  | Module Type: |  |  | G4212B
|  | Order: |  |  |  | 1
Analog Output
|  | Analog Zero Offset: |  |  |  | 5 % |  |  |  |  | Analog Attenuation: |  |  | 1000 mAU
Signals
Signal table
|  | Row ID |  | Acquire |  |  |  |  | Signal |  |  | Wavelength (nm) |  |  | Bandwidth (nm)
|  | 1 |  | No |  |  |  |  | Signal A
|  | 2 |  | No |  |  |  |  | Signal B
|  | 3 |  | Yes |  |  |  |  | Signal C |  |  | 214.0 |  |  | 4.0
|  | 4 |  | No |  |  |  |  | Signal D
|  | 5 |  | No |  |  |  |  | Signal E
|  | 6 |  | No |  |  |  |  | Signal F
|  | 7 |  | No |  |  |  |  | Signal G
|  | 8 |  | No |  |  |  |  | Signal H
|  | Row ID |  | Use Ref. |  |  |  |  | Ref Wavel. (nm) |  |  | Ref Bandw. (nm)
1
2
|  | 3 |  | Yes |  |  |  |  | 360.0 |  |  | 100.0
4
5
6
7
8
Prepare Mode
|  | Margin for negative Absorbance: |  |  |  | 100 mAU
Autobalance
|  | Autobalance Prerun: |  |  |  | Yes |  |  |  |  | Autobalance Postrun: |  |  | No
Spectrum
|  | Spectrum Range WL from: |  |  |  | 190.0 nm |  |  |  |  | Spectrum Range WL to: |  |  | 400.0 nm
|  | Spectrum Step: |  |  |  | 2.0 nm |  |  |  |  | Spectrum Store: |  |  | All
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/Injector
Posttime
|  | Posttime Mode: |  |  |  | Off
Column Comp. Method
|  | Valve Position: |  |  |  | Position 4 (Port 4 -> 4') |  |  |  |  | Position Switch After Run: |  |  | Do not switch
|  | Module Display Name: |  |  |  | Column Comp. |  |  |  |  | Module Type: |  |  | G7116A
|  | Order: |  |  |  | 1
Left Temperature Control
|  | Temperature Control Mode: |  |  |  | Temperature Set |  |  |  |  | Temperature: |  |  | 80.0 °C
Enable Analysis Left Temperature
|  | Enable Analysis Left Temperature On: |  |  |  | Yes |  |  |  |  | Enable Analysis Left Temperature Value: |  |  | 0.8 °C
|  | Left Temp. Equilibration Time: |  |  |  | 0.0 min
Right Temperature Control
|  | Right temperature Control Mode: |  |  |  | Temperature Set |  |  |  |  | Right temperature: |  |  | 80.0 °C
Enable Analysis Right Temperature
|  | Enable Analysis Right Temperature On: |  |  |  | Yes |  |  |  |  | Enable Analysis Right Temperature Value: |  |  | 0.8 °C
|  | Right Temp. Equilibration Time: |  |  |  | 0.0 min
Enforce column for run
|  | Enforce column for run enabled: |  |  |  | No
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/Injector
Posttime
|  | Posttime Mode: |  |  |  | Off
Quat. Pump Method
|  | Flow: |  |  |  | 0.600 mL/min |  |  |  |  | Low Pressure Limit: |  |  | 0.00 bar
|  | High Pressure Limit: |  |  |  | 400.00 bar |  |  |  |  | Maximum Flow Gradient: |  |  | 1.000 mL/min²
|  | Primary Channel: |  |  |  | Automatic |  |  |  |  | Module Display Name: |  |  | Quat. Pump
|  | Module Type: |  |  |  | G1311B |  |  |  |  | Order: |  |  | 1
Solvent Composition
|  | Row ID |  | Channel |  |  |  |  | Name 1 |  |  | Used |  |  | Percent (%)
|  | 1 |  | A |  |  |  |  | 5mM H2SO4 |  |  | Yes |  |  | 0.0
|  | 2 |  | B |  |  |  |  | 5mM H2SO4 |  |  | No
|  | 3 |  | C |  |  |  |  | 100% H2O |  |  | Yes |  |  | 70.0
|  | 4 |  | D |  |  |  |  | 100% ACN |  |  | Yes |  |  | 30.0
Timetable
|  | Row ID |  | Time (min) |  |  |  |  | A (%) |  |  | B (%) |  |  | C (%)
|  | 1 |  | 1.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | 2 |  | 4.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 50.0
|  | 3 |  | 13.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 30.0
|  | 4 |  | 13.50 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 5.0
|  | 5 |  | 14.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 5.0
|  | 6 |  | 14.50 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | 7 |  | 18.00 |  |  |  |  | 0.0 |  |  | 0.0 |  |  | 70.0
|  | Row ID |  | D (%) |  |  |  |  | Flow (mL/min) |  |  | Pressure (bar)
|  | 1 |  | 30.0 |  |  |  |  | --- |  |  | ---
|  | 2 |  | 50.0 |  |  |  |  | --- |  |  | ---
|  | 3 |  | 70.0 |  |  |  |  | --- |  |  | ---
|  | 4 |  | 95.0 |  |  |  |  | --- |  |  | ---
|  | 5 |  | 95.0 |  |  |  |  | --- |  |  | ---
|  | 6 |  | 30.0 |  |  |  |  | --- |  |  | ---
|  | 7 |  | 30.0 |  |  |  |  | --- |  |  | ---
Stroke
|  | Automatic Stroke Calculation: |  |  |  | Yes
Compress
|  | Compressibility Mode: |  |  |  | Compressibility Value Set |  |  |  |  | Compressibility: |  |  | 100 10e-6/bar
Stoptime
|  | Stoptime Mode: |  |  |  | Time set |  |  |  |  | Stoptime: |  |  | 18.00 min
Posttime
|  | Posttime Mode: |  |  |  | Off
HiP Sampler Method
|  | Module Display Name: |  |  |  | HiP Sampler |  |  |  |  | Module Type: |  |  | G1367E
|  | Order: |  |  |  | 1
Auxiliary
|  | Draw Speed: |  |  |  | 100.0 µL/min |  |  |  |  | Eject Speed: |  |  | 200.0 µL/min
|  | Draw Position Offset: |  |  |  | 0.0 mm |  |  |  |  | Wait Time After Drawing: |  |  | 1.2 s
|  | Sample Flush Out Factor: |  |  |  | 5.0 |  |  |  |  | Vial/Well bottom sensing: |  |  | Yes
Injection
|  | Injection Mode: |  |  |  | Injection with needle wash |  |  |  |  | Injection Volume: |  |  | 10.00 µL
Needle Wash
|  | Needle Wash Location: |  |  |  | Flush Port |  |  |  |  | Wash Time: |  |  | 5.0 s
High throughput
|  | Automatic Delay Volume Reduction: |  |  |  | No
Overlapped Injection
|  | Enable Overlapped Injection: |  |  |  | No
Thermostat
|  | Not Ready Temperature Mode: |  |  |  | Enable Analysis With Any Temperature |  |  |  |  | Thermostat Control: |  |  | Thermostat Control Set Value
|  | Thermostat Temperature: |  |  |  | 4 °C
Valve Switching
|  | Valve Movements: |  |  |  | 0
Valve Switch Time 1
|  | Switch Time 1 Enabled: |  |  |  | No
Valve Switch Time 2
|  | Switch Time 2 Enabled: |  |  |  | No
Valve Switch Time 3
|  | Switch Time 3 Enabled: |  |  |  | No
Valve Switch Time 4
|  | Switch Time 4 Enabled: |  |  |  | No
Stoptime
|  | Stoptime Mode: |  |  |  | As Pump/No Limit
Posttime
|  | Posttime Mode: |  |  |  | Off
Method Properties
|  | Instrument Technique: |  |  |  | Liquid Chromatography
Schema version
|  | Schema version: |  |  |  | 2.3

## Page 31
Processing method:
| Data Analysis Method: |  |  |  | RP_PLRPS_HSA_18min.pmx
| Path: |  |  |  | C:\CDSProjects\Project01\Results\241229_5um_HGH_D2.rslt
Method Information
|  | Last Saved As: |  | C:\CDSProjects\Project01\Results\2412 29_5um_HGH_D2.rslt\RP_PLRPS_HS A_18min.pmx |  |  | Modified: |  | 2024-07-24 17:06:14-04:00
[7 empty] | Created: |  | 2020-04-28 13:25:14-04:00
|  | Modifier: |  | SYSTEM
Description:
|  | Creator: |  | SYSTEM
[7 empty] | Method Status: |  | Generic
|  | Version: |  | 2024-0724-2106-14943
|  | Type: |  | GC/LC Area Percent
Method Parameters
Signals
Blank Subtraction
|  | Blank subtraction: |  | Samples only (exclude cal. standards) |  |  | Used blank: |  | Defined in sequence
|  | Specific blank path: |  |  |  |  | Specific blank:
|  | Subtract blank if data rates are different: |  | No |  |  | Signal matching mode: |  | Perform blank subtraction if signal names match
Signal alignment
|  | Use delay: |  | Yes |  |  | Detector: |  | DAD1
|  | RT : |  | 0.000 min |  |  | Delay : |  | 0.000 min
Chromatogram Smoothing
|  | Smoothing algorithm: |  | None
ChemStation integrator
ChemStation integrator parameters
|  | Tangent skim mode: |  | Standard |  |  | Baseline correction: |  | Advanced
|  | Front peak skim height ratio: |  | 0.00 |  |  | Tail peak skim height ratio: |  | 0.00
|  | Skim valley ratio: |  | 20.00 |  |  | Peak to valley ratio: |  | 500.00
Initial timed events
|  | Row ID | Use |  |  | Time (min) |  | Event |  | Value
|  | 1 | Yes |  |  | 0.000 |  | Slope sensitivity |  | 1
|  | 2 | Yes |  |  | 0.000 |  | Peak width |  | 0.07
|  | 3 | Yes |  |  | 0.000 |  | Area reject |  | 1
|  | 4 | Yes |  |  | 0.000 |  | Height reject |  | 7
|  | 5 | Yes |  |  | 0.000 |  | Shoulders mode |  | Tangential
|  | 6 | Yes |  |  | 0.000 |  | Area% reject |  | 0.05
Timed events
|  | Row ID | Use |  |  | Time (min) |  | Event |  | Value
|  | 1 | Yes |  |  | 0.001 |  | Integration |  | Off
|  | 2 | Yes |  |  | 5.700 |  | Integration |  | On
|  | 3 | Yes |  |  | 5.701 |  | Baseline now
|  | 4 | Yes |  |  | 5.702 |  | Baseline hold |  | On
|  | 5 | Yes |  |  | 8.000 |  | Integration |  | Off
Compound parameters
|  | Use time references: |  | No |  |  | Use relative retention time: |  | No
|  | Qualifier count: |  | 2 |  |  | Qualifier RT Window: |  | 0.010 min
|  | Qualifier response window: |  | 20.0 percent |  |  | Response Window Type: |  | Relative
System Suitability
|  | EP: |  | No |  |  | Column performance: |  | None
|  | JP: |  | No |  |  | USP: |  | No
|  | Signal to noise: |  | None |  |  | Noise calculation: |  | P2P
|  | Use blank reference for noise: |  | on blank |  |  | Calculate noise before or after peak: |  | before peak start
|  | Range mode for Noise Selection: |  | Automatic |  |  | Noise range end time: |  | 0.60
|  | Noise range start time: |  | 0.50 |  |  | Noise range relative end time: |  | 0.40
|  | Noise range relative start time: |  | 0.00 |  |  | Overwrite column parameters: |  | No
Custom calculations
|  | Last imported file: |  |  |  |  | Embedded file: |  | No
|  | Created by: |  |  |  |  | Creation date:
|  | Last modified by: |  |  |  |  | Last modified date:
|  | File version: |  |  |  |  | Custom calculations file:
Reporting parameters
|  | From time: |  |  |  |  | To time:
|  | From response: |  |  |  |  | To response:
General reporting parameters
|  | Row ID | Report # |  |  | Report template |  | Report file name |  | Report for sample types
|  | 1 | 1 |  |  |  |  | <DX>_<R> |  | All sample types
|  | 2 | 2 |  |  |  |  | <DX>_<R> |  | All sample types
|  | Row ID | Do print |  |  | Do create file |  | Report selected signals
|  | 1 | No |  |  | No |  | All signals
|  | 2 | No |  |  | No |  | All signals